April 30, 2021

Rosemary Chiavetta

Secretary, PA Public Utility Commission

400 North Street

Harrisburg, PA 17120

**Re: Pittsburgh Water and Sewer Authority**

**Supplement No. 19 to Tariff Water – PA. P.U.C. No. 5, Docket No. R-2021-3024773**

**Supplement No. 19 to Tariff Wastewater – PA. P.U.C. No. 16, Docket No. R-2021-3024774**

**Stormwater Division Tariff Storm Water – Pa. P.U.C. No. 1, Docket No. R-2021-3024779**

Dear Secretary Chiavetta,

Pursuant to Section 106 of the Procedures Manual of the Pennsylvania Public Utility Commission, I request that you inform the appropriate parties of the following issues that I wish the parties to examine in the above-referenced docket.

1. Compliance of the PWSA tariff cross-connection control requirements with 25 Pa. Code §§ 109.709, 109.609 and any applicable provisions of the International Plumbing Code;
2. Compliance materials of the operation and maintenance plans required by 25 Pa. Code §109.702 as they relate to adequate, safe, and reasonable service for utility customers and employees;
3. The number of commercial meters in the system, the number tested, and the number passed or failed for year 2020;
4. The number of valves exercised in calendar year 2020 and the frequency of valve maintenance;
5. The number of commercial and industrial customers that have testable backflow prevention devices and the number of devices that were tested for calendar year 2020;
6. Tariff backflow prevention requirements regarding residential fire protection and irrigation and whether PWSA has a plan for inspection and testing of fire hydrants;
7. Whether PWSA has surveyed the number of fire hydrants that do not provide a minimum flow of 500 pgm at 20 psig;
8. Whether residential customers have American Society of Sanitary Engineers 1024 backflow assemblies installed at meter locations; and
9. Whether PWSA has evaluated its lost and unaccounted water performance since 2018 and any relevant results.

Thank you for your attention to this matter. Please contact Shaun Sparks of my office at 717-787-3464 or [shsparks@pa.gov](mailto:shsparks@pa.gov) should you have any questions regarding my request.