July 13, 2021

Rosemary Chiavetta

Secretary, PA Public Utility Commission

400 North Street

Harrisburg, PA 17120

Re:	Joint Application of Veolia Environnement S.A., Veolia North America, Inc., SUEZ S.A., SUEZ Water Pennsylvania Inc. and SUEZ Water Bethel Inc. for all approvals pursuant to Sections 1102(a)(3), (4), and 1103 of the Pennsylvania Public Utility Code, and as otherwise required under the Pennsylvania Public Utility Code for the change in control of SUEZ Water Pennsylvania Inc. and SUEZ Water Bethel Inc.; Docket No. A-2021-3026523

Dear Secretary Chiavetta,

Pursuant to Section 106 of the Procedures Manual of the Pennsylvania Public Utility Commission, I request that you inform the appropriate parties of the following issues that I wish the parties to examine in the above-referenced docket.

- The estimated number of company-owned lead service lines and the number of customer-owned lead service lines in the SUEZ system;

- SUEZ’s plans to file a new tariff or tariff supplement in compliance with Act 120 of 2018, 66 Pa. C.S. § 1311(b)(2), regarding customer-owned lead service line replacements;

- Compliance of the SUEZ tariff cross-connection control requirements with 25 Pa. Code §§ 109.709, 109.609 and any applicable provisions of the International Plumbing Code;

- Compliance materials of SUEZ’s operation and maintenance plans required by 25 Pa. Code §109.702 as they relate to adequate, safe, and reasonable service for utility customers and employees;

- The number of SUEZ’s commercial meters in the system, the number tested, and the number passed or failed for year 2020;

- The number of SUEZ’s valves exercised in calendar year 2020 and the frequency of valve maintenance;

- The number of SUEZ’s commercial and industrial customers that have testable backflow prevention devices and the number of devices that were tested for calendar year 2020;

- SUEZ’s tariff backflow prevention requirements regarding residential fire protection and irrigation and whether SUEZ has a plan for inspection and testing of fire hydrants;

- Whether SUEZ has surveyed the number of fire hydrants in its system that do not provide a minimum flow of 500 pgm at 20 psig;

- Whether SUEZ’s residential customers have American Society of Sanitary Engineers 1024 backflow assemblies installed at meter locations; and

- Whether SUEZ has evaluated its lost and unaccounted water performance since 2018 and any relevant results.

Thank you for your attention to this matter.  Please contact Shaun Sparks of my office at 717-787-3464 or shsparks@pa.gov should you have any questions regarding my request.

Ralph V. Yanora

Commissioner