	
	PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA  17120
	


	
	Public Meeting held July 15, 2021

	Commissioners Present:
	


	Gladys Brown Dutrieuille, Chairman
	

	David W. Sweet, Vice Chairman
	

	John F. Coleman, Jr.
	

	Ralph V. Yanora
	

	
	

	Letter of Notification of PPL Electric Utilities Corporation, for Approval to Reconstruct and Relocate portions of the Milton-Sunbury 230 kV Transmission Line and Sunbury-Elimsport 
230 kV Transmission Line in Monroe Township, Snyder County, Pennsylvania 


	Docket Number:

A-2021-3024295



ORDER

BY THE COMMISSION:

On February 26, 2021, PPL Electric Utilities Corporation (PPL Electric), Utility Code 110500, filed a Letter of Notification (LON) pursuant to 52 Pa. Code § 57.72(d)(1)(vi) of the Pennsylvania Public Utility Commission’s (Commission) transmission line siting regulation.  For the reasons expressed in this Order, the LON is approved.

Copies of the LON were served in accordance with Sections 57.72(d)(3) and 57.74(b) & (c), 52 Pa. Code §§ 57.72(d)(3), 57.74(b) & (c), on the PA Department of Transportation, PA Department of Environmental Protection, PA Historical and Museum Commission, Snyder County Commissioners, and Monroe Township, et al.  No protests were filed.  No hearings were held. 
PPL Electric requests approval to reconstruct and relocate portions of the Milton‑Sunbury 230 kV Transmission Line (Milton-Sunbury) and Sunbury-Elimsport 230 kV Transmission Line (Sunbury-Elimsport) in Monroe Township, Snyder County, Pennsylvania.  PPL Electric states that the relocation of the Milton-Sunbury and Sunbury-Elimsport transmission lines is needed to accommodate construction of the Pennsylvania Department of Transportation (PennDOT) Central Susquehanna Valley Transportation Highway – Southern Section (CSVT South Project).  PPL Electric further states that the CSVT South Project includes the construction of 11 miles of new highway as well as the associated realignment and relocation of adjacent roads, grading and interchange construction.  In particular, portions of the Milton-Sunbury 230 kV and Sunbury‑Elimsport 230 kV Transmission Lines will need to be redesigned or relocated, to move structures out of the PennDOT limits of disturbance, increase the height of conductors above the new roads constructed as a part of the CSVT Project, and accommodate a new overpass.  Application ¶9.
PPL Electric avers that although the reconstruction and relocation involves certain facilities that are the subject of the Montour-Milton-Sunbury Rebuild LON filed by PPL Electric at Docket No. A-2021-3024033, PPL Electric will be required to relocate the existing facilities that are affected by the CSVT South Project independent on the Montour‑Milton-Sunbury Rebuild LON.  As a separate need justifies the rebuild of existing transmission facilities set forth in the Montour-Milton-Sunbury Rebuild LON, PPL Electric has separately filed for approval of the relocation of the facilities affected by the CSVT South Project.  Application ¶10.
PPL Electric states that the proposed project consists of relocating approximately 0.44 miles of the Milton-Sunbury line and approximately 0.29 miles of the Sunbury-Elimsport transmission line.  To accommodate the relocation, PPL Electric will remove three existing transmission structures, install three new structures and the associated conductors.  PPL Electric also states that the new structures will range from approximately 110 feet in height to 165 feet in height and that the existing structures to be removed range from approximately 120 feet in height to 125 feet in height.  PPL Electric states that the majority of proposed project will be constructed on existing right-of-way (ROW) that is 225 feet.  PPL Electric further states that a short section of the Milton-Sunbury line will be located on new ROW that is approximately 225 feet in width and that the required ROW has been acquired by PennDOT.  Application ¶¶17, 22, Attachment 1, page 1, and Attachment 2, Table 2-1.
PPL Electric asserts that the project will be designed, constructed, operated and maintained in a manner that meets or surpasses all applicable PPL Electric and National Electrical Safety Code minimum standards and all applicable legal requirements.  Application ¶20.  PPL Electric states that the total estimated cost for the proposed project is approximately $3.3 million and that all costs will be reimbursed by PennDOT.  Construction of the proposed project is anticipated to commence in August 2021 with an expected in-service date of November 2021.  Application ¶19 and page 1.
Section 57.72 authorizes the abbreviated LON siting application process in lieu of an application for the following:

(i) An HV line which is proposed to be located entirely on an existing 

Transmission line right-of-way, so long as the size, character, design, or

configuration of the proposed HV line does not substantially alter the 

right-of-way.

(ii)
An HV line which is proposed to be located entirely within a public road.
(iii) An HV line which is proposed to be located entirely within applicant’s existing

transmission line right-of-way and the property of the sole customer to be served by the line, so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.

(iv) A line for which the voltage is proposed to be increased above its present 

levels so long as the size, character, design, or configuration of the proposed 

HV line does not substantially alter the right-of-way. 

(v)
An HV line which is to be reconductored or reconstructed so long as the size, character, design or configuration of the proposed HV line does not substantially alter the right-of-way

(vi) An HV line having a proposed route of 2 miles or less.
52 Pa. Code § 57.72(d).

We agree with PPL Electric that the formal PPL Electric Letter of Notification and manner in which it was filed conforms to the requirements of 52 Pa. Code § 57.72(d)(1)(vi) because the proposed project realigns structures on sections of the Milton-Sunbury and Sunbury-Elimsport transmission lines which are less than 2 miles in length.  Moreover, the Commission has reviewed the filing and does not find it to be inconsistent with the applicable law or Commission policy regarding transmission line siting and, therefore, to be in the public interest.  

We also note that our approval of the Letter of Notification does not address the issues of accounting treatment, and cost recovery; THEREFORE,

IT IS ORDERED:

1. That the Letter of Notification filed by the PPL Electric Utilities Corporation, for approval to reconstruct and relocate portions of the Milton-Sunbury 230 kV Transmission Line and Sunbury-Elimsport 230 kV Transmission Line in Monroe Township, Snyder County, Pennsylvania, is hereby approved.  

2. That upon completion of the subject project, PPL Electric Utilities Corporation shall submit the final project cost to the Commission.
3. That upon completion of Ordering Paragraph 2, this proceeding at Docket 

No. A-2021-3024295 be closed. 
[image: image1.png]


BY THE COMMISSION,

Rosemary Chiavetta

Secretary

ORDER ADOPTED: July 15, 2021
ORDER ENTERED: July 15, 2021
6

