	
	PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA  17120
	


	
	Public Meeting held October 7, 2021

	Commissioners Present:
	


	Gladys Brown Dutrieuille, Chairman
	

	           John F. Coleman, Jr.
	

	Ralph V. Yanora
	

	
	

	
	

	Letter of Notification of PECO Energy Company, for Approval to Shift the Location of Four Existing Transmission Structures on the 

220-22 230 kV Transmission Line in Middletown Township, Bucks County, Pennsylvania 


	Docket Numbers:

A-2021-3028191




ORDER

BY THE COMMISSION:

On August 27, 2021, PECO Energy Company (PECO), Utility Code 110550, filed a Letter of Notification (LON) pursuant to 52 Pa. Code § 7.72(d)(1)(vi) of the Pennsylvania Public Utility Commission’s (Commission) transmission line siting regulation.  For the reasons expressed in this Order, the LON is approved.

Copies of the LON were served in accordance with Section 57.72(d)(3) and 57.74(b) & (c), 52 Pa. Code §§ 57.72(d)(3), 57.74(b) & (c), on the PA Department of Transportation, PA Department of Environmental Protection, PA Historical and Museum Commission, Bucks County Commissioners, and the Township of Middletown, et al.  No protests were filed.  No hearings were held. 
PECO requests approval to shift the location of four existing transmission structures on the 220-22 230 kV Transmission Line (220-22 Transmission Line) in Middletown Township, Bucks County, Pennsylvania.  Four existing transmission structures on the line will be removed, and four new structures will be installed.  
PECO states that the structure shift on the 220-22 Transmission Line, which extends from PECO’s Woodbourn Substation to its Byberry Substation, is needed to accommodate construction of the Pennsylvania Department of Transportation’s (PennDOT) new Route 1 bridge near Neshaminy Hills.  Two of the structures, structure 21-18 and structure 21-19, will need to be relocated to allow the bridge to be reconstructed over the existing right-of-way (ROW).  The remaining two structures, structure 21-17 and structure 21-20, will be replaced to accommodate the change in structural loading.  Application ¶¶8-9.
PECO states that the project (Project) consists of removing four existing transmission structures and installing four new structures along approximately 0.19 miles of the 220-22 Transmission Line.  The new structures will be located within approximately 74 feet to 
135 feet of the existing structures and will range from 70 feet in height to approximately 
98 feet in height.  The existing structures to be removed vary from approximately 73 feet in height to approximately 83 feet in height.  The Project will be constructed on existing ROW that is 150 feet in width or greater.  Application ¶9, Attachment 2, pg. 4, and PECO Data Requests Responses Nos. 1 and 3.
PECO submits the Project will be designed, constructed, operated and maintained in a manner that meets or exceeds the requirements specified in the National Electrical Safety Cod, Occupational Safety and Health Administration safety standards, and all applicable legal requirements.  Application ¶14.
PECO states that the total estimated cost for the Project is approximately $4.0 million and that all costs will be reimbursed by PennDOT.  Construction of the Proposed Project is anticipated to commence on October 25, 2021, with an expected in-service date of November 7, 2021.  Application ¶¶11-12 and PECO Data Request No. 4.
Section 57.72 authorizes the abbreviated LON siting application process in lieu of an application for the following:

(i) An HV line which is proposed to be located entirely on an existing 

Transmission line right-of-way, so long as the size, character, design, or

configuration of the proposed HV line does not substantially alter the 

right-of-way.

(ii)
An HV line which is proposed to be located entirely within a public road.

(iii) An HV line which is proposed to be located entirely within applicant’s existing

transmission line right-of-way and the property of the sole customer to be served by the line, so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.

(iv) A line for which the voltage is proposed to be increased above its present 

levels so long as the size, character, design, or configuration of the proposed 

HV line does not substantially alter the right-of-way. 

(v)
An HV line which is to be reconductored or reconstructed so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.
(vi) An HV line having a proposed route of 2 miles or less.
52 Pa. Code § 57.72(d).

We agree with PECO that the formal PECO Letter of Notification and manner in which it was filed conforms to the requirements of 52 Pa. Code § 57.72(d)(1)(vi) because the Project shifts the location of four transmission line structures on a section of the 220-22 Transmission Line which is less than 2 miles in length.  Moreover, the Commission has reviewed the filing and does not find it to be inconsistent with the applicable law or Commission policy regarding transmission line siting and, therefore, to be in the public interest.  

We also note that our approval of the Letter of Notification does not address the issues of accounting treatment, and cost recovery; THEREFORE,

IT IS ORDERED:

1. That the Letter of Notification filed by the PECO Energy Company, for approval to shift four existing transmission line structures on the 220-22 230 kV Transmission Line, in Middletown Township, Bucks County, Pennsylvania, is hereby approved.  

2. That upon completion of the subject project, PECO Energy Company shall submit the final project cost to the Commission.
3. That upon completion of Ordering Paragraph 2, this proceeding at Docket 

No. A-2021-3028191 be closed. 

[image: image1.png]


BY THE COMMISSION,

Rosemary Chiavetta

Secretary

ORDER ADOPTED: October 7, 2021
ORDER ENTERED: October 7, 2021
6

