## Black Rock Pump Station
BLACK ROCK PUMP STATION
WET WELL DRY WELL POURED IN PLACE
CONSTRUCTION COST ESTIMATE
2021-03-05
ITEM |  |  |  |  | TOTAL
NUMBER | DESCRIPTION | QUANTITY | UNITS | UNIT PRICE | COSTS
BLACK ROCK PUMP STATION
1 | Site Work
1.01 | Site Grading and Clearing | 1 | LS | 25000 | 25000
1.02 | Erosion and Sedimentation Control | 1 | LS | 8500 | 8500
1.03 | Driveway | 1 | LS | 15000 | 15000
1.04 | Final Grading and Seeding | 1 | LS | 5000 | 5000
|  |  |  | Subtotal = | 53500
2 | Control Building Including Wet Well and Dry Well
2.01 | Excavation and Backfill | 1 | LS | 175000 | 175000
2.02 | Wet Well and Dry Well Structure | 1 | LS | 545000 | 545000
2.03 | Control Building Above Wet Well and Dry Well | 1 | LS | 137500 | 137500
2.04 | Interior Stairs | 1 | LS | 22500 | 22500
2.05 | Plumbing and HVAC | 1 | LS | 32500 | 32500
|  |  |  | Subtotal = | 912500
3 | Wet Well and Valve Vault
3.01 | Pumps, 20 HP | 1 | LS | 87500 | 87500
3.02 | Controls | 1 | LS | 68500 | 68500
3.03 | Piping and Valves (Dry Welll) | 1 | LS | 78500 | 78500
3.04 | Pump Hoist | 1 | LS | 12750 | 12750
3.05 | Bar Screen | 1 | LS | 14500 | 14500
|  |  |  | Subtotal = | 261750
4 | Electrical
4.01 | Electric Service | 1 | LS | 12500 | 12500
4.02 | Interior Wiring and Pump Power | 1 | LS | 38725 | 38725
4.03 | Interior Lighting | 1 | LS | 18500 | 18500
4.04 | Automatic Transfer Switch | 1 | LS | 12500 | 12500
4.05 | 45 KW Generator and Pad | 1 | LS | 75000 | 75000
4.06 | Site Lighting | 1 | EA | 4500 | 4500
4.07 | Electrical Gear (Wire, Conduit, LP Panel, etc.) | 1 | EA | 85000 | 85000
|  |  |  | Subtotal = | 246725
|  |  |  | Total Construction Cost Estimate | 1474475

## Chanticleer Pump Station
CHANITCLEER PUMP STATION
SUBMERSIBLE STYLE PUMP STATION WITH TWO PUMPS
CONSTRUCTION COST ESTIMATE
2021-03-05
ITEM |  |  |  |  | TOTAL
NUMBER | DESCRIPTION | QUANTITY | UNITS | UNIT PRICE | COSTS
CHANITCLEER PUMP STATION
1 | Site Work
1.01 | Site Grading and Clearing | 1 | LS | 12500 | 12500
1.02 | Erosion and Sedimentation Control | 1 | LS | 5000 | 5000
1.03 | Driveway | 1 | LS | 30000 | 30000
1.05 | Fencing and Gate | 1 | LS | 12500 | 12500
1.06 | 1" K Copper Water Service with Yard Hydrant | 1 | LS | 2000 | 2000
1.07 | Final Grading and Seeding | 1 | LS | 5000 | 5000
|  |  |  | Subtotal = | 67000
2 | Control Enclosure
2.01 | Foundation | 1 | LS | 4500 | 4500
2.02 | Control Enclosure | 1 | LS | 12500 | 12500
2.03 | USEMCO Control Enclosure | 1 | LS | 12500 | 12500
|  |  |  | Subtotal = | 29500
3 | Wet Well (Valves in Wet Well)
3.01 | Excavation and Backfill | 1 | LS | 24500 | 24500
3.02 | Precast Concrete Wet Well | 1 | LS | 22500 | 22500
3.03 | Pumps, 3 HP and Controls | 1 | LS | 27500 | 27500
3.04 | Piping and Valves (Wetwell) | 1 | LS | 4500 | 4500
3.05 | Pump Hoist | 1 | LS | 1250 | 1250
|  |  |  | Subtotal = | 80250
4 | Electrical
4.01 | Power and Control Wiring | 1 | LS | 18500 | 18500
4.02 | Electric Service | 1 | LS | 7500 | 7500
4.03 | Manual Transfer Switch | 1 | LS | 3500 | 3500
4.04 | Portable Generator | 1 | LS | 24500 | 24500
4.05 | Site Lighting | 1 | EA | 2500 | 2500
4.06 | Electrical Gear (Wire, Conduit, LP Panel, etc.) | 1 | EA | 12500 | 12500
|  |  |  | Subtotal = | 69000
|  |  |  | Total Construction Cost Estimate | 245750

## Clearview Pump Station
CLEARVIEW PUMP STATION
SUBMERSIBLE STYLE PUMP STATION WITH TWO PUMPS
CONSTRUCTION COST ESTIMATE
2021-03-05
ITEM |  |  |  |  | TOTAL
NUMBER | DESCRIPTION | QUANTITY | UNITS | UNIT PRICE | COSTS
CLEARVIEW PUMP STATION
1 | Site Work
1.01 | Site Grading and Clearing | 1 | LS | 12500 | 12500
1.02 | Erosion and Sedimentation Control | 1 | LS | 5000 | 5000
1.03 | Driveway | 1 | LS | 12500 | 12500
1.05 | Fencing and Gate | 1 | LS | 8500 | 8500
1.06 | 1" K Copper Water Service with Yard Hydrant | 1 | LS | 2000 | 2000
1.07 | Final Grading and Seeding | 1 | LS | 5000 | 5000
|  |  |  | Subtotal = | 45500
2 | Control Building
2.01 | Foundation | 1 | LS | 12500 | 12500
2.02 | Control Building | 1 | LS | 45000 | 45000
2.03 | Plumbing and HVAC | 1 | LS | 8500 | 8500
|  |  |  | Subtotal = | 66000
3 | Wet Well and Valve Vault
3.01 | Excavation and Backfill | 1 | LS | 85000 | 85000
3.02 | Precast Concrete Wet Well | 1 | LS | 38000 | 38000
3.03 | Pumps, 20 HP and Controls | 1 | LS | 175000 | 175000
3.04 | Piping (Wetwell) | 1 | LS | 8500 | 8500
3.05 | Pump Hoist | 1 | LS | 3500 | 3500
3.06 | Bar Screen | 1 | LS | 3500 | 3500
3.07 | Precast Concrete Valve Vault | 1 | LS | 25000 | 25000
3.08 | Vault Piping and Valves | 1 | LS | 17000 | 17000
|  |  |  | Subtotal = | 355500
4 | Electrical
4.01 | Control Building Electrical | 1 | LS | 12500 | 12500
4.02 | Electric Service | 1 | LS | 7500 | 7500
4.03 | Automatic Transfer Switch | 1 | LS | 8500 | 8500
4.04 | 150 KW Generator | 1 | LS | 125000 | 125000
4.05 | Site Lighting | 1 | EA | 2500 | 2500
4.06 | Electrical Gear (Wire, Conduit, LP Panel, etc.) | 1 | EA | 40000 | 40000
|  |  |  | Subtotal = | 196000
|  |  |  | Total Construction Cost Estimate | 663000

## Farmview Pump Station
FARMVIEW PUMP STATION
SUBMERSIBLE STYLE PUMP STATION WITH TWO PUMPS
CONSTRUCTION COST ESTIMATE
2021-03-05
ITEM |  |  |  |  | TOTAL
NUMBER | DESCRIPTION | QUANTITY | UNITS | UNIT PRICE | COSTS
FARMVIEW PUMP STATION
1 | Site Work
1.01 | Site Grading and Clearing | 1 | LS | 12500 | 12500
1.02 | Erosion and Sedimentation Control | 1 | LS | 5000 | 5000
1.03 | Driveway | 1 | LS | 12500 | 12500
1.05 | Fencing and Gate | 1 | LS | 8500 | 8500
1.06 | 1" K Copper Water Service with Yard Hydrant | 1 | LS | 2000 | 2000
1.07 | Final Grading and Seeding | 1 | LS | 5000 | 5000
|  |  |  | Subtotal = | 45500
2 | Control Building
2.01 | Foundation | 1 | LS | 12500 | 12500
2.02 | Control Building | 1 | LS | 35000 | 35000
2.03 | Plumbing and HVAC | 1 | LS | 8500 | 8500
|  |  |  | Subtotal = | 56000
3 | Wet Well and Valve Vault
3.01 | Excavation and Backfill | 1 | LS | 85000 | 85000
3.02 | Precast Concrete Wet Well | 1 | LS | 38000 | 38000
3.03 | Pumps, 15 HP and Controls | 1 | LS | 155000 | 155000
3.04 | Piping (Wetwell) | 1 | LS | 8500 | 8500
3.05 | Pump Hoist | 1 | LS | 3500 | 3500
3.06 | Bar Screen | 1 | LS | 3500 | 3500
3.07 | Precast Concrete Valve Vault | 1 | LS | 25000 | 25000
3.08 | Vault Piping and Valves | 1 | LS | 17000 | 17000
|  |  |  | Subtotal = | 335500
4 | Electrical
4.01 | Control Building Electrical | 1 | LS | 12500 | 12500
4.02 | Electric Service | 1 | LS | 7500 | 7500
4.03 | Automatic Transfer Switch | 1 | LS | 8500 | 8500
4.04 | 60 KW Generator | 1 | LS | 65000 | 65000
4.05 | Site Lighting | 1 | EA | 2500 | 2500
4.06 | Electrical Gear (Wire, Conduit, LP Panel, etc.) | 1 | EA | 40000 | 40000
|  |  |  | Subtotal = | 136000
|  |  |  | Total Construction Cost Estimate | 573000

## Fox Hill Pump Station
FOX HILL PUMP STATION
USEMCO STEEL DRY WELL AND CONCRETE WET WELL
CONSTRUCTION COST ESTIMATE
2021-03-05
ITEM |  |  |  |  | TOTAL
NUMBER | DESCRIPTION | QUANTITY | UNITS | UNIT PRICE | COSTS
FOX HILL PUMP STATION
1 | Site Work
1.01 | Site Grading and Clearing | 1 | LS | 12500 | 12500
1.02 | Erosion and Sedimentation Control | 1 | LS | 5000 | 5000
1.03 | Driveway | 1 | LS | 12500 | 12500
1.05 | Fencing and Gate | 1 | LS | 8500 | 8500
1.06 | 1" K Copper Water Service with Yard Hydrant | 1 | LS | 2000 | 2000
1.07 | Final Grading and Seeding | 1 | LS | 5000 | 5000
|  |  |  | Subtotal = | 45500
2 | Control Building
2.01 | Foundation | 1 | LS | 12500 | 12500
2.02 | Control Building | 1 | LS | 35000 | 35000
2.03 | Plumbing and HVAC | 1 | LS | 8500 | 8500
|  |  |  | Subtotal = | 56000
3 | Wet Well and Valve Vault
3.01 | Excavation and Backfill | 1 | LS | 125000 | 125000
3.02 | Precast Concrete Wet Well | 1 | LS | 47500 | 47500
3.03 | Pumps, 25 HP and Controls | 1 | LS | 175000 | 175000
3.04 | Dry Well Piping | 1 | LS | 27500 | 27500
3.05 | Prefabricated Steel Dry Well | 1 | LS | 65000 | 65000
3.06 | Bar Screen | 1 | LS | 4750 | 4750
|  |  |  | Subtotal = | 444750
4 | Electrical
4.01 | Control Building Electrical | 1 | LS | 18500 | 18500
4.02 | Electric Service | 1 | LS | 7500 | 7500
4.03 | Automatic Transfer Switch | 1 | LS | 8500 | 8500
4.04 | 75 KW Generator | 1 | LS | 85000 | 85000
4.05 | Site Lighting | 1 | EA | 2500 | 2500
4.06 | Electrical Gear (Wire, Conduit, LP Panel, etc.) | 1 | EA | 47250 | 47250
|  |  |  | Subtotal = | 169250
|  |  |  | Total Construction Cost Estimate | 715500

## Maplevale Pump Station
MAPLEVALE PUMP STATION
SUBMERSIBLE STYLE PUMP STATION WITH TWO PUMPS
CONSTRUCTION COST ESTIMATE
2021-03-05
ITEM |  |  |  |  | TOTAL
NUMBER | DESCRIPTION | QUANTITY | UNITS | UNIT PRICE | COSTS
MAPLEVALE PUMP STATION
1 | Site Work
1.01 | Site Grading and Clearing | 1 | LS | 12500 | 12500
1.02 | Erosion and Sedimentation Control | 1 | LS | 5000 | 5000
1.03 | Driveway | 1 | LS | 6500 | 6500
1.05 | Fencing and Gate | 1 | LS | 8500 | 8500
1.06 | 1" K Copper Water Service with Yard Hydrant | 1 | LS | 2000 | 2000
1.07 | Final Grading and Seeding | 1 | LS | 5000 | 5000
|  |  |  | Subtotal = | 39500
2 | Control Enclosure
2.01 | Foundation | 1 | LS | 4500 | 4500
2.02 | Control Enclosure | 1 | LS | 3500 | 3500
2.03 | USEMCO Control Enclosure | 1 | LS | 12500 | 12500
|  |  |  | Subtotal = | 20500
3 | Wet Well (Valves in Wet Well)
3.01 | Excavation and Backfill | 1 | LS | 24500 | 24500
3.02 | Precast Concrete Wet Well | 1 | LS | 22500 | 22500
3.03 | Pumps, 3 HP and Controls | 1 | LS | 27500 | 27500
3.04 | Piping and Valves (Wetwell) | 1 | LS | 4500 | 4500
3.05 | Pump Hoist | 1 | LS | 1250 | 1250
|  |  |  | Subtotal = | 80250
4 | Electrical
4.01 | Power and Control Wiring | 1 | LS | 18500 | 18500
4.02 | Electric Service | 1 | LS | 7500 | 7500
4.03 | Manual Transfer Switch | 1 | LS | 3500 | 3500
4.04 | Portable Generator | 1 | LS | 24500 | 24500
4.05 | Site Lighting | 1 | EA | 2500 | 2500
4.06 | Electrical Gear (Wire, Conduit, LP Panel, etc.) | 1 | EA | 12500 | 12500
|  |  |  | Subtotal = | 69000
|  |  |  | Total Construction Cost Estimate | 209250

## Yardley Oaks
YARDLEY OAKS PUMP STATION
USEMCO STEEL DRY WELL AND CONCRETE WET WELL
CONSTRUCTION COST ESTIMATE
2021-03-05
ITEM |  |  |  |  | TOTAL
NUMBER | DESCRIPTION | QUANTITY | UNITS | UNIT PRICE | COSTS
YARDLEY OAKS PUMP STATION
1 | Site Work
1.01 | Site Grading and Clearing | 1 | LS | 22500 | 22500
1.02 | Erosion and Sedimentation Control | 1 | LS | 5000 | 5000
1.03 | Driveway | 1 | LS | 18500 | 18500
1.05 | Fencing and Gate | 1 | LS | 12500 | 12500
1.06 | 1" K Copper Water Service with Yard Hydrant | 1 | LS | 2000 | 2000
1.07 | Final Grading and Seeding | 1 | LS | 8500 | 8500
|  |  |  | Subtotal = | 69000
2 | Control Building
2.01 | Foundation | 1 | LS | 12500 | 12500
2.02 | Control Building | 1 | LS | 45000 | 45000
2.03 | Plumbing and HVAC | 1 | LS | 8500 | 8500
|  |  |  | Subtotal = | 66000
3 | Wet Well and Valve Vault
3.01 | Excavation and Backfill | 1 | LS | 105000 | 105000
3.02 | Precast Concrete Wet Well | 1 | LS | 38500 | 38500
3.03 | Pumps, 7.5 HP and Controls | 1 | LS | 105000 | 105000
3.04 | Dry Well Piping | 1 | LS | 27500 | 27500
3.05 | Prefabricated Steel Dry Well | 1 | LS | 55000 | 55000
3.06 | Bar Screen | 1 | LS | 4750 | 4750
|  |  |  | Subtotal = | 335750
4 | Electrical
4.01 | Control Building Electrical | 1 | LS | 18500 | 18500
4.02 | Electric Service | 1 | LS | 7500 | 7500
4.03 | Automatic Transfer Switch | 1 | LS | 8500 | 8500
4.04 | 80 KW Generator | 1 | LS | 92500 | 92500
4.05 | Site Lighting | 1 | EA | 2500 | 2500
4.06 | Electrical Gear (Wire, Conduit, LP Panel, etc.) | 1 | EA | 47250 | 47250
|  |  |  | Subtotal = | 176750
|  |  |  | Total Construction Cost Estimate | 647500

## Sherwood Park Pump Station
SHERWOOD PARK PUMP STATION
WET WELL DRY WELL POURED IN PLACE
CONSTRUCTION COST ESTIMATE
2021-03-05
ITEM |  |  |  |  | TOTAL
NUMBER | DESCRIPTION | QUANTITY | UNITS | UNIT PRICE | COSTS
SHERWOOD PARK PUMP STATION
1 | Site Work
1.01 | Site Grading and Clearing | 1 | LS | 25000 | 25000
1.02 | Erosion and Sedimentation Control | 1 | LS | 8500 | 8500
1.03 | Driveway | 1 | LS | 15000 | 15000
1.04 | Final Grading and Seeding | 1 | LS | 5000 | 5000
|  |  |  | Subtotal = | 53500
2 | Control Building Including Wet Well and Dry Well
2.01 | Excavation and Backfill | 1 | LS | 145000 | 145000
2.02 | Wet Well and Dry Well Structure | 1 | LS | 475000 | 475000
2.03 | Control Building Above Wet Well and Dry Well | 1 | LS | 115000 | 115000
2.04 | Interior Stairs | 1 | LS | 18500 | 18500
2.05 | Plumbing and HVAC | 1 | LS | 26000 | 26000
|  |  |  | Subtotal = | 779500
3 | Wet Well and Valve Vault
3.01 | Pumps, 15 HP | 1 | LS | 77500 | 77500
3.02 | Controls | 1 | LS | 68500 | 68500
3.03 | Piping and Valves (Dry Welll) | 1 | LS | 78500 | 78500
3.04 | Pump Hoist | 1 | LS | 12750 | 12750
3.05 | Bar Screen | 1 | LS | 14500 | 14500
|  |  |  | Subtotal = | 251750
4 | Electrical
4.01 | Electric Service | 1 | LS | 12500 | 12500
4.02 | Interior Wiring and Pump Power | 1 | LS | 36250 | 36250
4.03 | Interior Lighting | 1 | LS | 18500 | 18500
4.04 | Automatic Transfer Switch | 1 | LS | 12500 | 12500
4.05 | 45 KW Generator and Pad | 1 | LS | 75000 | 75000
4.06 | Site Lighting | 1 | EA | 4500 | 4500
4.07 | Electrical Gear (Wire, Conduit, LP Panel, etc.) | 1 | EA | 74000 | 74000
|  |  |  | Subtotal = | 233250
|  |  |  | Total Construction Cost Estimate | 1318000

## Silver Lake Pump Station
SILVER LAKE PUMP STATION
WET WELL DRY WELL POURED IN PLACE
CONSTRUCTION COST ESTIMATE
2021-03-05
ITEM |  |  |  |  | TOTAL
NUMBER | DESCRIPTION | QUANTITY | UNITS | UNIT PRICE | COSTS
SILVER LAKE PUMP STATION
1 | Site Work
1.01 | Site Grading and Clearing | 1 | LS | 25000 | 25000
1.02 | Erosion and Sedimentation Control | 1 | LS | 8500 | 8500
1.03 | Driveway | 1 | LS | 15000 | 15000
1.04 | Final Grading and Seeding | 1 | LS | 5000 | 5000
|  |  |  | Subtotal = | 53500
2 | Control Building Including Wet Well and Dry Well
2.01 | Excavation and Backfill | 1 | LS | 245000 | 245000
2.02 | Wet Well and Dry Well Structure | 1 | LS | 625000 | 625000
2.03 | Control Building Above Wet Well and Dry Well | 1 | LS | 165750 | 165750
2.04 | Interior Stairs | 1 | LS | 38500 | 38500
2.05 | Plumbing and HVAC | 1 | LS | 42500 | 42500
|  |  |  | Subtotal = | 1116750
3 | Wet Well and Valve Vault
3.01 | Pumps, 15 HP (Three Pumps) | 1 | LS | 132500 | 132500
3.02 | Controls | 1 | LS | 78500 | 78500
3.03 | Piping and Valves (Dry Welll) | 1 | LS | 112500 | 112500
3.04 | Pump Hoist | 1 | LS | 22500 | 22500
3.05 | Bar Screen | 1 | LS | 14500 | 14500
|  |  |  | Subtotal = | 360500
4 | Electrical
4.01 | Electric Service | 1 | LS | 12500 | 12500
4.02 | Interior Wiring and Pump Power | 1 | LS | 56000 | 56000
4.03 | Interior Lighting | 1 | LS | 22500 | 22500
4.04 | Automatic Transfer Switch | 1 | LS | 12500 | 12500
4.05 | 80 KW Generator and Pad | 1 | LS | 92500 | 92500
4.06 | Site Lighting | 1 | EA | 4500 | 4500
4.07 | Electrical Gear (Wire, Conduit, LP Panel, etc.) | 1 | EA | 105000 | 105000
|  |  |  | Subtotal = | 305500
|  |  |  | Total Construction Cost Estimate | 1836250

## Stackhouse Pump Station.
STACKHOUSE PUMP STATION
SUBMERSIBLE STYLE PUMP STATION WITH TWO PUMPS
CONSTRUCTION COST ESTIMATE
2021-03-05
ITEM |  |  |  |  | TOTAL
NUMBER | DESCRIPTION | QUANTITY | UNITS | UNIT PRICE | COSTS
STACKHOUSE PUMP STATION
1 | Site Work
1.01 | Site Grading and Clearing | 1 | LS | 20000 | 20000
1.02 | Erosion and Sedimentation Control | 1 | LS | 5000 | 5000
1.03 | Driveway | 1 | LS | 20000 | 20000
1.05 | Fencing and Gate | 1 | LS | 15000 | 15000
1.06 | 1" K Copper Water Service with Yard Hydrant | 1 | LS | 2000 | 2000
1.07 | Final Grading and Seeding | 1 | LS | 5000 | 5000
|  |  |  | Subtotal = | 67000
2 | Control Building
2.01 | Foundation | 1 | LS | 12500 | 12500
2.02 | Control Building | 1 | LS | 35000 | 35000
2.03 | Plumbing and HVAC | 1 | LS | 8500 | 8500
|  |  |  | Subtotal = | 56000
3 | Wet Well and Valve Vault
3.01 | Excavation and Backfill | 1 | LS | 35000 | 35000
3.02 | Precast Concrete Wet Well | 1 | LS | 38000 | 38000
3.03 | Pumps, 11 HP and Controls | 1 | LS | 156200 | 156200
3.04 | Piping (Wetwell) | 1 | LS | 7500 | 7500
3.05 | Pump Hoist | 1 | LS | 3500 | 3500
3.06 | Sewage Grinder | 1 | LS | 40000 | 40000
3.07 | Precast Concrete Valve Vault | 1 | LS | 25000 | 25000
3.08 | Vault Piping and Valves | 1 | LS | 17000 | 17000
3.09 | Flow Meter and Recorder | 1 | LS | 9000 | 9000
|  |  |  | Subtotal = | 331200
4 | Electrical
4.01 | Control Building Electrical | 1 | LS | 9500 | 9500
4.02 | Electric Service | 1 | LS | 7500 | 7500
3.03 | Automatic Transfer Switch | 1 | LS | 8500 | 8500
4.04 | Generator and Pad | 1 | LS | 50000 | 50000
4.05 | Site Lighting | 1 | EA | 2500 | 2500
4.06 | Electrical Gear (Wire, Conduit, LP Panel, etc.) | 1 | EA | 40000 | 40000
|  |  |  | Subtotal = | 118000
|  |  |  | Total Construction Cost Estimate | 572200

## Yardley Estates Pump Station
YARDLEY ESTATES PUMP STATION
USEMCO STEEL DRY WELL AND CONCRETE WET WELL
CONSTRUCTION COST ESTIMATE
2021-03-05
ITEM |  |  |  |  | TOTAL
NUMBER | DESCRIPTION | QUANTITY | UNITS | UNIT PRICE | COSTS
YARDLEY ESTATES PUMP STATION
1 | Site Work
1.01 | Site Grading and Clearing | 1 | LS | 22500 | 22500
1.02 | Erosion and Sedimentation Control | 1 | LS | 5000 | 5000
1.03 | Driveway | 1 | LS | 18500 | 18500
1.05 | Fencing and Gate | 1 | LS | 12500 | 12500
1.06 | 1" K Copper Water Service with Yard Hydrant | 1 | LS | 2000 | 2000
1.07 | Final Grading and Seeding | 1 | LS | 8500 | 8500
|  |  |  | Subtotal = | 69000
2 | Control Building
2.01 | Foundation | 1 | LS | 12500 | 12500
2.02 | Control Building | 1 | LS | 35000 | 35000
2.03 | Plumbing and HVAC | 1 | LS | 8500 | 8500
|  |  |  | Subtotal = | 56000
3 | Wet Well and Valve Vault
3.01 | Excavation and Backfill | 1 | LS | 85000 | 85000
3.02 | Precast Concrete Wet Well | 1 | LS | 27500 | 27500
3.03 | Pumps, 10 HP and Controls | 1 | LS | 115000 | 115000
3.04 | Dry Well Piping | 1 | LS | 22500 | 22500
3.05 | Prefabricated Steel Dry Well | 1 | LS | 47500 | 47500
3.06 | Bar Screen | 1 | LS | 4750 | 4750
|  |  |  | Subtotal = | 302250
4 | Electrical
4.01 | Control Building Electrical | 1 | LS | 18500 | 18500
4.02 | Electric Service | 1 | LS | 7500 | 7500
4.03 | Automatic Transfer Switch | 1 | LS | 8500 | 8500
4.04 | 30 KW Generator | 1 | LS | 45000 | 45000
4.05 | Site Lighting | 1 | EA | 2500 | 2500
4.06 | Electrical Gear (Wire, Conduit, LP Panel, etc.) | 1 | EA | 47250 | 47250
|  |  |  | Subtotal = | 129250
|  |  |  | Total Construction Cost Estimate | 556500

## Mill Road Estates Pump Station
MILL ROAD ESTATES PUMP STATION
SUBMERSIBLE STYLE PUMP STATION WITH TWO PUMPS
CONSTRUCTION COST ESTIMATE
2021-03-05
ITEM |  |  |  |  | TOTAL
NUMBER | DESCRIPTION | QUANTITY | UNITS | UNIT PRICE | COSTS
MILL ROAD ESTATES PUMP STATION
1 | Site Work
1.01 | Site Grading and Clearing | 1 | LS | 12500 | 12500
1.02 | Erosion and Sedimentation Control | 1 | LS | 5000 | 5000
1.03 | Driveway | 1 | LS | 12500 | 12500
1.05 | Fencing and Gate | 1 | LS | 8500 | 8500
1.06 | 1" K Copper Water Service with Yard Hydrant | 1 | LS | 2000 | 2000
1.07 | Final Grading and Seeding | 1 | LS | 5000 | 5000
|  |  |  | Subtotal = | 45500
2 | Control Building
2.01 | Foundation | 1 | LS | 12500 | 12500
2.02 | Control Building | 1 | LS | 45000 | 45000
2.03 | Plumbing and HVAC | 1 | LS | 8500 | 8500
|  |  |  | Subtotal = | 66000
3 | Wet Well and Valve Vault
3.01 | Excavation and Backfill | 1 | LS | 85000 | 85000
3.02 | Precast Concrete Wet Well | 1 | LS | 38000 | 38000
3.03 | Pumps, 30 HP and Controls | 1 | LS | 195000 | 195000
3.04 | Piping (Wetwell) | 1 | LS | 8500 | 8500
3.05 | Pump Hoist | 1 | LS | 3500 | 3500
3.06 | Bar Screen | 1 | LS | 3500 | 3500
3.07 | Precast Concrete Valve Vault | 1 | LS | 25000 | 25000
3.08 | Vault Piping and Valves | 1 | LS | 17000 | 17000
|  |  |  | Subtotal = | 375500
4 | Electrical
4.01 | Control Building Electrical | 1 | LS | 12500 | 12500
4.02 | Electric Service | 1 | LS | 7500 | 7500
4.03 | Automatic Transfer Switch | 1 | LS | 8500 | 8500
4.04 | 60 KW Generator | 1 | LS | 72500 | 72500
4.05 | Site Lighting | 1 | EA | 2500 | 2500
4.06 | Electrical Gear (Wire, Conduit, LP Panel, etc.) | 1 | EA | 40000 | 40000
|  |  |  | Subtotal = | 143500
|  |  |  | Total Construction Cost Estimate | 630500

## Brookstone Pump Station
BROOKSTONE PUMP STATION
USEMCO STEEL DRY WELL AND CONCRETE WET WELL
CONSTRUCTION COST ESTIMATE
2021-03-05
ITEM |  |  |  |  | TOTAL
NUMBER | DESCRIPTION | QUANTITY | UNITS | UNIT PRICE | COSTS
BROOKSTONE PUMP STATION
1 | Site Work
1.01 | Site Grading and Clearing | 1 | LS | 18500 | 18500
1.02 | Erosion and Sedimentation Control | 1 | LS | 5000 | 5000
1.03 | Driveway | 1 | LS | 18500 | 18500
1.05 | Fencing and Gate | 1 | LS | 12500 | 12500
1.06 | 1" K Copper Water Service with Yard Hydrant | 1 | LS | 2000 | 2000
1.07 | Final Grading and Seeding | 1 | LS | 4500 | 4500
|  |  |  | Subtotal = | 61000
2 | Control Building
2.01 | Foundation | 1 | LS | 14500 | 14500
2.02 | Control Building | 1 | LS | 45000 | 45000
2.03 | Plumbing and HVAC | 1 | LS | 8500 | 8500
|  |  |  | Subtotal = | 68000
3 | Wet Well and Valve Vault
3.01 | Excavation and Backfill | 1 | LS | 105000 | 105000
3.02 | Precast Concrete Wet Well | 1 | LS | 38500 | 38500
3.03 | Pumps, 15 HP and Controls | 1 | LS | 125000 | 125000
3.04 | Dry Well Piping | 1 | LS | 27500 | 27500
3.05 | Prefabricated Steel Dry Well | 1 | LS | 55000 | 55000
3.06 | Bar Screen | 1 | LS | 4750 | 4750
|  |  |  | Subtotal = | 355750
4 | Electrical
4.01 | Control Building Electrical | 1 | LS | 18500 | 18500
4.02 | Electric Service | 1 | LS | 7500 | 7500
4.03 | Automatic Transfer Switch | 1 | LS | 8500 | 8500
4.04 | 50 KW Generator | 1 | LS | 65000 | 65000
4.05 | Site Lighting | 1 | EA | 2500 | 2500
4.06 | Electrical Gear (Wire, Conduit, LP Panel, etc.) | 1 | EA | 52500 | 52500
|  |  |  | Subtotal = | 154500
|  |  |  | Total Construction Cost Estimate | 639250

## Meter Pits
METER PITS
CONSTRUCTION COST ESTIMATE
2021-03-05
ITEM |  |  |  |  | TOTAL
NUMBER | DESCRIPTION | QUANTITY | UNITS | UNIT PRICE | COSTS
Belmondo Meter Pit
| Three Inch Parshall Flume Meter Pit | 1 | LS | 65000 | 65000
Buck Creek Meter
| Six Inch Parshall Flume Meter Pit | 1 | LS | 105000 | 105000
Delmorr Avenue Meter Pit
| Twelve Inch Parshall Flume | 1 | LS | 225000 | 225000
Derbyshire Road Meter Pit
| Ten Inch Palmer Bowlus Flume | 1 | LS | 165000 | 165000
East Ferry Road Meter Pit
| Twelve Inch Parshall Flume | 1 | LS | 225000 | 225000
Main Stret Meter Pit
| Six Inch Parshall Flume Meter Pit | 1 | LS | 105000 | 105000
Sandy Run Meter Pit
| Six Inch Parshall Flume Meter Pit | 1 | LS | 105000 | 105000
Big Oak Road Meter Pit
| Isco Laser Meter in Eight Inch Pipe | 1 | LS | 22500 | 22500