## Changes
2026 TRM Appendix A: CLIMATE DEPENDENT VALUES
CHANGELOG
Version 1 (Submitted June 28, 2019 for 2021 Final Order)
1) | Released with 2021 TRM Final Order in June, 2019
Version 2 (Submitted October, 2020 for 2021 TRM Update Amendment)
1) | Released with TRM Order in October, 2020
2) | Re-released without change with 2021 TRM Update Amendment Final Order in February, 2021
Version 3 (Submitted May 25, 2024 for 2026 TRM Tentative Order)
1) | Released with 2026 TRM Tentative TRM Order in May, 2024
2) | Updated degree days using 2006-2020 15-year climate normals produced by the National Oceanic and Atmospheric Administration (NOAA)
3) | Reassigned Dauphin and Perry counties and associated zip codes to Climate Region E to better align with ASHRAE and 2021 IECC climate zones;
4) | Revised the Equivalent Full Load Hour (EFLH) and summer Coincidence Factor (CF) values to align the EFLH and summer CF values with updated normal weather assumptions; added winter CF
Version 4 (Submitted September 12, 2024 for 2026 TRM Final Order)
1) | Released with 2026 TRM Final TRM Order in September, 2024
2) | Updated the tab names and embedded table numbers to align with revised table numbering in Volume 1 of the Manual

## TRM Table 1-7
Table 1‑7: EDC Climate Region Weights (by Population)
Climate Region | EDC
| Duquesne | First Energy |  |  |  | PECO | PPL
|  | MetEd | Penelec | Penn Power | West Penn Power
A | – |  | 2.649% | – | – | – | 1.649%
B | – | 7.511% | 6.051% | – | – | – | 21.16%
C | – | 13.15% |  | – | – | – | 22.48%
D | – | 38.01% | – | – | – | 99.78% | 24.73%
E | – | 41.33% | 3.262% | – | 10.69% | 0.2156% | 16.84%
F | – | – | 7.51% | – | 10.79% | – | 13.14%
G | – | – | 10.58% | – | 3.648% | – | –
H | 100% | – | 34.38% | 71.94% | 73.4% | – | –
I | – | – | 35.57% | 28.06% | 1.465% | – | –

## TRM Table 1-8
Table 1-8: Heating & Cooling Degree Days by Climate Region
Climate Region | Reference City | Conditioned Space |  | Unconditioned Space
|  | CDD65 | HDD65 | CDD75 | HDD50
C | Allentown | 1048.7 | 5129.5 | 165 | 2159.2
A | Binghamton, NY | 401.2 | 7008.8999 | 4 | 3477.1001
G | Bradford | 284.3 | 7177 | 0 | 3520.5
I | Erie | 803.3 | 5769.8999 | 91 | 2617.2
E | Harrisburg | 1242.3 | 4885.7002 | 246 | 2007
D | Philadelphia | 1449.7 | 4346.6001 | 341 | 1642.5
H | Pittsburgh | 859.7 | 5437.2998 | 78 | 2431
B | Scranton | 846.6 | 5573.3999 | 96 | 2488.3999
F | Williamsport | 867.2 | 5577.5 | 98 | 2480.8999

## TRM Table 1-9
Table 1- 9: Residential HVAC Equivalent Full Load Hour and Coincidence Factor Assumptions
Climate Region | Reference City | CF_summer (cool) | CF_winter (heat) | EFLHcool |  | EFLHheat
|  |  |  | CAC & HP | Room AC | Non-HP | Primary HP | Secondary1 | Table 2-17: Ductless Heat Pump Usage Zones
C | Allentown | 0.41938 | 0.36576 | 759.3904 | 235.411 | 825.4009 | 1199.8304 | 816.5279 | Primary | Secondary
A | Binghamton, NY | 0.2465 | 0.4639 | 386.3168 | 119.7582 | 1169.9454 | 1516.2164 | 1093.1709 | Dining room | Basement
G | Bradford | 0.2364 | 0.47805 | 306.4658 | 95.0044 | 1190.7935 | 1544.7793 | 1104.858 | Family room | Bathroom
I | Erie | 0.29604 | 0.40232 | 626.5232 | 194.2222 | 945.4816 | 1331.3333 | 931.0911 | House hallway | Bedroom
E | Harrisburg | 0.43771 | 0.35065 | 858.4091 | 266.1068 | 782.084 | 1145.3151 | 773.2945 | Living room | Laundry/Mudroom
D | Philadelphia | 0.47748 | 0.30187 | 972.4135 | 301.4482 | 682.1741 | 1027.0535 | 672.2887 | Kitchen areas | Office/Study
H | Pittsburgh | 0.36705 | 0.3786 | 670.3912 | 207.8213 | 885.6054 | 1262.0258 | 875.5434 | Recreation room | Storage room
B | Scranton | 0.35783 | 0.39795 | 651.4413 | 201.9468 | 907.5409 | 1285.2543 | 891.9865 |  | Sunroom/Seasonal
F | Williamsport | 0.40466 | 0.39177 | 661.6351 | 205.1069 | 909.0183 | 1277.8394 | 887.5525
1Calculated as EFLHPrimary HP × HDD68 ÷ HDD60. The HDD ratio is used to reflect a lower heating requirement for secondary spaces since the thermostat set point in these spaces is generally lowered during unoccupied time periods. Primary spaces are defined as dining rooms, family rooms, hallways, living rooms, kitchen areas, and recreation rooms. Secondary spaces are defined as basements, bathrooms, bedrooms, laundry/mudrooms, offices/studies, storage rooms, and sunrooms/seasonal rooms.

## County by CR lookup
County | Climat Region (CR)
ADAMS | E
ALLEGHENY | H
ARMSTRONG | H
BEAVER | H
BEDFORD | H
BERKS | D
BLAIR | H
BRADFORD | B
BUCKS | D
BUTLER | H
CAMBRIA | H
CAMERON | G
CARBON | C
CENTRE | F
CHESTER | D
CLARION | I
CLEARFIELD | G
CLINTON | F
COLUMBIA | F
CRAWFORD | I
CUMBERLAND | E
DAUPHIN | E
DELAWARE | D
ELK | G
ERIE | I
FAYETTE | H
FOREST | I
FRANKLIN | E
FULTON | E
GREENE | H
HUNTINGDON | F
INDIANA | H
JEFFERSON | I
JUNIATA | F
LACKAWANNA | B
LANCASTER | D
LAWRENCE | H
LEBANON | D
LEHIGH | C
LUZERNE | B
LYCOMING | F
MCKEAN | G
MERCER | I
MIFFLIN | F
MONROE | B
MONTGOMERY | D
MONTOUR | F
NORTHAMPTON | C
NORTHUMBERLAND | F
PERRY | E
PHILADELPHIA | D
PIKE | B
POTTER | G
SCHUYLKILL | C
SNYDER | F
SOMERSET | H
SULLIVAN | B
SUSQUEHANNA | A
TIOGA | G
UNION | F
VENANGO | I
WARREN | I
WASHINGTON | H
WAYNE | A
WESTMORELAND | H
WYOMING | B
YORK | E

## CR by ZIP
ZIP3 | ZCTA/ZIP | Climat Region (CR) | Reference City
150 | 15001 | H | Pittsburgh
150 | 15003 | H | Pittsburgh
150 | 15004 | H | Pittsburgh
150 | 15005 | H | Pittsburgh
150 | 15006 | H | Pittsburgh
150 | 15007 | H | Pittsburgh
150 | 15009 | H | Pittsburgh
150 | 15010 | H | Pittsburgh
150 | 15012 | H | Pittsburgh
150 | 15014 | H | Pittsburgh
150 | 15015 | H | Pittsburgh
150 | 15017 | H | Pittsburgh
150 | 15018 | H | Pittsburgh
150 | 15019 | H | Pittsburgh
150 | 15020 | H | Pittsburgh
150 | 15021 | H | Pittsburgh
150 | 15022 | H | Pittsburgh
150 | 15024 | H | Pittsburgh
150 | 15025 | H | Pittsburgh
150 | 15026 | H | Pittsburgh
150 | 15027 | H | Pittsburgh
150 | 15028 | H | Pittsburgh
150 | 15030 | H | Pittsburgh
150 | 15031 | H | Pittsburgh
150 | 15032 | H | Pittsburgh
150 | 15033 | H | Pittsburgh
150 | 15034 | H | Pittsburgh
150 | 15035 | H | Pittsburgh
150 | 15036 | H | Pittsburgh
150 | 15037 | H | Pittsburgh
150 | 15038 | H | Pittsburgh
150 | 15042 | H | Pittsburgh
150 | 15043 | H | Pittsburgh
150 | 15044 | H | Pittsburgh
150 | 15045 | H | Pittsburgh
150 | 15046 | H | Pittsburgh
150 | 15047 | H | Pittsburgh
150 | 15049 | H | Pittsburgh
150 | 15050 | H | Pittsburgh
150 | 15051 | H | Pittsburgh
150 | 15052 | H | Pittsburgh
150 | 15053 | H | Pittsburgh
150 | 15054 | H | Pittsburgh
150 | 15055 | H | Pittsburgh
150 | 15056 | H | Pittsburgh
150 | 15057 | H | Pittsburgh
150 | 15059 | H | Pittsburgh
150 | 15060 | H | Pittsburgh
150 | 15061 | H | Pittsburgh
150 | 15062 | H | Pittsburgh
150 | 15063 | H | Pittsburgh
150 | 15064 | H | Pittsburgh
150 | 15065 | H | Pittsburgh
150 | 15066 | H | Pittsburgh
150 | 15067 | H | Pittsburgh
150 | 15068 | H | Pittsburgh
150 | 15069 | H | Pittsburgh
150 | 15071 | H | Pittsburgh
150 | 15072 | H | Pittsburgh
150 | 15074 | H | Pittsburgh
150 | 15075 | H | Pittsburgh
150 | 15076 | H | Pittsburgh
150 | 15077 | H | Pittsburgh
150 | 15078 | H | Pittsburgh
150 | 15081 | H | Pittsburgh
150 | 15082 | H | Pittsburgh
150 | 15083 | H | Pittsburgh
150 | 15084 | H | Pittsburgh
150 | 15085 | H | Pittsburgh
150 | 15086 | H | Pittsburgh
150 | 15087 | H | Pittsburgh
150 | 15088 | H | Pittsburgh
150 | 15089 | H | Pittsburgh
150 | 15090 | H | Pittsburgh
150 | 15091 | H | Pittsburgh
150 | 15095 | H | Pittsburgh
150 | 15096 | H | Pittsburgh
151 | 15101 | H | Pittsburgh
151 | 15102 | H | Pittsburgh
151 | 15104 | H | Pittsburgh
151 | 15106 | H | Pittsburgh
151 | 15108 | H | Pittsburgh
151 | 15110 | H | Pittsburgh
151 | 15112 | H | Pittsburgh
151 | 15116 | H | Pittsburgh
151 | 15120 | H | Pittsburgh
151 | 15122 | H | Pittsburgh
151 | 15123 | H | Pittsburgh
151 | 15126 | H | Pittsburgh
151 | 15127 | H | Pittsburgh
151 | 15129 | H | Pittsburgh
151 | 15130 | H | Pittsburgh
151 | 15131 | H | Pittsburgh
151 | 15132 | H | Pittsburgh
151 | 15133 | H | Pittsburgh
151 | 15134 | H | Pittsburgh
151 | 15135 | H | Pittsburgh
151 | 15136 | H | Pittsburgh
151 | 15137 | H | Pittsburgh
151 | 15139 | H | Pittsburgh
151 | 15140 | H | Pittsburgh
151 | 15142 | H | Pittsburgh
151 | 15143 | H | Pittsburgh
151 | 15144 | H | Pittsburgh
151 | 15145 | H | Pittsburgh
151 | 15146 | H | Pittsburgh
151 | 15147 | H | Pittsburgh
151 | 15148 | H | Pittsburgh
151 | 15189 | H | Pittsburgh
152 | 15201 | H | Pittsburgh
152 | 15202 | H | Pittsburgh
152 | 15203 | H | Pittsburgh
152 | 15204 | H | Pittsburgh
152 | 15205 | H | Pittsburgh
152 | 15206 | H | Pittsburgh
152 | 15207 | H | Pittsburgh
152 | 15208 | H | Pittsburgh
152 | 15209 | H | Pittsburgh
152 | 15210 | H | Pittsburgh
152 | 15211 | H | Pittsburgh
152 | 15212 | H | Pittsburgh
152 | 15213 | H | Pittsburgh
152 | 15214 | H | Pittsburgh
152 | 15215 | H | Pittsburgh
152 | 15216 | H | Pittsburgh
152 | 15217 | H | Pittsburgh
152 | 15218 | H | Pittsburgh
152 | 15219 | H | Pittsburgh
152 | 15220 | H | Pittsburgh
152 | 15221 | H | Pittsburgh
152 | 15222 | H | Pittsburgh
152 | 15223 | H | Pittsburgh
152 | 15224 | H | Pittsburgh
152 | 15225 | H | Pittsburgh
152 | 15226 | H | Pittsburgh
152 | 15227 | H | Pittsburgh
152 | 15228 | H | Pittsburgh
152 | 15229 | H | Pittsburgh
152 | 15230 | H | Pittsburgh
152 | 15231 | H | Pittsburgh
152 | 15232 | H | Pittsburgh
152 | 15233 | H | Pittsburgh
152 | 15234 | H | Pittsburgh
152 | 15235 | H | Pittsburgh
152 | 15236 | H | Pittsburgh
152 | 15237 | H | Pittsburgh
152 | 15238 | H | Pittsburgh
152 | 15239 | H | Pittsburgh
152 | 15240 | H | Pittsburgh
152 | 15241 | H | Pittsburgh
152 | 15242 | H | Pittsburgh
152 | 15243 | H | Pittsburgh
152 | 15244 | H | Pittsburgh
152 | 15250 | H | Pittsburgh
152 | 15251 | H | Pittsburgh
152 | 15252 | H | Pittsburgh
152 | 15253 | H | Pittsburgh
152 | 15254 | H | Pittsburgh
152 | 15255 | H | Pittsburgh
152 | 15257 | H | Pittsburgh
152 | 15258 | H | Pittsburgh
152 | 15259 | H | Pittsburgh
152 | 15260 | H | Pittsburgh
152 | 15261 | H | Pittsburgh
152 | 15262 | H | Pittsburgh
152 | 15263 | H | Pittsburgh
152 | 15264 | H | Pittsburgh
152 | 15265 | H | Pittsburgh
152 | 15266 | H | Pittsburgh
152 | 15267 | H | Pittsburgh
152 | 15268 | H | Pittsburgh
152 | 15270 | H | Pittsburgh
152 | 15272 | H | Pittsburgh
152 | 15274 | H | Pittsburgh
152 | 15275 | H | Pittsburgh
152 | 15276 | H | Pittsburgh
152 | 15277 | H | Pittsburgh
152 | 15278 | H | Pittsburgh
152 | 15279 | H | Pittsburgh
152 | 15281 | H | Pittsburgh
152 | 15282 | H | Pittsburgh
152 | 15283 | H | Pittsburgh
152 | 15285 | H | Pittsburgh
152 | 15286 | H | Pittsburgh
152 | 15290 | H | Pittsburgh
152 | 15295 | H | Pittsburgh
153 | 15301 | H | Pittsburgh
153 | 15310 | H | Pittsburgh
153 | 15311 | H | Pittsburgh
153 | 15312 | H | Pittsburgh
153 | 15313 | H | Pittsburgh
153 | 15314 | H | Pittsburgh
153 | 15315 | H | Pittsburgh
153 | 15316 | H | Pittsburgh
153 | 15317 | H | Pittsburgh
153 | 15320 | H | Pittsburgh
153 | 15321 | H | Pittsburgh
153 | 15322 | H | Pittsburgh
153 | 15323 | H | Pittsburgh
153 | 15324 | H | Pittsburgh
153 | 15325 | H | Pittsburgh
153 | 15327 | H | Pittsburgh
153 | 15329 | H | Pittsburgh
153 | 15330 | H | Pittsburgh
153 | 15331 | H | Pittsburgh
153 | 15332 | H | Pittsburgh
153 | 15333 | H | Pittsburgh
153 | 15334 | H | Pittsburgh
153 | 15336 | H | Pittsburgh
153 | 15337 | H | Pittsburgh
153 | 15338 | H | Pittsburgh
153 | 15339 | H | Pittsburgh
153 | 15340 | H | Pittsburgh
153 | 15341 | H | Pittsburgh
153 | 15342 | H | Pittsburgh
153 | 15344 | H | Pittsburgh
153 | 15345 | H | Pittsburgh
153 | 15346 | H | Pittsburgh
153 | 15347 | H | Pittsburgh
153 | 15348 | H | Pittsburgh
153 | 15349 | H | Pittsburgh
153 | 15350 | H | Pittsburgh
153 | 15351 | H | Pittsburgh
153 | 15352 | H | Pittsburgh
153 | 15353 | H | Pittsburgh
153 | 15354 | H | Pittsburgh
153 | 15357 | H | Pittsburgh
153 | 15358 | H | Pittsburgh
153 | 15359 | H | Pittsburgh
153 | 15360 | H | Pittsburgh
153 | 15361 | H | Pittsburgh
153 | 15362 | H | Pittsburgh
153 | 15363 | H | Pittsburgh
153 | 15364 | H | Pittsburgh
153 | 15365 | H | Pittsburgh
153 | 15366 | H | Pittsburgh
153 | 15367 | H | Pittsburgh
153 | 15368 | H | Pittsburgh
153 | 15370 | H | Pittsburgh
153 | 15376 | H | Pittsburgh
153 | 15377 | H | Pittsburgh
153 | 15378 | H | Pittsburgh
153 | 15379 | H | Pittsburgh
153 | 15380 | H | Pittsburgh
154 | 15401 | H | Pittsburgh
154 | 15410 | H | Pittsburgh
154 | 15411 | H | Pittsburgh
154 | 15412 | H | Pittsburgh
154 | 15413 | H | Pittsburgh
154 | 15415 | H | Pittsburgh
154 | 15416 | H | Pittsburgh
154 | 15417 | H | Pittsburgh
154 | 15419 | H | Pittsburgh
154 | 15420 | H | Pittsburgh
154 | 15421 | H | Pittsburgh
154 | 15422 | H | Pittsburgh
154 | 15423 | H | Pittsburgh
154 | 15424 | H | Pittsburgh
154 | 15425 | H | Pittsburgh
154 | 15427 | H | Pittsburgh
154 | 15428 | H | Pittsburgh
154 | 15429 | H | Pittsburgh
154 | 15430 | H | Pittsburgh
154 | 15431 | H | Pittsburgh
154 | 15432 | H | Pittsburgh
154 | 15433 | H | Pittsburgh
154 | 15434 | H | Pittsburgh
154 | 15435 | H | Pittsburgh
154 | 15436 | H | Pittsburgh
154 | 15437 | H | Pittsburgh
154 | 15438 | H | Pittsburgh
154 | 15439 | H | Pittsburgh
154 | 15440 | H | Pittsburgh
154 | 15442 | H | Pittsburgh
154 | 15443 | H | Pittsburgh
154 | 15444 | H | Pittsburgh
154 | 15445 | H | Pittsburgh
154 | 15446 | H | Pittsburgh
154 | 15447 | H | Pittsburgh
154 | 15448 | H | Pittsburgh
154 | 15449 | H | Pittsburgh
154 | 15450 | H | Pittsburgh
154 | 15451 | H | Pittsburgh
154 | 15454 | H | Pittsburgh
154 | 15455 | H | Pittsburgh
154 | 15456 | H | Pittsburgh
154 | 15458 | H | Pittsburgh
154 | 15459 | H | Pittsburgh
154 | 15460 | H | Pittsburgh
154 | 15461 | H | Pittsburgh
154 | 15462 | H | Pittsburgh
154 | 15463 | H | Pittsburgh
154 | 15464 | H | Pittsburgh
154 | 15465 | H | Pittsburgh
154 | 15466 | H | Pittsburgh
154 | 15467 | H | Pittsburgh
154 | 15468 | H | Pittsburgh
154 | 15469 | H | Pittsburgh
154 | 15470 | H | Pittsburgh
154 | 15472 | H | Pittsburgh
154 | 15473 | H | Pittsburgh
154 | 15474 | H | Pittsburgh
154 | 15475 | H | Pittsburgh
154 | 15476 | H | Pittsburgh
154 | 15477 | H | Pittsburgh
154 | 15478 | H | Pittsburgh
154 | 15479 | H | Pittsburgh
154 | 15480 | H | Pittsburgh
154 | 15482 | H | Pittsburgh
154 | 15483 | H | Pittsburgh
154 | 15484 | H | Pittsburgh
154 | 15485 | H | Pittsburgh
154 | 15486 | H | Pittsburgh
154 | 15488 | H | Pittsburgh
154 | 15489 | H | Pittsburgh
154 | 15490 | H | Pittsburgh
154 | 15492 | H | Pittsburgh
155 | 15501 | H | Pittsburgh
155 | 15502 | H | Pittsburgh
155 | 15510 | H | Pittsburgh
155 | 15520 | H | Pittsburgh
155 | 15521 | H | Pittsburgh
155 | 15522 | H | Pittsburgh
155 | 15530 | H | Pittsburgh
155 | 15531 | H | Pittsburgh
155 | 15532 | H | Pittsburgh
155 | 15533 | H | Pittsburgh
155 | 15534 | H | Pittsburgh
155 | 15535 | H | Pittsburgh
155 | 15536 | E | Harrisburg
155 | 15537 | H | Pittsburgh
155 | 15538 | H | Pittsburgh
155 | 15539 | H | Pittsburgh
155 | 15540 | H | Pittsburgh
155 | 15541 | H | Pittsburgh
155 | 15542 | H | Pittsburgh
155 | 15544 | H | Pittsburgh
155 | 15545 | H | Pittsburgh
155 | 15546 | H | Pittsburgh
155 | 15547 | H | Pittsburgh
155 | 15548 | H | Pittsburgh
155 | 15549 | H | Pittsburgh
155 | 15550 | H | Pittsburgh
155 | 15551 | H | Pittsburgh
155 | 15552 | H | Pittsburgh
155 | 15553 | H | Pittsburgh
155 | 15554 | H | Pittsburgh
155 | 15555 | H | Pittsburgh
155 | 15557 | H | Pittsburgh
155 | 15558 | H | Pittsburgh
155 | 15559 | H | Pittsburgh
155 | 15560 | H | Pittsburgh
155 | 15561 | H | Pittsburgh
155 | 15562 | H | Pittsburgh
155 | 15563 | H | Pittsburgh
155 | 15564 | H | Pittsburgh
155 | 15565 | H | Pittsburgh
156 | 15601 | H | Pittsburgh
156 | 15605 | H | Pittsburgh
156 | 15606 | H | Pittsburgh
156 | 15610 | H | Pittsburgh
156 | 15611 | H | Pittsburgh
156 | 15612 | H | Pittsburgh
156 | 15613 | H | Pittsburgh
156 | 15615 | H | Pittsburgh
156 | 15616 | H | Pittsburgh
156 | 15617 | H | Pittsburgh
156 | 15618 | H | Pittsburgh
156 | 15619 | H | Pittsburgh
156 | 15620 | H | Pittsburgh
156 | 15621 | H | Pittsburgh
156 | 15622 | H | Pittsburgh
156 | 15623 | H | Pittsburgh
156 | 15624 | H | Pittsburgh
156 | 15625 | H | Pittsburgh
156 | 15626 | H | Pittsburgh
156 | 15627 | H | Pittsburgh
156 | 15628 | H | Pittsburgh
156 | 15629 | H | Pittsburgh
156 | 15630 | H | Pittsburgh
156 | 15631 | H | Pittsburgh
156 | 15632 | H | Pittsburgh
156 | 15633 | H | Pittsburgh
156 | 15634 | H | Pittsburgh
156 | 15635 | H | Pittsburgh
156 | 15636 | H | Pittsburgh
156 | 15637 | H | Pittsburgh
156 | 15638 | H | Pittsburgh
156 | 15639 | H | Pittsburgh
156 | 15640 | H | Pittsburgh
156 | 15641 | H | Pittsburgh
156 | 15642 | H | Pittsburgh
156 | 15644 | H | Pittsburgh
156 | 15646 | H | Pittsburgh
156 | 15647 | H | Pittsburgh
156 | 15650 | H | Pittsburgh
156 | 15655 | H | Pittsburgh
156 | 15656 | H | Pittsburgh
156 | 15658 | H | Pittsburgh
156 | 15660 | H | Pittsburgh
156 | 15661 | H | Pittsburgh
156 | 15662 | H | Pittsburgh
156 | 15663 | H | Pittsburgh
156 | 15664 | H | Pittsburgh
156 | 15665 | H | Pittsburgh
156 | 15666 | H | Pittsburgh
156 | 15668 | H | Pittsburgh
156 | 15670 | H | Pittsburgh
156 | 15671 | H | Pittsburgh
156 | 15672 | H | Pittsburgh
156 | 15673 | H | Pittsburgh
156 | 15674 | H | Pittsburgh
156 | 15675 | H | Pittsburgh
156 | 15676 | H | Pittsburgh
156 | 15677 | H | Pittsburgh
156 | 15678 | H | Pittsburgh
156 | 15679 | H | Pittsburgh
156 | 15680 | H | Pittsburgh
156 | 15681 | H | Pittsburgh
156 | 15682 | H | Pittsburgh
156 | 15683 | H | Pittsburgh
156 | 15684 | H | Pittsburgh
156 | 15685 | H | Pittsburgh
156 | 15686 | H | Pittsburgh
156 | 15687 | H | Pittsburgh
156 | 15688 | H | Pittsburgh
156 | 15689 | H | Pittsburgh
156 | 15690 | H | Pittsburgh
156 | 15691 | H | Pittsburgh
156 | 15692 | H | Pittsburgh
156 | 15693 | H | Pittsburgh
156 | 15695 | H | Pittsburgh
156 | 15696 | H | Pittsburgh
156 | 15697 | H | Pittsburgh
156 | 15698 | H | Pittsburgh
157 | 15701 | H | Pittsburgh
157 | 15705 | H | Pittsburgh
157 | 15710 | H | Pittsburgh
157 | 15711 | I | Erie
157 | 15712 | H | Pittsburgh
157 | 15713 | H | Pittsburgh
157 | 15714 | H | Pittsburgh
157 | 15715 | I | Erie
157 | 15716 | H | Pittsburgh
157 | 15717 | H | Pittsburgh
157 | 15720 | H | Pittsburgh
157 | 15721 | G | Bradford
157 | 15722 | H | Pittsburgh
157 | 15723 | H | Pittsburgh
157 | 15724 | H | Pittsburgh
157 | 15725 | H | Pittsburgh
157 | 15727 | H | Pittsburgh
157 | 15728 | H | Pittsburgh
157 | 15729 | H | Pittsburgh
157 | 15730 | I | Erie
157 | 15731 | H | Pittsburgh
157 | 15732 | H | Pittsburgh
157 | 15733 | I | Erie
157 | 15734 | H | Pittsburgh
157 | 15736 | H | Pittsburgh
157 | 15737 | H | Pittsburgh
157 | 15738 | H | Pittsburgh
157 | 15739 | H | Pittsburgh
157 | 15740 | I | Erie
157 | 15741 | H | Pittsburgh
157 | 15742 | H | Pittsburgh
157 | 15744 | I | Erie
157 | 15745 | H | Pittsburgh
157 | 15746 | H | Pittsburgh
157 | 15747 | H | Pittsburgh
157 | 15748 | H | Pittsburgh
157 | 15750 | H | Pittsburgh
157 | 15751 | H | Pittsburgh
157 | 15752 | H | Pittsburgh
157 | 15753 | G | Bradford
157 | 15754 | H | Pittsburgh
157 | 15756 | H | Pittsburgh
157 | 15757 | G | Bradford
157 | 15758 | H | Pittsburgh
157 | 15759 | H | Pittsburgh
157 | 15760 | H | Pittsburgh
157 | 15761 | H | Pittsburgh
157 | 15762 | H | Pittsburgh
157 | 15763 | H | Pittsburgh
157 | 15764 | I | Erie
157 | 15765 | H | Pittsburgh
157 | 15767 | I | Erie
157 | 15770 | I | Erie
157 | 15771 | H | Pittsburgh
157 | 15772 | H | Pittsburgh
157 | 15773 | H | Pittsburgh
157 | 15774 | H | Pittsburgh
157 | 15775 | H | Pittsburgh
157 | 15776 | I | Erie
157 | 15777 | H | Pittsburgh
157 | 15778 | I | Erie
157 | 15779 | H | Pittsburgh
157 | 15780 | I | Erie
157 | 15781 | I | Erie
157 | 15783 | H | Pittsburgh
157 | 15784 | I | Erie
158 | 15801 | G | Bradford
158 | 15821 | G | Bradford
158 | 15822 | G | Bradford
158 | 15823 | G | Bradford
158 | 15824 | I | Erie
158 | 15825 | I | Erie
158 | 15827 | G | Bradford
158 | 15828 | I | Erie
158 | 15829 | I | Erie
158 | 15831 | G | Bradford
158 | 15832 | G | Bradford
158 | 15834 | G | Bradford
158 | 15840 | I | Erie
158 | 15841 | G | Bradford
158 | 15845 | G | Bradford
158 | 15846 | G | Bradford
158 | 15847 | I | Erie
158 | 15848 | G | Bradford
158 | 15849 | G | Bradford
158 | 15851 | I | Erie
158 | 15853 | G | Bradford
158 | 15856 | G | Bradford
158 | 15857 | G | Bradford
158 | 15860 | I | Erie
158 | 15861 | G | Bradford
158 | 15863 | I | Erie
158 | 15864 | I | Erie
158 | 15865 | I | Erie
158 | 15866 | G | Bradford
158 | 15868 | G | Bradford
158 | 15870 | G | Bradford
159 | 15901 | H | Pittsburgh
159 | 15902 | H | Pittsburgh
159 | 15904 | H | Pittsburgh
159 | 15905 | H | Pittsburgh
159 | 15906 | H | Pittsburgh
159 | 15907 | H | Pittsburgh
159 | 15909 | H | Pittsburgh
159 | 15915 | H | Pittsburgh
159 | 15920 | H | Pittsburgh
159 | 15921 | H | Pittsburgh
159 | 15922 | H | Pittsburgh
159 | 15923 | H | Pittsburgh
159 | 15924 | H | Pittsburgh
159 | 15925 | H | Pittsburgh
159 | 15926 | H | Pittsburgh
159 | 15927 | H | Pittsburgh
159 | 15928 | H | Pittsburgh
159 | 15929 | H | Pittsburgh
159 | 15930 | H | Pittsburgh
159 | 15931 | H | Pittsburgh
159 | 15934 | H | Pittsburgh
159 | 15935 | H | Pittsburgh
159 | 15936 | H | Pittsburgh
159 | 15937 | H | Pittsburgh
159 | 15938 | H | Pittsburgh
159 | 15940 | H | Pittsburgh
159 | 15942 | H | Pittsburgh
159 | 15943 | H | Pittsburgh
159 | 15944 | H | Pittsburgh
159 | 15945 | H | Pittsburgh
159 | 15946 | H | Pittsburgh
159 | 15948 | H | Pittsburgh
159 | 15949 | H | Pittsburgh
159 | 15951 | H | Pittsburgh
159 | 15952 | H | Pittsburgh
159 | 15953 | H | Pittsburgh
159 | 15954 | H | Pittsburgh
159 | 15955 | H | Pittsburgh
159 | 15956 | H | Pittsburgh
159 | 15957 | H | Pittsburgh
159 | 15958 | H | Pittsburgh
159 | 15959 | H | Pittsburgh
159 | 15960 | H | Pittsburgh
159 | 15961 | H | Pittsburgh
159 | 15962 | H | Pittsburgh
159 | 15963 | H | Pittsburgh
160 | 16001 | H | Pittsburgh
160 | 16002 | H | Pittsburgh
160 | 16003 | H | Pittsburgh
160 | 16016 | H | Pittsburgh
160 | 16017 | H | Pittsburgh
160 | 16018 | H | Pittsburgh
160 | 16020 | H | Pittsburgh
160 | 16021 | H | Pittsburgh
160 | 16022 | H | Pittsburgh
160 | 16023 | H | Pittsburgh
160 | 16024 | H | Pittsburgh
160 | 16025 | H | Pittsburgh
160 | 16027 | H | Pittsburgh
160 | 16028 | H | Pittsburgh
160 | 16029 | H | Pittsburgh
160 | 16030 | H | Pittsburgh
160 | 16033 | H | Pittsburgh
160 | 16034 | H | Pittsburgh
160 | 16035 | H | Pittsburgh
160 | 16036 | I | Erie
160 | 16037 | H | Pittsburgh
160 | 16038 | H | Pittsburgh
160 | 16039 | H | Pittsburgh
160 | 16040 | H | Pittsburgh
160 | 16041 | H | Pittsburgh
160 | 16045 | H | Pittsburgh
160 | 16046 | H | Pittsburgh
160 | 16048 | H | Pittsburgh
160 | 16049 | H | Pittsburgh
160 | 16050 | H | Pittsburgh
160 | 16051 | H | Pittsburgh
160 | 16052 | H | Pittsburgh
160 | 16053 | H | Pittsburgh
160 | 16054 | I | Erie
160 | 16055 | H | Pittsburgh
160 | 16056 | H | Pittsburgh
160 | 16057 | H | Pittsburgh
160 | 16058 | H | Pittsburgh
160 | 16059 | H | Pittsburgh
160 | 16061 | H | Pittsburgh
160 | 16063 | H | Pittsburgh
160 | 16066 | H | Pittsburgh
161 | 16101 | H | Pittsburgh
161 | 16102 | H | Pittsburgh
161 | 16103 | H | Pittsburgh
161 | 16105 | H | Pittsburgh
161 | 16107 | H | Pittsburgh
161 | 16108 | H | Pittsburgh
161 | 16110 | I | Erie
161 | 16111 | I | Erie
161 | 16112 | H | Pittsburgh
161 | 16113 | I | Erie
161 | 16114 | I | Erie
161 | 16115 | H | Pittsburgh
161 | 16116 | H | Pittsburgh
161 | 16117 | H | Pittsburgh
161 | 16120 | H | Pittsburgh
161 | 16121 | I | Erie
161 | 16123 | H | Pittsburgh
161 | 16124 | I | Erie
161 | 16125 | I | Erie
161 | 16127 | I | Erie
161 | 16130 | I | Erie
161 | 16131 | I | Erie
161 | 16132 | H | Pittsburgh
161 | 16133 | I | Erie
161 | 16134 | I | Erie
161 | 16136 | H | Pittsburgh
161 | 16137 | I | Erie
161 | 16140 | H | Pittsburgh
161 | 16141 | H | Pittsburgh
161 | 16142 | H | Pittsburgh
161 | 16143 | H | Pittsburgh
161 | 16145 | I | Erie
161 | 16146 | I | Erie
161 | 16148 | I | Erie
161 | 16150 | I | Erie
161 | 16151 | I | Erie
161 | 16153 | I | Erie
161 | 16154 | I | Erie
161 | 16155 | H | Pittsburgh
161 | 16156 | H | Pittsburgh
161 | 16157 | H | Pittsburgh
161 | 16159 | I | Erie
161 | 16160 | H | Pittsburgh
161 | 16161 | I | Erie
161 | 16172 | H | Pittsburgh
162 | 16201 | H | Pittsburgh
162 | 16210 | H | Pittsburgh
162 | 16211 | H | Pittsburgh
162 | 16212 | H | Pittsburgh
162 | 16213 | I | Erie
162 | 16214 | I | Erie
162 | 16215 | H | Pittsburgh
162 | 16216 | H | Pittsburgh
162 | 16217 | I | Erie
162 | 16218 | H | Pittsburgh
162 | 16220 | I | Erie
162 | 16221 | I | Erie
162 | 16222 | H | Pittsburgh
162 | 16223 | H | Pittsburgh
162 | 16224 | I | Erie
162 | 16225 | I | Erie
162 | 16226 | H | Pittsburgh
162 | 16228 | H | Pittsburgh
162 | 16229 | H | Pittsburgh
162 | 16230 | I | Erie
162 | 16232 | I | Erie
162 | 16233 | I | Erie
162 | 16234 | I | Erie
162 | 16235 | I | Erie
162 | 16236 | H | Pittsburgh
162 | 16238 | H | Pittsburgh
162 | 16239 | I | Erie
162 | 16240 | I | Erie
162 | 16242 | I | Erie
162 | 16244 | H | Pittsburgh
162 | 16245 | H | Pittsburgh
162 | 16246 | H | Pittsburgh
162 | 16248 | I | Erie
162 | 16249 | H | Pittsburgh
162 | 16250 | H | Pittsburgh
162 | 16253 | H | Pittsburgh
162 | 16254 | I | Erie
162 | 16255 | I | Erie
162 | 16256 | H | Pittsburgh
162 | 16257 | I | Erie
162 | 16258 | I | Erie
162 | 16259 | H | Pittsburgh
162 | 16260 | I | Erie
162 | 16261 | H | Pittsburgh
162 | 16262 | H | Pittsburgh
162 | 16263 | H | Pittsburgh
163 | 16301 | I | Erie
163 | 16311 | I | Erie
163 | 16312 | I | Erie
163 | 16313 | I | Erie
163 | 16314 | I | Erie
163 | 16316 | I | Erie
163 | 16317 | I | Erie
163 | 16319 | I | Erie
163 | 16321 | I | Erie
163 | 16322 | I | Erie
163 | 16323 | I | Erie
163 | 16326 | I | Erie
163 | 16327 | I | Erie
163 | 16328 | I | Erie
163 | 16329 | I | Erie
163 | 16331 | I | Erie
163 | 16332 | I | Erie
163 | 16333 | G | Bradford
163 | 16334 | I | Erie
163 | 16335 | I | Erie
163 | 16340 | I | Erie
163 | 16341 | I | Erie
163 | 16342 | I | Erie
163 | 16343 | I | Erie
163 | 16344 | I | Erie
163 | 16345 | I | Erie
163 | 16346 | I | Erie
163 | 16347 | I | Erie
163 | 16350 | I | Erie
163 | 16351 | I | Erie
163 | 16352 | I | Erie
163 | 16353 | I | Erie
163 | 16354 | I | Erie
163 | 16360 | I | Erie
163 | 16361 | I | Erie
163 | 16362 | I | Erie
163 | 16364 | I | Erie
163 | 16365 | I | Erie
163 | 16366 | I | Erie
163 | 16367 | I | Erie
163 | 16368 | I | Erie
163 | 16369 | I | Erie
163 | 16370 | I | Erie
163 | 16371 | I | Erie
163 | 16372 | I | Erie
163 | 16373 | I | Erie
163 | 16374 | I | Erie
163 | 16375 | I | Erie
163 | 16388 | I | Erie
164 | 16401 | I | Erie
164 | 16402 | I | Erie
164 | 16403 | I | Erie
164 | 16404 | I | Erie
164 | 16405 | I | Erie
164 | 16406 | I | Erie
164 | 16407 | I | Erie
164 | 16410 | I | Erie
164 | 16411 | I | Erie
164 | 16412 | I | Erie
164 | 16413 | I | Erie
164 | 16415 | I | Erie
164 | 16416 | I | Erie
164 | 16417 | I | Erie
164 | 16420 | I | Erie
164 | 16421 | I | Erie
164 | 16422 | I | Erie
164 | 16423 | I | Erie
164 | 16424 | I | Erie
164 | 16426 | I | Erie
164 | 16427 | I | Erie
164 | 16428 | I | Erie
164 | 16430 | I | Erie
164 | 16432 | I | Erie
164 | 16433 | I | Erie
164 | 16434 | I | Erie
164 | 16435 | I | Erie
164 | 16436 | I | Erie
164 | 16438 | I | Erie
164 | 16440 | I | Erie
164 | 16441 | I | Erie
164 | 16442 | I | Erie
164 | 16443 | I | Erie
164 | 16444 | I | Erie
164 | 16475 | I | Erie
165 | 16501 | I | Erie
165 | 16502 | I | Erie
165 | 16503 | I | Erie
165 | 16504 | I | Erie
165 | 16505 | I | Erie
165 | 16506 | I | Erie
165 | 16507 | I | Erie
165 | 16508 | I | Erie
165 | 16509 | I | Erie
165 | 16510 | I | Erie
165 | 16511 | I | Erie
165 | 16512 | I | Erie
165 | 16514 | I | Erie
165 | 16515 | I | Erie
165 | 16522 | I | Erie
165 | 16530 | I | Erie
165 | 16531 | I | Erie
165 | 16532 | I | Erie
165 | 16533 | I | Erie
165 | 16534 | I | Erie
165 | 16538 | I | Erie
165 | 16541 | I | Erie
165 | 16544 | I | Erie
165 | 16546 | I | Erie
165 | 16550 | I | Erie
165 | 16553 | I | Erie
165 | 16554 | I | Erie
165 | 16558 | I | Erie
165 | 16563 | I | Erie
165 | 16565 | I | Erie
166 | 16601 | H | Pittsburgh
166 | 16602 | H | Pittsburgh
166 | 16603 | H | Pittsburgh
166 | 16611 | F | Williamsport
166 | 16613 | H | Pittsburgh
166 | 16614 | H | Pittsburgh
166 | 16616 | G | Bradford
166 | 16617 | H | Pittsburgh
166 | 16619 | H | Pittsburgh
166 | 16620 | G | Bradford
166 | 16621 | F | Williamsport
166 | 16622 | F | Williamsport
166 | 16623 | F | Williamsport
166 | 16624 | H | Pittsburgh
166 | 16625 | H | Pittsburgh
166 | 16627 | G | Bradford
166 | 16629 | H | Pittsburgh
166 | 16630 | H | Pittsburgh
166 | 16631 | H | Pittsburgh
166 | 16633 | H | Pittsburgh
166 | 16634 | F | Williamsport
166 | 16635 | H | Pittsburgh
166 | 16636 | H | Pittsburgh
166 | 16637 | H | Pittsburgh
166 | 16638 | F | Williamsport
166 | 16639 | H | Pittsburgh
166 | 16640 | H | Pittsburgh
166 | 16641 | H | Pittsburgh
166 | 16644 | H | Pittsburgh
166 | 16645 | G | Bradford
166 | 16646 | H | Pittsburgh
166 | 16647 | F | Williamsport
166 | 16648 | H | Pittsburgh
166 | 16650 | H | Pittsburgh
166 | 16651 | G | Bradford
166 | 16652 | F | Williamsport
166 | 16654 | F | Williamsport
166 | 16655 | H | Pittsburgh
166 | 16656 | G | Bradford
166 | 16657 | F | Williamsport
166 | 16659 | H | Pittsburgh
166 | 16660 | H | Pittsburgh
166 | 16661 | G | Bradford
166 | 16662 | H | Pittsburgh
166 | 16663 | G | Bradford
166 | 16664 | H | Pittsburgh
166 | 16665 | H | Pittsburgh
166 | 16666 | G | Bradford
166 | 16667 | H | Pittsburgh
166 | 16668 | H | Pittsburgh
166 | 16669 | F | Williamsport
166 | 16670 | H | Pittsburgh
166 | 16671 | G | Bradford
166 | 16672 | H | Pittsburgh
166 | 16673 | H | Pittsburgh
166 | 16674 | F | Williamsport
166 | 16675 | H | Pittsburgh
166 | 16677 | F | Williamsport
166 | 16678 | H | Pittsburgh
166 | 16679 | H | Pittsburgh
166 | 16680 | G | Bradford
166 | 16681 | G | Bradford
166 | 16682 | H | Pittsburgh
166 | 16683 | F | Williamsport
166 | 16684 | H | Pittsburgh
166 | 16685 | F | Williamsport
166 | 16686 | H | Pittsburgh
166 | 16689 | E | Harrisburg
166 | 16691 | E | Harrisburg
166 | 16692 | G | Bradford
166 | 16693 | H | Pittsburgh
166 | 16694 | F | Williamsport
166 | 16695 | H | Pittsburgh
166 | 16698 | G | Bradford
166 | 16699 | H | Pittsburgh
167 | 16701 | G | Bradford
167 | 16720 | G | Bradford
167 | 16724 | G | Bradford
167 | 16725 | G | Bradford
167 | 16726 | G | Bradford
167 | 16727 | G | Bradford
167 | 16728 | G | Bradford
167 | 16729 | G | Bradford
167 | 16730 | G | Bradford
167 | 16731 | G | Bradford
167 | 16732 | G | Bradford
167 | 16733 | G | Bradford
167 | 16734 | G | Bradford
167 | 16735 | G | Bradford
167 | 16738 | G | Bradford
167 | 16740 | G | Bradford
167 | 16743 | G | Bradford
167 | 16744 | G | Bradford
167 | 16745 | G | Bradford
167 | 16746 | G | Bradford
167 | 16748 | G | Bradford
167 | 16749 | G | Bradford
167 | 16750 | G | Bradford
167 | 16751 | G | Bradford
168 | 16801 | F | Williamsport
168 | 16802 | F | Williamsport
168 | 16803 | F | Williamsport
168 | 16804 | F | Williamsport
168 | 16805 | F | Williamsport
168 | 16820 | F | Williamsport
168 | 16821 | G | Bradford
168 | 16822 | F | Williamsport
168 | 16823 | F | Williamsport
168 | 16825 | G | Bradford
168 | 16826 | F | Williamsport
168 | 16827 | F | Williamsport
168 | 16828 | F | Williamsport
168 | 16829 | F | Williamsport
168 | 16830 | G | Bradford
168 | 16832 | F | Williamsport
168 | 16833 | G | Bradford
168 | 16834 | G | Bradford
168 | 16835 | F | Williamsport
168 | 16836 | G | Bradford
168 | 16837 | G | Bradford
168 | 16838 | G | Bradford
168 | 16839 | G | Bradford
168 | 16840 | G | Bradford
168 | 16841 | F | Williamsport
168 | 16843 | G | Bradford
168 | 16844 | F | Williamsport
168 | 16845 | G | Bradford
168 | 16847 | G | Bradford
168 | 16848 | F | Williamsport
168 | 16849 | G | Bradford
168 | 16850 | G | Bradford
168 | 16851 | F | Williamsport
168 | 16852 | F | Williamsport
168 | 16853 | F | Williamsport
168 | 16854 | F | Williamsport
168 | 16855 | G | Bradford
168 | 16856 | F | Williamsport
168 | 16858 | G | Bradford
168 | 16859 | F | Williamsport
168 | 16860 | F | Williamsport
168 | 16861 | G | Bradford
168 | 16863 | G | Bradford
168 | 16864 | F | Williamsport
168 | 16865 | F | Williamsport
168 | 16866 | F | Williamsport
168 | 16868 | F | Williamsport
168 | 16870 | F | Williamsport
168 | 16871 | F | Williamsport
168 | 16872 | F | Williamsport
168 | 16873 | G | Bradford
168 | 16874 | F | Williamsport
168 | 16875 | F | Williamsport
168 | 16876 | G | Bradford
168 | 16877 | F | Williamsport
168 | 16878 | G | Bradford
168 | 16879 | G | Bradford
168 | 16881 | G | Bradford
168 | 16882 | F | Williamsport
169 | 16901 | G | Bradford
169 | 16910 | B | Scranton
169 | 16911 | G | Bradford
169 | 16912 | G | Bradford
169 | 16914 | B | Scranton
169 | 16915 | G | Bradford
169 | 16917 | G | Bradford
169 | 16918 | G | Bradford
169 | 16920 | G | Bradford
169 | 16921 | G | Bradford
169 | 16922 | G | Bradford
169 | 16923 | G | Bradford
169 | 16925 | B | Scranton
169 | 16926 | B | Scranton
169 | 16927 | G | Bradford
169 | 16928 | G | Bradford
169 | 16929 | G | Bradford
169 | 16930 | G | Bradford
169 | 16932 | G | Bradford
169 | 16933 | G | Bradford
169 | 16935 | G | Bradford
169 | 16936 | G | Bradford
169 | 16937 | G | Bradford
169 | 16938 | G | Bradford
169 | 16939 | G | Bradford
169 | 16940 | G | Bradford
169 | 16941 | G | Bradford
169 | 16942 | G | Bradford
169 | 16943 | G | Bradford
169 | 16945 | B | Scranton
169 | 16946 | G | Bradford
169 | 16947 | B | Scranton
169 | 16948 | G | Bradford
169 | 16950 | G | Bradford
170 | 17001 | E | Harrisburg
170 | 17002 | F | Williamsport
170 | 17003 | D | Philadelphia
170 | 17004 | F | Williamsport
170 | 17005 | E | Harrisburg
170 | 17006 | E | Harrisburg
170 | 17007 | E | Harrisburg
170 | 17008 | E | Harrisburg
170 | 17009 | F | Williamsport
170 | 17010 | D | Philadelphia
170 | 17011 | E | Harrisburg
170 | 17012 | E | Harrisburg
170 | 17013 | E | Harrisburg
170 | 17014 | F | Williamsport
170 | 17015 | E | Harrisburg
170 | 17016 | D | Philadelphia
170 | 17017 | F | Williamsport
170 | 17018 | E | Harrisburg
170 | 17019 | E | Harrisburg
170 | 17020 | E | Harrisburg
170 | 17021 | F | Williamsport
170 | 17022 | D | Philadelphia
170 | 17023 | E | Harrisburg
170 | 17024 | E | Harrisburg
170 | 17025 | E | Harrisburg
170 | 17026 | D | Philadelphia
170 | 17027 | E | Harrisburg
170 | 17028 | E | Harrisburg
170 | 17029 | F | Williamsport
170 | 17030 | E | Harrisburg
170 | 17031 | F | Williamsport
170 | 17032 | E | Harrisburg
170 | 17033 | E | Harrisburg
170 | 17034 | E | Harrisburg
170 | 17035 | F | Williamsport
170 | 17036 | E | Harrisburg
170 | 17037 | E | Harrisburg
170 | 17038 | D | Philadelphia
170 | 17039 | D | Philadelphia
170 | 17040 | E | Harrisburg
170 | 17041 | D | Philadelphia
170 | 17042 | D | Philadelphia
170 | 17043 | E | Harrisburg
170 | 17044 | F | Williamsport
170 | 17045 | E | Harrisburg
170 | 17046 | D | Philadelphia
170 | 17047 | E | Harrisburg
170 | 17048 | E | Harrisburg
170 | 17049 | F | Williamsport
170 | 17050 | E | Harrisburg
170 | 17051 | F | Williamsport
170 | 17052 | F | Williamsport
170 | 17053 | E | Harrisburg
170 | 17054 | F | Williamsport
170 | 17055 | E | Harrisburg
170 | 17056 | F | Williamsport
170 | 17057 | E | Harrisburg
170 | 17058 | F | Williamsport
170 | 17059 | F | Williamsport
170 | 17060 | F | Williamsport
170 | 17061 | E | Harrisburg
170 | 17062 | E | Harrisburg
170 | 17063 | F | Williamsport
170 | 17064 | D | Philadelphia
170 | 17065 | E | Harrisburg
170 | 17066 | F | Williamsport
170 | 17067 | D | Philadelphia
170 | 17068 | E | Harrisburg
170 | 17069 | E | Harrisburg
170 | 17070 | E | Harrisburg
170 | 17071 | E | Harrisburg
170 | 17072 | E | Harrisburg
170 | 17073 | D | Philadelphia
170 | 17074 | E | Harrisburg
170 | 17075 | F | Williamsport
170 | 17076 | F | Williamsport
170 | 17077 | D | Philadelphia
170 | 17078 | D | Philadelphia
170 | 17080 | E | Harrisburg
170 | 17081 | E | Harrisburg
170 | 17082 | F | Williamsport
170 | 17083 | D | Philadelphia
170 | 17084 | F | Williamsport
170 | 17085 | D | Philadelphia
170 | 17086 | F | Williamsport
170 | 17087 | D | Philadelphia
170 | 17088 | D | Philadelphia
170 | 17089 | E | Harrisburg
170 | 17090 | E | Harrisburg
170 | 17091 | D | Philadelphia
170 | 17093 | E | Harrisburg
170 | 17094 | F | Williamsport
170 | 17097 | E | Harrisburg
170 | 17098 | E | Harrisburg
170 | 17099 | F | Williamsport
171 | 17101 | E | Harrisburg
171 | 17102 | E | Harrisburg
171 | 17103 | E | Harrisburg
171 | 17104 | E | Harrisburg
171 | 17105 | E | Harrisburg
171 | 17106 | E | Harrisburg
171 | 17107 | E | Harrisburg
171 | 17108 | E | Harrisburg
171 | 17109 | E | Harrisburg
171 | 17110 | E | Harrisburg
171 | 17111 | E | Harrisburg
171 | 17112 | E | Harrisburg
171 | 17113 | E | Harrisburg
171 | 17120 | E | Harrisburg
171 | 17121 | E | Harrisburg
171 | 17122 | E | Harrisburg
171 | 17123 | E | Harrisburg
171 | 17124 | E | Harrisburg
171 | 17125 | E | Harrisburg
171 | 17126 | E | Harrisburg
171 | 17127 | E | Harrisburg
171 | 17128 | E | Harrisburg
171 | 17129 | E | Harrisburg
171 | 17130 | E | Harrisburg
171 | 17140 | E | Harrisburg
171 | 17177 | E | Harrisburg
172 | 17201 | E | Harrisburg
172 | 17202 | E | Harrisburg
172 | 17210 | E | Harrisburg
172 | 17211 | H | Pittsburgh
172 | 17212 | E | Harrisburg
172 | 17213 | F | Williamsport
172 | 17214 | E | Harrisburg
172 | 17215 | E | Harrisburg
172 | 17217 | E | Harrisburg
172 | 17219 | E | Harrisburg
172 | 17220 | E | Harrisburg
172 | 17221 | E | Harrisburg
172 | 17222 | E | Harrisburg
172 | 17223 | E | Harrisburg
172 | 17224 | E | Harrisburg
172 | 17225 | E | Harrisburg
172 | 17228 | E | Harrisburg
172 | 17229 | E | Harrisburg
172 | 17231 | E | Harrisburg
172 | 17232 | E | Harrisburg
172 | 17233 | E | Harrisburg
172 | 17235 | E | Harrisburg
172 | 17236 | E | Harrisburg
172 | 17237 | E | Harrisburg
172 | 17238 | E | Harrisburg
172 | 17239 | F | Williamsport
172 | 17240 | E | Harrisburg
172 | 17241 | E | Harrisburg
172 | 17243 | F | Williamsport
172 | 17244 | E | Harrisburg
172 | 17246 | E | Harrisburg
172 | 17247 | E | Harrisburg
172 | 17249 | F | Williamsport
172 | 17250 | E | Harrisburg
172 | 17251 | E | Harrisburg
172 | 17252 | E | Harrisburg
172 | 17253 | F | Williamsport
172 | 17254 | E | Harrisburg
172 | 17255 | F | Williamsport
172 | 17256 | E | Harrisburg
172 | 17257 | E | Harrisburg
172 | 17260 | F | Williamsport
172 | 17261 | E | Harrisburg
172 | 17262 | E | Harrisburg
172 | 17263 | E | Harrisburg
172 | 17264 | F | Williamsport
172 | 17265 | E | Harrisburg
172 | 17266 | E | Harrisburg
172 | 17267 | E | Harrisburg
172 | 17268 | E | Harrisburg
172 | 17270 | E | Harrisburg
172 | 17271 | E | Harrisburg
172 | 17272 | E | Harrisburg
173 | 17301 | E | Harrisburg
173 | 17302 | E | Harrisburg
173 | 17303 | E | Harrisburg
173 | 17304 | E | Harrisburg
173 | 17306 | E | Harrisburg
173 | 17307 | E | Harrisburg
173 | 17309 | E | Harrisburg
173 | 17310 | E | Harrisburg
173 | 17311 | E | Harrisburg
173 | 17312 | E | Harrisburg
173 | 17313 | E | Harrisburg
173 | 17314 | E | Harrisburg
173 | 17315 | E | Harrisburg
173 | 17316 | E | Harrisburg
173 | 17317 | E | Harrisburg
173 | 17318 | E | Harrisburg
173 | 17319 | E | Harrisburg
173 | 17320 | E | Harrisburg
173 | 17321 | E | Harrisburg
173 | 17322 | E | Harrisburg
173 | 17323 | E | Harrisburg
173 | 17324 | E | Harrisburg
173 | 17325 | E | Harrisburg
173 | 17326 | E | Harrisburg
173 | 17327 | E | Harrisburg
173 | 17329 | E | Harrisburg
173 | 17331 | E | Harrisburg
173 | 17332 | E | Harrisburg
173 | 17333 | E | Harrisburg
173 | 17334 | E | Harrisburg
173 | 17337 | E | Harrisburg
173 | 17339 | E | Harrisburg
173 | 17340 | E | Harrisburg
173 | 17342 | E | Harrisburg
173 | 17343 | E | Harrisburg
173 | 17344 | E | Harrisburg
173 | 17345 | E | Harrisburg
173 | 17347 | E | Harrisburg
173 | 17349 | E | Harrisburg
173 | 17350 | E | Harrisburg
173 | 17352 | E | Harrisburg
173 | 17353 | E | Harrisburg
173 | 17354 | E | Harrisburg
173 | 17355 | E | Harrisburg
173 | 17356 | E | Harrisburg
173 | 17358 | E | Harrisburg
173 | 17360 | E | Harrisburg
173 | 17361 | E | Harrisburg
173 | 17362 | E | Harrisburg
173 | 17363 | E | Harrisburg
173 | 17364 | E | Harrisburg
173 | 17365 | E | Harrisburg
173 | 17366 | E | Harrisburg
173 | 17368 | E | Harrisburg
173 | 17370 | E | Harrisburg
173 | 17371 | E | Harrisburg
173 | 17372 | E | Harrisburg
173 | 17375 | E | Harrisburg
174 | 17401 | E | Harrisburg
174 | 17402 | E | Harrisburg
174 | 17403 | E | Harrisburg
174 | 17404 | E | Harrisburg
174 | 17405 | E | Harrisburg
174 | 17406 | E | Harrisburg
174 | 17407 | E | Harrisburg
174 | 17408 | E | Harrisburg
174 | 17415 | E | Harrisburg
175 | 17501 | D | Philadelphia
175 | 17502 | D | Philadelphia
175 | 17503 | D | Philadelphia
175 | 17504 | D | Philadelphia
175 | 17505 | D | Philadelphia
175 | 17506 | D | Philadelphia
175 | 17507 | D | Philadelphia
175 | 17508 | D | Philadelphia
175 | 17509 | D | Philadelphia
175 | 17512 | D | Philadelphia
175 | 17516 | D | Philadelphia
175 | 17517 | D | Philadelphia
175 | 17518 | D | Philadelphia
175 | 17519 | D | Philadelphia
175 | 17520 | D | Philadelphia
175 | 17521 | D | Philadelphia
175 | 17522 | D | Philadelphia
175 | 17527 | D | Philadelphia
175 | 17528 | D | Philadelphia
175 | 17529 | D | Philadelphia
175 | 17532 | D | Philadelphia
175 | 17533 | D | Philadelphia
175 | 17534 | D | Philadelphia
175 | 17535 | D | Philadelphia
175 | 17536 | D | Philadelphia
175 | 17537 | D | Philadelphia
175 | 17538 | D | Philadelphia
175 | 17540 | D | Philadelphia
175 | 17543 | D | Philadelphia
175 | 17545 | D | Philadelphia
175 | 17547 | D | Philadelphia
175 | 17549 | D | Philadelphia
175 | 17550 | D | Philadelphia
175 | 17551 | D | Philadelphia
175 | 17552 | D | Philadelphia
175 | 17554 | D | Philadelphia
175 | 17555 | D | Philadelphia
175 | 17557 | D | Philadelphia
175 | 17560 | D | Philadelphia
175 | 17562 | D | Philadelphia
175 | 17563 | D | Philadelphia
175 | 17564 | D | Philadelphia
175 | 17565 | D | Philadelphia
175 | 17566 | D | Philadelphia
175 | 17567 | D | Philadelphia
175 | 17568 | D | Philadelphia
175 | 17569 | D | Philadelphia
175 | 17570 | D | Philadelphia
175 | 17572 | D | Philadelphia
175 | 17573 | D | Philadelphia
175 | 17575 | D | Philadelphia
175 | 17576 | D | Philadelphia
175 | 17577 | D | Philadelphia
175 | 17578 | D | Philadelphia
175 | 17579 | D | Philadelphia
175 | 17580 | D | Philadelphia
175 | 17581 | D | Philadelphia
175 | 17582 | D | Philadelphia
175 | 17583 | D | Philadelphia
175 | 17584 | D | Philadelphia
175 | 17585 | D | Philadelphia
176 | 17601 | D | Philadelphia
176 | 17602 | D | Philadelphia
176 | 17603 | D | Philadelphia
176 | 17604 | D | Philadelphia
176 | 17605 | D | Philadelphia
176 | 17606 | D | Philadelphia
176 | 17607 | D | Philadelphia
176 | 17608 | D | Philadelphia
176 | 17611 | D | Philadelphia
176 | 17622 | D | Philadelphia
176 | 17699 | D | Philadelphia
177 | 17701 | F | Williamsport
177 | 17702 | F | Williamsport
177 | 17703 | F | Williamsport
177 | 17705 | F | Williamsport
177 | 17720 | F | Williamsport
177 | 17721 | F | Williamsport
177 | 17722 | F | Williamsport
177 | 17723 | F | Williamsport
177 | 17724 | B | Scranton
177 | 17726 | F | Williamsport
177 | 17727 | F | Williamsport
177 | 17728 | F | Williamsport
177 | 17729 | F | Williamsport
177 | 17730 | F | Williamsport
177 | 17731 | B | Scranton
177 | 17735 | B | Scranton
177 | 17737 | F | Williamsport
177 | 17738 | F | Williamsport
177 | 17739 | F | Williamsport
177 | 17740 | F | Williamsport
177 | 17742 | F | Williamsport
177 | 17743 | B | Scranton
177 | 17744 | F | Williamsport
177 | 17745 | F | Williamsport
177 | 17747 | F | Williamsport
177 | 17748 | F | Williamsport
177 | 17749 | F | Williamsport
177 | 17750 | F | Williamsport
177 | 17751 | F | Williamsport
177 | 17752 | F | Williamsport
177 | 17754 | F | Williamsport
177 | 17756 | F | Williamsport
177 | 17758 | B | Scranton
177 | 17759 | F | Williamsport
177 | 17760 | F | Williamsport
177 | 17762 | F | Williamsport
177 | 17763 | F | Williamsport
177 | 17764 | F | Williamsport
177 | 17765 | G | Bradford
177 | 17767 | F | Williamsport
177 | 17768 | B | Scranton
177 | 17769 | F | Williamsport
177 | 17771 | F | Williamsport
177 | 17772 | F | Williamsport
177 | 17773 | F | Williamsport
177 | 17774 | F | Williamsport
177 | 17776 | F | Williamsport
177 | 17777 | F | Williamsport
177 | 17778 | F | Williamsport
177 | 17779 | F | Williamsport
178 | 17801 | F | Williamsport
178 | 17810 | F | Williamsport
178 | 17812 | F | Williamsport
178 | 17813 | F | Williamsport
178 | 17814 | F | Williamsport
178 | 17815 | F | Williamsport
178 | 17820 | F | Williamsport
178 | 17821 | F | Williamsport
178 | 17822 | F | Williamsport
178 | 17823 | F | Williamsport
178 | 17824 | F | Williamsport
178 | 17825 | F | Williamsport
178 | 17827 | F | Williamsport
178 | 17828 | F | Williamsport
178 | 17829 | F | Williamsport
178 | 17830 | F | Williamsport
178 | 17831 | F | Williamsport
178 | 17832 | F | Williamsport
178 | 17833 | F | Williamsport
178 | 17834 | F | Williamsport
178 | 17835 | F | Williamsport
178 | 17836 | F | Williamsport
178 | 17837 | F | Williamsport
178 | 17839 | F | Williamsport
178 | 17840 | F | Williamsport
178 | 17841 | F | Williamsport
178 | 17842 | F | Williamsport
178 | 17843 | F | Williamsport
178 | 17844 | F | Williamsport
178 | 17845 | F | Williamsport
178 | 17846 | F | Williamsport
178 | 17847 | F | Williamsport
178 | 17850 | F | Williamsport
178 | 17851 | F | Williamsport
178 | 17853 | F | Williamsport
178 | 17855 | F | Williamsport
178 | 17856 | F | Williamsport
178 | 17857 | F | Williamsport
178 | 17858 | F | Williamsport
178 | 17859 | F | Williamsport
178 | 17860 | F | Williamsport
178 | 17861 | F | Williamsport
178 | 17862 | F | Williamsport
178 | 17864 | F | Williamsport
178 | 17865 | F | Williamsport
178 | 17866 | F | Williamsport
178 | 17867 | F | Williamsport
178 | 17868 | F | Williamsport
178 | 17870 | F | Williamsport
178 | 17872 | F | Williamsport
178 | 17876 | F | Williamsport
178 | 17877 | F | Williamsport
178 | 17878 | F | Williamsport
178 | 17880 | F | Williamsport
178 | 17881 | F | Williamsport
178 | 17882 | F | Williamsport
178 | 17883 | F | Williamsport
178 | 17884 | F | Williamsport
178 | 17885 | F | Williamsport
178 | 17886 | F | Williamsport
178 | 17887 | F | Williamsport
178 | 17888 | F | Williamsport
178 | 17889 | F | Williamsport
179 | 17901 | C | Allentown
179 | 17920 | F | Williamsport
179 | 17921 | C | Allentown
179 | 17922 | C | Allentown
179 | 17923 | C | Allentown
179 | 17925 | C | Allentown
179 | 17927 | F | Williamsport
179 | 17929 | C | Allentown
179 | 17930 | C | Allentown
179 | 17931 | C | Allentown
179 | 17932 | C | Allentown
179 | 17933 | C | Allentown
179 | 17934 | C | Allentown
179 | 17935 | C | Allentown
179 | 17936 | C | Allentown
179 | 17938 | C | Allentown
179 | 17941 | C | Allentown
179 | 17942 | C | Allentown
179 | 17943 | C | Allentown
179 | 17944 | C | Allentown
179 | 17945 | F | Williamsport
179 | 17946 | C | Allentown
179 | 17948 | C | Allentown
179 | 17949 | C | Allentown
179 | 17951 | C | Allentown
179 | 17952 | C | Allentown
179 | 17953 | C | Allentown
179 | 17954 | C | Allentown
179 | 17957 | C | Allentown
179 | 17959 | C | Allentown
179 | 17960 | C | Allentown
179 | 17961 | C | Allentown
179 | 17963 | C | Allentown
179 | 17964 | C | Allentown
179 | 17965 | C | Allentown
179 | 17966 | C | Allentown
179 | 17967 | C | Allentown
179 | 17968 | C | Allentown
179 | 17970 | C | Allentown
179 | 17972 | C | Allentown
179 | 17974 | C | Allentown
179 | 17976 | C | Allentown
179 | 17978 | E | Harrisburg
179 | 17979 | C | Allentown
179 | 17980 | C | Allentown
179 | 17981 | C | Allentown
179 | 17982 | C | Allentown
179 | 17983 | C | Allentown
179 | 17985 | C | Allentown
180 | 18001 | C | Allentown
180 | 18002 | C | Allentown
180 | 18003 | C | Allentown
180 | 18010 | C | Allentown
180 | 18011 | C | Allentown
180 | 18012 | C | Allentown
180 | 18013 | C | Allentown
180 | 18014 | C | Allentown
180 | 18015 | C | Allentown
180 | 18016 | C | Allentown
180 | 18017 | C | Allentown
180 | 18018 | C | Allentown
180 | 18020 | C | Allentown
180 | 18025 | C | Allentown
180 | 18030 | C | Allentown
180 | 18031 | C | Allentown
180 | 18032 | C | Allentown
180 | 18034 | C | Allentown
180 | 18035 | C | Allentown
180 | 18036 | C | Allentown
180 | 18037 | C | Allentown
180 | 18038 | C | Allentown
180 | 18039 | D | Philadelphia
180 | 18040 | C | Allentown
180 | 18041 | D | Philadelphia
180 | 18042 | C | Allentown
180 | 18043 | C | Allentown
180 | 18044 | C | Allentown
180 | 18045 | C | Allentown
180 | 18046 | C | Allentown
180 | 18049 | C | Allentown
180 | 18050 | C | Allentown
180 | 18051 | C | Allentown
180 | 18052 | C | Allentown
180 | 18053 | C | Allentown
180 | 18054 | D | Philadelphia
180 | 18055 | C | Allentown
180 | 18056 | D | Philadelphia
180 | 18058 | B | Scranton
180 | 18059 | C | Allentown
180 | 18060 | C | Allentown
180 | 18062 | C | Allentown
180 | 18063 | C | Allentown
180 | 18064 | C | Allentown
180 | 18065 | C | Allentown
180 | 18066 | C | Allentown
180 | 18067 | C | Allentown
180 | 18068 | C | Allentown
180 | 18069 | C | Allentown
180 | 18070 | D | Philadelphia
180 | 18071 | C | Allentown
180 | 18072 | C | Allentown
180 | 18073 | D | Philadelphia
180 | 18074 | D | Philadelphia
180 | 18076 | D | Philadelphia
180 | 18077 | D | Philadelphia
180 | 18078 | C | Allentown
180 | 18079 | C | Allentown
180 | 18080 | C | Allentown
180 | 18081 | D | Philadelphia
180 | 18083 | C | Allentown
180 | 18084 | D | Philadelphia
180 | 18085 | C | Allentown
180 | 18086 | C | Allentown
180 | 18087 | C | Allentown
180 | 18088 | C | Allentown
180 | 18091 | C | Allentown
180 | 18092 | C | Allentown
180 | 18098 | C | Allentown
180 | 18099 | C | Allentown
181 | 18101 | C | Allentown
181 | 18102 | C | Allentown
181 | 18103 | C | Allentown
181 | 18104 | C | Allentown
181 | 18105 | C | Allentown
181 | 18106 | C | Allentown
181 | 18109 | C | Allentown
181 | 18175 | C | Allentown
181 | 18195 | C | Allentown
182 | 18201 | B | Scranton
182 | 18202 | B | Scranton
182 | 18210 | C | Allentown
182 | 18211 | C | Allentown
182 | 18212 | C | Allentown
182 | 18214 | C | Allentown
182 | 18216 | C | Allentown
182 | 18218 | C | Allentown
182 | 18219 | B | Scranton
182 | 18220 | C | Allentown
182 | 18221 | B | Scranton
182 | 18222 | B | Scranton
182 | 18223 | B | Scranton
182 | 18224 | B | Scranton
182 | 18225 | B | Scranton
182 | 18229 | C | Allentown
182 | 18230 | C | Allentown
182 | 18231 | C | Allentown
182 | 18232 | C | Allentown
182 | 18234 | B | Scranton
182 | 18235 | C | Allentown
182 | 18237 | C | Allentown
182 | 18239 | B | Scranton
182 | 18240 | C | Allentown
182 | 18241 | C | Allentown
182 | 18242 | C | Allentown
182 | 18243 | B | Scranton
182 | 18244 | C | Allentown
182 | 18245 | C | Allentown
182 | 18246 | B | Scranton
182 | 18247 | B | Scranton
182 | 18248 | C | Allentown
182 | 18249 | B | Scranton
182 | 18250 | C | Allentown
182 | 18251 | B | Scranton
182 | 18252 | C | Allentown
182 | 18254 | C | Allentown
182 | 18255 | C | Allentown
182 | 18256 | B | Scranton
183 | 18301 | B | Scranton
183 | 18302 | B | Scranton
183 | 18320 | B | Scranton
183 | 18321 | B | Scranton
183 | 18322 | B | Scranton
183 | 18323 | B | Scranton
183 | 18324 | B | Scranton
183 | 18325 | B | Scranton
183 | 18326 | B | Scranton
183 | 18327 | B | Scranton
183 | 18328 | B | Scranton
183 | 18330 | B | Scranton
183 | 18331 | B | Scranton
183 | 18332 | B | Scranton
183 | 18333 | B | Scranton
183 | 18334 | B | Scranton
183 | 18335 | B | Scranton
183 | 18336 | B | Scranton
183 | 18337 | B | Scranton
183 | 18340 | B | Scranton
183 | 18341 | B | Scranton
183 | 18342 | B | Scranton
183 | 18343 | C | Allentown
183 | 18344 | B | Scranton
183 | 18346 | B | Scranton
183 | 18347 | B | Scranton
183 | 18348 | B | Scranton
183 | 18349 | B | Scranton
183 | 18350 | B | Scranton
183 | 18351 | C | Allentown
183 | 18352 | B | Scranton
183 | 18353 | B | Scranton
183 | 18354 | B | Scranton
183 | 18355 | B | Scranton
183 | 18356 | B | Scranton
183 | 18357 | B | Scranton
183 | 18360 | B | Scranton
183 | 18370 | B | Scranton
183 | 18371 | B | Scranton
183 | 18372 | B | Scranton
183 | 18373 | B | Scranton
184 | 18401 | A | Binghamton, NY
184 | 18403 | B | Scranton
184 | 18405 | A | Binghamton, NY
184 | 18407 | B | Scranton
184 | 18410 | B | Scranton
184 | 18411 | B | Scranton
184 | 18413 | A | Binghamton, NY
184 | 18414 | B | Scranton
184 | 18415 | A | Binghamton, NY
184 | 18416 | B | Scranton
184 | 18417 | A | Binghamton, NY
184 | 18419 | B | Scranton
184 | 18420 | B | Scranton
184 | 18421 | A | Binghamton, NY
184 | 18424 | B | Scranton
184 | 18425 | B | Scranton
184 | 18426 | B | Scranton
184 | 18427 | A | Binghamton, NY
184 | 18428 | B | Scranton
184 | 18430 | A | Binghamton, NY
184 | 18431 | A | Binghamton, NY
184 | 18433 | B | Scranton
184 | 18434 | B | Scranton
184 | 18435 | B | Scranton
184 | 18436 | A | Binghamton, NY
184 | 18437 | A | Binghamton, NY
184 | 18438 | A | Binghamton, NY
184 | 18439 | A | Binghamton, NY
184 | 18440 | B | Scranton
184 | 18441 | A | Binghamton, NY
184 | 18443 | A | Binghamton, NY
184 | 18444 | B | Scranton
184 | 18445 | A | Binghamton, NY
184 | 18446 | B | Scranton
184 | 18447 | B | Scranton
184 | 18448 | B | Scranton
184 | 18449 | A | Binghamton, NY
184 | 18451 | B | Scranton
184 | 18452 | B | Scranton
184 | 18453 | A | Binghamton, NY
184 | 18454 | A | Binghamton, NY
184 | 18455 | A | Binghamton, NY
184 | 18456 | A | Binghamton, NY
184 | 18457 | B | Scranton
184 | 18458 | B | Scranton
184 | 18459 | A | Binghamton, NY
184 | 18460 | A | Binghamton, NY
184 | 18461 | A | Binghamton, NY
184 | 18462 | A | Binghamton, NY
184 | 18463 | A | Binghamton, NY
184 | 18464 | B | Scranton
184 | 18465 | A | Binghamton, NY
184 | 18466 | B | Scranton
184 | 18469 | A | Binghamton, NY
184 | 18470 | A | Binghamton, NY
184 | 18471 | B | Scranton
184 | 18472 | A | Binghamton, NY
184 | 18473 | A | Binghamton, NY
185 | 18501 | B | Scranton
185 | 18502 | B | Scranton
185 | 18503 | B | Scranton
185 | 18504 | B | Scranton
185 | 18505 | B | Scranton
185 | 18507 | B | Scranton
185 | 18508 | B | Scranton
185 | 18509 | B | Scranton
185 | 18510 | B | Scranton
185 | 18512 | B | Scranton
185 | 18514 | B | Scranton
185 | 18515 | B | Scranton
185 | 18517 | B | Scranton
185 | 18518 | B | Scranton
185 | 18519 | B | Scranton
185 | 18522 | B | Scranton
185 | 18540 | B | Scranton
185 | 18577 | B | Scranton
186 | 18601 | B | Scranton
186 | 18602 | B | Scranton
186 | 18603 | F | Williamsport
186 | 18610 | B | Scranton
186 | 18611 | B | Scranton
186 | 18612 | B | Scranton
186 | 18614 | B | Scranton
186 | 18615 | B | Scranton
186 | 18616 | B | Scranton
186 | 18617 | B | Scranton
186 | 18618 | B | Scranton
186 | 18619 | B | Scranton
186 | 18621 | B | Scranton
186 | 18622 | B | Scranton
186 | 18623 | B | Scranton
186 | 18624 | C | Allentown
186 | 18625 | B | Scranton
186 | 18626 | B | Scranton
186 | 18627 | B | Scranton
186 | 18628 | B | Scranton
186 | 18629 | B | Scranton
186 | 18630 | B | Scranton
186 | 18631 | F | Williamsport
186 | 18632 | B | Scranton
186 | 18634 | B | Scranton
186 | 18635 | B | Scranton
186 | 18636 | B | Scranton
186 | 18640 | B | Scranton
186 | 18641 | B | Scranton
186 | 18642 | B | Scranton
186 | 18643 | B | Scranton
186 | 18644 | B | Scranton
186 | 18651 | B | Scranton
186 | 18653 | B | Scranton
186 | 18654 | B | Scranton
186 | 18655 | B | Scranton
186 | 18656 | B | Scranton
186 | 18657 | B | Scranton
186 | 18660 | B | Scranton
186 | 18661 | B | Scranton
186 | 18690 | B | Scranton
187 | 18701 | B | Scranton
187 | 18702 | B | Scranton
187 | 18703 | B | Scranton
187 | 18704 | B | Scranton
187 | 18705 | B | Scranton
187 | 18706 | B | Scranton
187 | 18707 | B | Scranton
187 | 18708 | B | Scranton
187 | 18709 | B | Scranton
187 | 18710 | B | Scranton
187 | 18711 | B | Scranton
187 | 18761 | B | Scranton
187 | 18762 | B | Scranton
187 | 18763 | B | Scranton
187 | 18764 | B | Scranton
187 | 18765 | B | Scranton
187 | 18766 | B | Scranton
187 | 18767 | B | Scranton
187 | 18768 | B | Scranton
187 | 18769 | B | Scranton
187 | 18773 | B | Scranton
187 | 18774 | B | Scranton
188 | 18801 | A | Binghamton, NY
188 | 18810 | B | Scranton
188 | 18812 | A | Binghamton, NY
188 | 18813 | A | Binghamton, NY
188 | 18814 | B | Scranton
188 | 18815 | B | Scranton
188 | 18816 | A | Binghamton, NY
188 | 18817 | B | Scranton
188 | 18818 | A | Binghamton, NY
188 | 18820 | A | Binghamton, NY
188 | 18821 | A | Binghamton, NY
188 | 18822 | A | Binghamton, NY
188 | 18823 | A | Binghamton, NY
188 | 18824 | A | Binghamton, NY
188 | 18825 | A | Binghamton, NY
188 | 18826 | A | Binghamton, NY
188 | 18827 | A | Binghamton, NY
188 | 18828 | A | Binghamton, NY
188 | 18829 | B | Scranton
188 | 18830 | A | Binghamton, NY
188 | 18831 | B | Scranton
188 | 18832 | B | Scranton
188 | 18833 | B | Scranton
188 | 18834 | A | Binghamton, NY
188 | 18837 | B | Scranton
188 | 18839 | A | Binghamton, NY
188 | 18840 | B | Scranton
188 | 18842 | A | Binghamton, NY
188 | 18843 | A | Binghamton, NY
188 | 18844 | A | Binghamton, NY
188 | 18845 | B | Scranton
188 | 18846 | B | Scranton
188 | 18847 | A | Binghamton, NY
188 | 18848 | B | Scranton
188 | 18850 | B | Scranton
188 | 18851 | B | Scranton
188 | 18853 | B | Scranton
188 | 18854 | B | Scranton
189 | 18901 | D | Philadelphia
189 | 18902 | D | Philadelphia
189 | 18910 | D | Philadelphia
189 | 18911 | D | Philadelphia
189 | 18912 | D | Philadelphia
189 | 18913 | D | Philadelphia
189 | 18914 | D | Philadelphia
189 | 18915 | D | Philadelphia
189 | 18916 | D | Philadelphia
189 | 18917 | D | Philadelphia
189 | 18918 | D | Philadelphia
189 | 18920 | D | Philadelphia
189 | 18921 | D | Philadelphia
189 | 18922 | D | Philadelphia
189 | 18923 | D | Philadelphia
189 | 18924 | D | Philadelphia
189 | 18925 | D | Philadelphia
189 | 18926 | D | Philadelphia
189 | 18927 | D | Philadelphia
189 | 18928 | D | Philadelphia
189 | 18929 | D | Philadelphia
189 | 18930 | D | Philadelphia
189 | 18931 | D | Philadelphia
189 | 18932 | D | Philadelphia
189 | 18933 | D | Philadelphia
189 | 18934 | D | Philadelphia
189 | 18935 | D | Philadelphia
189 | 18936 | D | Philadelphia
189 | 18938 | D | Philadelphia
189 | 18940 | D | Philadelphia
189 | 18942 | D | Philadelphia
189 | 18943 | D | Philadelphia
189 | 18944 | D | Philadelphia
189 | 18946 | D | Philadelphia
189 | 18947 | D | Philadelphia
189 | 18949 | D | Philadelphia
189 | 18950 | D | Philadelphia
189 | 18951 | D | Philadelphia
189 | 18953 | D | Philadelphia
189 | 18954 | D | Philadelphia
189 | 18955 | D | Philadelphia
189 | 18956 | D | Philadelphia
189 | 18957 | D | Philadelphia
189 | 18958 | D | Philadelphia
189 | 18960 | D | Philadelphia
189 | 18962 | D | Philadelphia
189 | 18963 | D | Philadelphia
189 | 18964 | D | Philadelphia
189 | 18966 | D | Philadelphia
189 | 18968 | D | Philadelphia
189 | 18969 | D | Philadelphia
189 | 18970 | D | Philadelphia
189 | 18971 | D | Philadelphia
189 | 18972 | D | Philadelphia
189 | 18974 | D | Philadelphia
189 | 18976 | D | Philadelphia
189 | 18977 | D | Philadelphia
189 | 18979 | D | Philadelphia
189 | 18980 | D | Philadelphia
189 | 18981 | D | Philadelphia
189 | 18991 | D | Philadelphia
190 | 19001 | D | Philadelphia
190 | 19002 | D | Philadelphia
190 | 19003 | D | Philadelphia
190 | 19004 | D | Philadelphia
190 | 19006 | D | Philadelphia
190 | 19007 | D | Philadelphia
190 | 19008 | D | Philadelphia
190 | 19009 | D | Philadelphia
190 | 19010 | D | Philadelphia
190 | 19012 | D | Philadelphia
190 | 19013 | D | Philadelphia
190 | 19014 | D | Philadelphia
190 | 19015 | D | Philadelphia
190 | 19016 | D | Philadelphia
190 | 19017 | D | Philadelphia
190 | 19018 | D | Philadelphia
190 | 19019 | D | Philadelphia
190 | 19020 | D | Philadelphia
190 | 19021 | D | Philadelphia
190 | 19022 | D | Philadelphia
190 | 19023 | D | Philadelphia
190 | 19025 | D | Philadelphia
190 | 19026 | D | Philadelphia
190 | 19027 | D | Philadelphia
190 | 19028 | D | Philadelphia
190 | 19029 | D | Philadelphia
190 | 19030 | D | Philadelphia
190 | 19031 | D | Philadelphia
190 | 19032 | D | Philadelphia
190 | 19033 | D | Philadelphia
190 | 19034 | D | Philadelphia
190 | 19035 | D | Philadelphia
190 | 19036 | D | Philadelphia
190 | 19037 | D | Philadelphia
190 | 19038 | D | Philadelphia
190 | 19039 | D | Philadelphia
190 | 19040 | D | Philadelphia
190 | 19041 | D | Philadelphia
190 | 19043 | D | Philadelphia
190 | 19044 | D | Philadelphia
190 | 19046 | D | Philadelphia
190 | 19047 | D | Philadelphia
190 | 19048 | D | Philadelphia
190 | 19049 | D | Philadelphia
190 | 19050 | D | Philadelphia
190 | 19052 | D | Philadelphia
190 | 19053 | D | Philadelphia
190 | 19054 | D | Philadelphia
190 | 19055 | D | Philadelphia
190 | 19056 | D | Philadelphia
190 | 19057 | D | Philadelphia
190 | 19058 | D | Philadelphia
190 | 19059 | D | Philadelphia
190 | 19060 | D | Philadelphia
190 | 19061 | D | Philadelphia
190 | 19063 | D | Philadelphia
190 | 19064 | D | Philadelphia
190 | 19065 | D | Philadelphia
190 | 19066 | D | Philadelphia
190 | 19067 | D | Philadelphia
190 | 19070 | D | Philadelphia
190 | 19072 | D | Philadelphia
190 | 19073 | D | Philadelphia
190 | 19074 | D | Philadelphia
190 | 19075 | D | Philadelphia
190 | 19076 | D | Philadelphia
190 | 19078 | D | Philadelphia
190 | 19079 | D | Philadelphia
190 | 19080 | D | Philadelphia
190 | 19081 | D | Philadelphia
190 | 19082 | D | Philadelphia
190 | 19083 | D | Philadelphia
190 | 19085 | D | Philadelphia
190 | 19086 | D | Philadelphia
190 | 19087 | D | Philadelphia
190 | 19088 | D | Philadelphia
190 | 19089 | D | Philadelphia
190 | 19090 | D | Philadelphia
190 | 19091 | D | Philadelphia
190 | 19092 | D | Philadelphia
190 | 19093 | D | Philadelphia
190 | 19094 | D | Philadelphia
190 | 19095 | D | Philadelphia
190 | 19096 | D | Philadelphia
190 | 19098 | D | Philadelphia
190 | 19099 | D | Philadelphia
191 | 19101 | D | Philadelphia
191 | 19102 | D | Philadelphia
191 | 19103 | D | Philadelphia
191 | 19104 | D | Philadelphia
191 | 19105 | D | Philadelphia
191 | 19106 | D | Philadelphia
191 | 19107 | D | Philadelphia
191 | 19108 | D | Philadelphia
191 | 19109 | D | Philadelphia
191 | 19110 | D | Philadelphia
191 | 19111 | D | Philadelphia
191 | 19112 | D | Philadelphia
191 | 19113 | D | Philadelphia
191 | 19114 | D | Philadelphia
191 | 19115 | D | Philadelphia
191 | 19116 | D | Philadelphia
191 | 19118 | D | Philadelphia
191 | 19119 | D | Philadelphia
191 | 19120 | D | Philadelphia
191 | 19121 | D | Philadelphia
191 | 19122 | D | Philadelphia
191 | 19123 | D | Philadelphia
191 | 19124 | D | Philadelphia
191 | 19125 | D | Philadelphia
191 | 19126 | D | Philadelphia
191 | 19127 | D | Philadelphia
191 | 19128 | D | Philadelphia
191 | 19129 | D | Philadelphia
191 | 19130 | D | Philadelphia
191 | 19131 | D | Philadelphia
191 | 19132 | D | Philadelphia
191 | 19133 | D | Philadelphia
191 | 19134 | D | Philadelphia
191 | 19135 | D | Philadelphia
191 | 19136 | D | Philadelphia
191 | 19137 | D | Philadelphia
191 | 19138 | D | Philadelphia
191 | 19139 | D | Philadelphia
191 | 19140 | D | Philadelphia
191 | 19141 | D | Philadelphia
191 | 19142 | D | Philadelphia
191 | 19143 | D | Philadelphia
191 | 19144 | D | Philadelphia
191 | 19145 | D | Philadelphia
191 | 19146 | D | Philadelphia
191 | 19147 | D | Philadelphia
191 | 19148 | D | Philadelphia
191 | 19149 | D | Philadelphia
191 | 19150 | D | Philadelphia
191 | 19151 | D | Philadelphia
191 | 19152 | D | Philadelphia
191 | 19153 | D | Philadelphia
191 | 19154 | D | Philadelphia
191 | 19155 | D | Philadelphia
191 | 19160 | D | Philadelphia
191 | 19161 | D | Philadelphia
191 | 19162 | D | Philadelphia
191 | 19170 | D | Philadelphia
191 | 19171 | D | Philadelphia
191 | 19172 | D | Philadelphia
191 | 19173 | D | Philadelphia
191 | 19175 | D | Philadelphia
191 | 19176 | D | Philadelphia
191 | 19177 | D | Philadelphia
191 | 19178 | D | Philadelphia
191 | 19179 | D | Philadelphia
191 | 19181 | D | Philadelphia
191 | 19182 | D | Philadelphia
191 | 19183 | D | Philadelphia
191 | 19184 | D | Philadelphia
191 | 19185 | D | Philadelphia
191 | 19187 | D | Philadelphia
191 | 19188 | D | Philadelphia
191 | 19190 | D | Philadelphia
191 | 19191 | D | Philadelphia
191 | 19192 | D | Philadelphia
191 | 19193 | D | Philadelphia
191 | 19194 | D | Philadelphia
191 | 19195 | D | Philadelphia
191 | 19196 | D | Philadelphia
191 | 19197 | D | Philadelphia
192 | 19244 | D | Philadelphia
192 | 19255 | D | Philadelphia
193 | 19301 | D | Philadelphia
193 | 19310 | D | Philadelphia
193 | 19311 | D | Philadelphia
193 | 19312 | D | Philadelphia
193 | 19316 | D | Philadelphia
193 | 19317 | D | Philadelphia
193 | 19318 | D | Philadelphia
193 | 19319 | D | Philadelphia
193 | 19320 | D | Philadelphia
193 | 19330 | D | Philadelphia
193 | 19331 | D | Philadelphia
193 | 19333 | D | Philadelphia
193 | 19335 | D | Philadelphia
193 | 19339 | D | Philadelphia
193 | 19340 | D | Philadelphia
193 | 19341 | D | Philadelphia
193 | 19342 | D | Philadelphia
193 | 19343 | D | Philadelphia
193 | 19344 | D | Philadelphia
193 | 19345 | D | Philadelphia
193 | 19346 | D | Philadelphia
193 | 19347 | D | Philadelphia
193 | 19348 | D | Philadelphia
193 | 19350 | D | Philadelphia
193 | 19351 | D | Philadelphia
193 | 19352 | D | Philadelphia
193 | 19353 | D | Philadelphia
193 | 19354 | D | Philadelphia
193 | 19355 | D | Philadelphia
193 | 19357 | D | Philadelphia
193 | 19358 | D | Philadelphia
193 | 19360 | D | Philadelphia
193 | 19362 | D | Philadelphia
193 | 19363 | D | Philadelphia
193 | 19365 | D | Philadelphia
193 | 19366 | D | Philadelphia
193 | 19367 | D | Philadelphia
193 | 19369 | D | Philadelphia
193 | 19370 | D | Philadelphia
193 | 19371 | D | Philadelphia
193 | 19372 | D | Philadelphia
193 | 19373 | D | Philadelphia
193 | 19374 | D | Philadelphia
193 | 19375 | D | Philadelphia
193 | 19376 | D | Philadelphia
193 | 19380 | D | Philadelphia
193 | 19381 | D | Philadelphia
193 | 19382 | D | Philadelphia
193 | 19383 | D | Philadelphia
193 | 19388 | D | Philadelphia
193 | 19390 | D | Philadelphia
193 | 19395 | D | Philadelphia
193 | 19397 | D | Philadelphia
193 | 19398 | D | Philadelphia
193 | 19399 | D | Philadelphia
194 | 19401 | D | Philadelphia
194 | 19403 | D | Philadelphia
194 | 19404 | D | Philadelphia
194 | 19405 | D | Philadelphia
194 | 19406 | D | Philadelphia
194 | 19407 | D | Philadelphia
194 | 19408 | D | Philadelphia
194 | 19409 | D | Philadelphia
194 | 19415 | D | Philadelphia
194 | 19420 | D | Philadelphia
194 | 19421 | D | Philadelphia
194 | 19422 | D | Philadelphia
194 | 19423 | D | Philadelphia
194 | 19424 | D | Philadelphia
194 | 19425 | D | Philadelphia
194 | 19426 | D | Philadelphia
194 | 19428 | D | Philadelphia
194 | 19429 | D | Philadelphia
194 | 19430 | D | Philadelphia
194 | 19432 | D | Philadelphia
194 | 19435 | D | Philadelphia
194 | 19436 | D | Philadelphia
194 | 19437 | D | Philadelphia
194 | 19438 | D | Philadelphia
194 | 19440 | D | Philadelphia
194 | 19441 | D | Philadelphia
194 | 19442 | D | Philadelphia
194 | 19443 | D | Philadelphia
194 | 19444 | D | Philadelphia
194 | 19446 | D | Philadelphia
194 | 19450 | D | Philadelphia
194 | 19451 | D | Philadelphia
194 | 19452 | D | Philadelphia
194 | 19453 | D | Philadelphia
194 | 19454 | D | Philadelphia
194 | 19455 | D | Philadelphia
194 | 19456 | D | Philadelphia
194 | 19457 | D | Philadelphia
194 | 19460 | D | Philadelphia
194 | 19462 | D | Philadelphia
194 | 19464 | D | Philadelphia
194 | 19465 | D | Philadelphia
194 | 19468 | D | Philadelphia
194 | 19470 | D | Philadelphia
194 | 19472 | D | Philadelphia
194 | 19473 | D | Philadelphia
194 | 19474 | D | Philadelphia
194 | 19475 | D | Philadelphia
194 | 19477 | D | Philadelphia
194 | 19478 | D | Philadelphia
194 | 19480 | D | Philadelphia
194 | 19481 | D | Philadelphia
194 | 19482 | D | Philadelphia
194 | 19483 | D | Philadelphia
194 | 19484 | D | Philadelphia
194 | 19485 | D | Philadelphia
194 | 19486 | D | Philadelphia
194 | 19487 | D | Philadelphia
194 | 19488 | D | Philadelphia
194 | 19489 | D | Philadelphia
194 | 19490 | D | Philadelphia
194 | 19492 | D | Philadelphia
194 | 19493 | D | Philadelphia
194 | 19494 | D | Philadelphia
194 | 19495 | D | Philadelphia
194 | 19496 | D | Philadelphia
195 | 19501 | D | Philadelphia
195 | 19503 | D | Philadelphia
195 | 19504 | D | Philadelphia
195 | 19505 | D | Philadelphia
195 | 19506 | D | Philadelphia
195 | 19507 | D | Philadelphia
195 | 19508 | D | Philadelphia
195 | 19510 | D | Philadelphia
195 | 19511 | D | Philadelphia
195 | 19512 | D | Philadelphia
195 | 19516 | D | Philadelphia
195 | 19518 | D | Philadelphia
195 | 19519 | D | Philadelphia
195 | 19520 | D | Philadelphia
195 | 19522 | D | Philadelphia
195 | 19523 | D | Philadelphia
195 | 19525 | D | Philadelphia
195 | 19526 | D | Philadelphia
195 | 19529 | D | Philadelphia
195 | 19530 | D | Philadelphia
195 | 19533 | D | Philadelphia
195 | 19534 | D | Philadelphia
195 | 19535 | D | Philadelphia
195 | 19536 | D | Philadelphia
195 | 19538 | D | Philadelphia
195 | 19539 | D | Philadelphia
195 | 19540 | D | Philadelphia
195 | 19541 | D | Philadelphia
195 | 19542 | D | Philadelphia
195 | 19543 | D | Philadelphia
195 | 19544 | D | Philadelphia
195 | 19545 | D | Philadelphia
195 | 19547 | D | Philadelphia
195 | 19548 | D | Philadelphia
195 | 19549 | C | Allentown
195 | 19550 | D | Philadelphia
195 | 19551 | D | Philadelphia
195 | 19554 | D | Philadelphia
195 | 19555 | D | Philadelphia
195 | 19557 | D | Philadelphia
195 | 19559 | D | Philadelphia
195 | 19560 | D | Philadelphia
195 | 19562 | D | Philadelphia
195 | 19564 | D | Philadelphia
195 | 19565 | D | Philadelphia
195 | 19567 | D | Philadelphia
196 | 19601 | D | Philadelphia
196 | 19602 | D | Philadelphia
196 | 19603 | D | Philadelphia
196 | 19604 | D | Philadelphia
196 | 19605 | D | Philadelphia
196 | 19606 | D | Philadelphia
196 | 19607 | D | Philadelphia
196 | 19608 | D | Philadelphia
196 | 19609 | D | Philadelphia
196 | 19610 | D | Philadelphia
196 | 19611 | D | Philadelphia
196 | 19612 | D | Philadelphia
196 | 19640 | D | Philadelphia