## Summary
Greenville Municipal Water Authority Original Cost of Water System - REVISION 1 April 2024
Account No. | Description | Original Cost
103 | Land Held for Future Use | 38001
303 | Land and Land Rights | 40
304 | Structures and Improvements | 7077004.32
331 | Transmission and Distribution Mains | 14526526.451
331-1 | Transmission and Distribution Mains - Valves | 1035088.2664
335 | Hydrants | 603842.7229
311 | Pumping Equipment | 749500
330 | Distribution Reservoirs and Standpipes | 1358537.161
333 | Services | 1321627.5248
341 | Transportation Equipment | 174634
310 | Power Generation Equipment | 95646.7165
TOTAL |  | 26980448.1626

## 103-Property Heldfor Future Use
Greenville Municipal Water Authority, Mercer County, Pennsylvania Original Cost of Water System March 2024 Account No. 103 Property Held for Future Use
Account No. | Notes | Description | Year Acquired | Quantity | Units | Unit Price | Current ENR Construction Cost Index | Old ENR Construction Cost Index | Original Cost
103 |  | Property Held for Future Use
103 | 1,2 | Property for Future Use 43 S. Race Street (Tax Parcel ID No. 55 516 098) | 2019 | 1 | Property | 0 | --- | --- | 35000
103 | 1,2 | Property for Future Use 51. S. Race Street (Tax Parcel ID No. 55 516 099) | 2021 | 1 | Property | 0 | --- | --- | 1250
103 | 1,2 | Property for Future Use 1 State Street (55 516 100) | 2018 | 1 | Property | 0 | --- | --- | 1000
103 | 1,2 | Property for Future Use 22 S. Front Street (55 516 081) | 2013 | 1 | Property | 0 | --- | --- | 750
103 | 1,2 | Property for Future Use 24 S. Front Street (55 516 082) | 2014 | 1 | Property | 0 | --- | --- | 1
0
TOTAL Account No. 103 Property Held for Future Use | [8 empty] | 38001
Notes:
1. Year Acquired according to Mercer County GIS Records.
2. No current value estimated, original purchase price is provided

## 303 - Land & Land Rights
Greenville Municipal Water Authority, Mercer County, Pennsylvania Original Cost of Water System March 2024 Account No. 303 Land and Land Rights
Account No. | Notes | Description | Year Acquired | Quantity | Units | Unit Price | Current ENR Construction Cost Index | Old ENR Construction Cost Index | Original Cost
303 |  | Land and Land Rights
303 | 1 | Greenville Water Treatment Plant Property (Tax Parcel ID No. 19 0815 550 and 19 0815 551) | 2000 | 1 | Property | 0 | --- | --- | 0
303 | 1 | Greenville Municipal Water Authority Building (Tax Parcel ID No. 55 516 045) | 2000 | 1 | Property | 0 | --- | --- | 0
303 | 1,2,3 | Greenville East Tanks Property (Tax Parcel ID No. 09 044 141) | 2000 | 1 | Property | 0 | --- | --- | 0
303 | 1 | Greenville West Tanks Property (Tax Parcel ID No. 31 055 121) | 2000 | 1 | Property | 0 | --- | --- | 0
303 | 4 | Greenville Booster Pump Station Site | 2020 | 1 | Easement | 0 | --- | --- | 0
303 | 5,6 | Easement (Tax Parcel ID No. 55 519 005) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 09 044 102) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 09 044 116) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 09 044 002 002) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 09 043 150) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 09 043 151) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 09 044 102 001) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 09 044 141) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 09 044 141) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 09 043 155 006 011) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 09 044 141 001) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 09 043 124) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 09 056 303) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 09 056 235 001) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 55 516 088 001) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 09 496.A 010) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 55 511 072 001) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 55 516 081) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 55 516 022 001) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 55 516 023) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 55 516 088) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 55 516 023 001) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 55 518 108) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 31 055 121) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 31 055 123) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 31 055 124) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 31 055 125) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 31 055 122) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 09 043 123) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 09 043 135) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 55 525 039) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 55 525 040) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 55 525 046) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 55 525 047) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 09 056 053) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 09 056 054) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 55 529 075) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 55 529 072) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 55 506 002) |  | 1 | Easement | 1 | --- | --- | 1
303 | 5,6 | Easement (Tax Parcel ID No. 09 056 053 001) |  | 1 | Easement | 1 | --- | --- | 1
0
TOTAL Account No. 303 Land and Land Rights | [8 empty] | 40
Notes:
1. Year Acquired according to Mercer County GIS Records.
2. Greenville Municipal Water Authority is investigating subdividision and sale of a portion of this property.
3. The Greenville East Tanks Property shall be subdivieded between Aqua and GMWA to allow Aqua to have access from Hadley Road and Methodist Road.
4. Booster Pump Station construction incomplete at the time of this report.
5. Easements identified by overlaying main and valve GIS data on county tax parcel GIS. Each overlapping parcel has been identified as an easement. Additional records may be necessary to determine whether an easement agreement was established.
6. Cost of easements assumed to be $1.00 each at the time of acquisition.

## 304-Structures & Improvements
Greenville Municipal Water Authority, Mercer County, Pennsylvania Original Cost of Water System March 2024 Account No. 304 Structures and Improvements
Account No. | Notes | Description | Year Constructed | Condition Assessment | Quantity | Units | Unit Price | Current Evaluation | Current ENR Construction Cost Index | Old ENR Construction Cost Index | Original Cost
304 |  | Structures and Improvements
304 |  | Greenville Water Treatment Plant |  | Fair
| 1,2 | Original Construction | 1990 | Good | 1 | LS | 0 | --- | --- | --- | 6784447.0514
| 3 | Raw Water Holding Tank | 1990 | Fair | 1 |  | 0 | --- | --- | --- | 0
| 3,4 | Raw Water Pumps (Vertical Turbine) | 1990 | Good | 1 |  | 0 | --- | --- | --- | 0
| 3 | Super Pulsator | 1990 | Poor | 2 |  | 0 | --- | --- | --- | 0
| 3 | Upflow Clarifier | 1990 | Fair | 2 |  | 0 | --- | --- | --- | 0
| 3 | Multimedia Filters | 1990 | Fair | 4 |  | 0 | --- | --- | --- | 0
| 3 | Finished Water Wet Well | 1990 | Good | 1 |  | 0 | --- | --- | --- | 0
| 3 | High Service Pumps | 1990 | Fair | 2 |  | 0 | --- | --- | --- | 0
| 3 | Blowers | 1990 | Fair | 2 |  | 0 | --- | --- | --- | 0
| 3 | Chlorine Feed System | 1990 | Fair | 1 |  | 0 | --- | --- | --- | 0
| 3 | PAC Feed System | 1990 | Fair | 1 |  | 0 | --- | --- | --- | 0
| 3 | Caustic Feed System | 1990 | Fair | 1 |  | 0 | --- | --- | --- | 0
| 3 | Potassium Permanganate Feed System | 1990 | Fair | 1 |  | 0 | --- | --- | --- | 0
| 3 | Fluoride Feed System | 1990 | Fair | 1 |  | 0 | --- | --- | --- | 0
| 3 | Filter Polymer Feed System | 1990 | Fair | 1 |  | 0 | --- | --- | --- | 0
| 3 | Sludge Polymer Feed System | 1990 | Fair | 1 |  | 0 | --- | --- | --- | 0
| 3 | Sludge Holding Tank | 1990 | Fair | 1 |  | 0 | --- | --- | --- | 0
| 3 | Aqua Mag Feed System | 1990 | Fair | 1 |  | 0 | --- | --- | --- | 0
| 3 | Ammonia Feed System | 1990 | Fair | 1 |  | 0 | --- | --- | --- | 0
| 3 | Backwash Sludge Tank | 1990 | Fair | 1 |  | 0 | --- | --- | --- | 0
| 3 | HVAC System | 1990 | Fair | 1 |  | 0 | --- | --- | --- | 0
| 1,4 | Raw Water Pumps (Vertical Turbine) | 2023 | Excellent | 1 | LS | 0 | --- | --- | --- | 45263
| 1,5 | PAC Tank | 2022 | Excellent | 1 | LS | 0 | --- | --- | --- | 23700
| 1,6 | SCADA System | 2010 | Fair | 1 | LS | 100000 | 100000 | 13515 | 4732 | 35012.9486
| 1 | Sludge Holding Tank | 1995 | Good | 1 | LS | 200000 | 200000 | 13515 | 4732 | 70025.8972
| 1 | Filter Press Building | 1995 | Fair | 1 | LS | 50000 | 50000 | 13515 | 4732 | 17506.4743
| 1 | Filter Press | 1995 | Fair | 1 | LS | 100000 | 100000 | 13515 | 4732 | 35012.9486
| 1,5 | Filter media replaced | 2022 | Fair | 1 | LS | 0 | --- | --- | --- | 66036
TOTAL Account No.304 Structures and Improvements | [10 empty] | 7077004.32
Notes:
1. LS - Lump Sum
2. Cost provided represents the original construction cost of the plant. No current evaluation has been prepared.
3. Item is from the original construction of the plant and has been accounted for in the original construction price.
4. One Raw Water Pump was refurbished in 2023, and another was replaced. The cost for the refurbishment AND replacement has been deducted from the original plant cost, and accounted for with the new raw pump.
5. Cost provided is from the time of replacement and represents original cost. No current evaluation has been prepared.
6. SCADA System install approximated to the nearest decade.
Note on M7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Value of individual plant components to be subtracted from this price if replaced

## 331- Distribution Mains
Greenville Municipal Water Authority, Mercer County, Pennsylvania Original Cost of Water System March 2024 Account No. 331 Transmission & Distribution Mains
Account No. | Notes | ID | Length (LF) | Diameter (in) | Pipe Material | Year Constructed | Condition Assessment | Pipe Cost | Current Evaluation | Current ENR Construction Cost Index | Old ENR Construction Cost Index | Original Cost
331 |  | Transmission & Distribution Mains
331 |  | 0.75 | 4 | 0.75 | PVC | 2013 | Excellent | 176 | 176 | 13515 | 9547 | 124.3265
331 |  | 0.75 | 142 | 0.75 | Copper | 1940 | Poor | 22720 | 22720 | 13515 | 242 | 406.825
331 |  | 0.75 | 82 | 0.75 | Copper | 1970 | Fair | 13120 | 13120 | 13515 | 1381 | 1340.6378
331 |  | 1 | 416 | 1 | PVC | 2013 | Excellent | 18304 | 18304 | 13515 | 9547 | 12929.951
331 |  | 1 | 257 | 1 | PVC | 2015 | Excellent | 11308 | 11308 | 13515 | 10031 | 8392.9373
331 |  | 1 | 337 | 1 | Cast Iron | 1920 | Poor | 21905 | 21905 | 13515 | 251 | 406.8187
331 |  | 1 | 543 | 1 | Cast Iron | 1940 | Poor | 35295 | 35295 | 13515 | 242 | 631.9933
331 |  | 1 | 169 | 1 | Cast Iron | 1970 | Fair | 10985 | 10985 | 13515 | 1381 | 1122.4776
331 |  | 1 | 149 | 1 | Ductile Iron | 2001 | Good | 11473 | 11473 | 13515 | 6343 | 5384.6274
331 |  | 1 | 266 | 1 | PVC | 2001 | Good | 11704 | 11704 | 13515 | 6343 | 5493.0427
331 |  | 2 | 4133 | 2 | C900 | 2013 | Excellent | 268645 | 268645 | 13515 | 9547 | 189770.9075
331 |  | 2 | 2929 | 2 | C900 | 2018 | Excellent | 190385 | 190385 | 13515 | 11062 | 155829.7351
331 |  | 2 | 375.8 | 2 | C900 | 2020 | Excellent | 24427 | 24427 | 13515 | 11466 | 20723.6391
331 |  | 2 | 153.5 | 2 | C900 | 2022 | Excellent | 9977.5 | 9977.5 | 13515 | 13007 | 9602.4671
331 |  | 2 | 1426.1921 | 2 | Cast Iron | 1920 | Poor | 141193.0178 | 141193.0178 | 13515 | 251 | 2622.2307
331 |  | 2 | 465.917 | 2 | Cast Iron | 1930 | Poor | 46125.7867 | 46125.7867 | 13515 | 203 | 692.8254
331 |  | 2 | 1699.572 | 2 | Cast Iron | 1940 | Poor | 168257.6317 | 168257.6317 | 13515 | 242 | 3012.8263
331 |  | 2 | 473.9772 | 2 | Cast Iron | 1950 | Fair | 46923.7443 | 46923.7443 | 13515 | 510 | 1770.7073
331 |  | 2 | 195.1856 | 2 | Cast Iron | 1960 | Fair | 19323.3711 | 19323.3711 | 13515 | 824 | 1178.1323
331 |  | 2 | 1134.3557 | 2 | Cast Iron | 1970 | Fair | 112301.2144 | 112301.2144 | 13515 | 1381 | 11475.248
331 |  | 2 | 90.4544 | 2 | Ductile Iron | 1990 | Good | 10492.7119 | 10492.7119 | 13515 | 4732 | 3673.8078
331 |  | 2 | 15.6607 | 2 | Ductile Iron | 2008 | Good | 1816.643 | 1816.643 | 13515 | 8310 | 1117.0036
331 |  | 2 | 59.327 | 2 | Galvanized | 1970 | Fair | 5873.3765 | 5873.3765 | 13515 | 1381 | 600.1578
331 |  | 2 | 1287.0844 | 2 | HDPE | 2022 | Excellent | 84947.5686 | 84947.5686 | 13515 | 13007 | 81754.5709
331 |  | 2 | 1228.4972 | 2 | HDPE | 2023 | Excellent | 81080.8127 | 81080.8127 | 13515 | 13358 | 80138.9195
331 |  | 2 | 20.9803 | 2 | Cast Iron | 1940 | Poor | 2077.0476 | 2077.0476 | 13515 | 242 | 37.1917
331 |  | 2 | 5.3298 | 2 | Copper | 2003 | Good | 618.2586 | 618.2586 | 13515 | 6694 | 306.2244
331 |  | 2 | 555.092 | 2 | PVC | 1980 | Good | 36080.9805 | 36080.9805 | 13515 | 3237 | 8641.8153
331 |  | 2 | 419.7421 | 2 | PVC | 1985 | Good | 27283.2372 | 27283.2372 | 13515 | 4195 | 8468.6038
331 |  | 2 | 1240.1785 | 2 | PVC | 1990 | Good | 80611.6037 | 80611.6037 | 13515 | 4732 | 28224.4993
331 |  | 2 | 441.2557 | 2 | PVC | 2000 | Good | 28681.6228 | 28681.6228 | 13515 | 6221 | 13202.2475
331 |  | 2 | 904.7428 | 2 | PVC | 2003 | Good | 58808.281 | 58808.281 | 13515 | 6694 | 29127.8308
331 |  | 3 | 46.7362 | 3 | C900 | 2015 | Excellent | 3037.854 | 3037.854 | 13515 | 10031 | 2254.7328
331 |  | 3 | 284.7516 | 3 | Cast Iron | 1920 | Poor | 37302.4604 | 37302.4604 | 13515 | 251 | 692.7797
331 |  | 4 | 29.5551 | 4 | C909 | 2022 | Excellent | 3191.9498 | 3191.9498 | 13515 | 13007 | 3071.9712
331 |  | 4 | 149.1376 | 4 | C-900 PVC | 2013 | Excellent | 16106.8596 | 16106.8596 | 13515 | 9547 | 11377.8904
331 |  | 4 | 42.2811 | 4 | C-900 PVC | 2015 | Excellent | 4566.3591 | 4566.3591 | 13515 | 10031 | 3389.2081
331 |  | 4 | 93.7367 | 4 | C909 | 2018 | Excellent | 10123.5687 | 10123.5687 | 13515 | 11062 | 8286.1204
331 |  | 4 | 661.6159 | 4 | C909 | 2020 | Excellent | 71454.5138 | 71454.5138 | 13515 | 11466 | 60621.3433
331 |  | 4 | 392.0781 | 4 | C909 | 2022 | Excellent | 42344.4374 | 42344.4374 | 13515 | 13007 | 40752.8004
331 |  | 4 | 34.3246 | 4 | C909 | 2023 | Excellent | 3707.0546 | 3707.0546 | 13515 | 13358 | 3663.9908
331 |  | 4 | 4713.9728 | 4 | Cast Iron | 1920 | Poor | 763663.597 | 763663.597 | 13515 | 251 | 14182.7276
331 |  | 4 | 3905.9042 | 4 | Cast Iron | 1930 | Poor | 632756.4744 | 632756.4744 | 13515 | 203 | 9504.2223
331 |  | 4 | 5673.7264 | 4 | Cast Iron | 1940 | Poor | 919143.6726 | 919143.6726 | 13515 | 242 | 16458.2145
331 |  | 4 | 513.1143 | 4 | Cast Iron | 1950 | Fair | 83124.5116 | 83124.5116 | 13515 | 510 | 3136.774
331 |  | 4 | 3072.5742 | 4 | Cast Iron | 1970 | Fair | 497757.0272 | 497757.0272 | 13515 | 1381 | 50862.1868
331 |  | 4 | 1533.3001 | 4 | Ductile Iron | 1980 | Good | 289793.7238 | 289793.7238 | 13515 | 3237 | 69408.974
331 |  | 4 | 168.6458 | 4 | Ductile Iron | 1996 | Good | 31874.0557 | 31874.0557 | 13515 | 5620 | 13254.3243
331 |  | 4 | 185.8326 | 4 | Ductile Iron | 2001 | Good | 35122.3639 | 35122.3639 | 13515 | 6343 | 16483.9922
331 |  | 4 | 25.6421 | 4 | Ductile Iron | 2007 | Good | 4846.3519 | 4846.3519 | 13515 | 7966 | 2856.5327
331 |  | 4 | 551.8151 | 4 | Ductile Iron | 2008 | Good | 104293.0578 | 104293.0578 | 13515 | 8310 | 64126.919
331 |  | 4 | 17.3661 | 4 | Cast Iron | 1920 | Poor | 2813.3131 | 2813.3131 | 13515 | 251 | 52.2487
331 |  | 4 | 38.0211 | 4 | C909 | 2013 | Excellent | 4106.2778 | 4106.2778 | 13515 | 9547 | 2900.6759
331 | 1 | 4 | 4003.4997 | 4 | Cast Iron | 1890 | Poor | 648566.9526 | 648566.9526 | 13515 | 97 | 4654.9015
331 |  | 6 | 18855.0252 | 6 | C-900 PVC | 2013 | Excellent | 2130617.8432 | 2130617.8432 | 13515 | 9547 | 1505069.0751
331 |  | 6 | 23.0863 | 6 | C-900 PVC | 2015 | Excellent | 2608.7548 | 2608.7548 | 13515 | 10031 | 1936.25
331 |  | 6 | 1326.9048 | 6 | C909 | 2018 | Excellent | 149940.2453 | 149940.2453 | 13515 | 11062 | 122725.7857
331 |  | 6 | 1632.8214 | 6 | C909 | 2020 | Excellent | 184508.8195 | 184508.8195 | 13515 | 11466 | 156535.5623
331 |  | 6 | 2690.2009 | 6 | C909 | 2022 | Excellent | 303992.7059 | 303992.7059 | 13515 | 13007 | 292566.269
331 |  | 6 | 407.4905 | 6 | C909 | 2023 | Excellent | 46046.4308 | 46046.4308 | 13515 | 13358 | 45511.5222
331 |  | 6 | 2335.7215 | 6 | Cast Iron | 1920 | Poor | 397072.6613 | 397072.6613 | 13515 | 251 | 7374.4164
331 |  | 6 | 1329.4608 | 6 | Cast Iron | 1930 | Poor | 226008.3346 | 226008.3346 | 13515 | 203 | 3394.7238
331 |  | 6 | 5394.6671 | 6 | Cast Iron | 1940 | Poor | 917093.4029 | 917093.4029 | 13515 | 242 | 16421.5023
331 |  | 6 | 1190.9004 | 6 | Cast Iron | 1950 | Fair | 202453.0689 | 202453.0689 | 13515 | 510 | 7639.7384
331 |  | 6 | 7660.0716 | 6 | Cast Iron | 1960 | Fair | 1302212.1714 | 1302212.1714 | 13515 | 824 | 79394.9559
331 |  | 6 | 18005.737 | 6 | Cast Iron | 1970 | Fair | 3060975.2949 | 3060975.2949 | 13515 | 1381 | 312778.9036
331 |  | 6 | 43.7577 | 6 | Cast Iron | 2022 | Excellent | 7438.8014 | 7438.8014 | 13515 | 13007 | 7159.1927
331 |  | 6 | 1488.2905 | 6 | Ductile Iron | 1980 | Good | 294681.5189 | 294681.5189 | 13515 | 3237 | 70579.6579
331 |  | 6 | 3198.9193 | 6 | Ductile Iron | 1996 | Good | 633386.0267 | 633386.0267 | 13515 | 5620 | 263383.6086
331 |  | 6 | 1161.8734 | 6 | Ductile Iron | 1999 | Good | 230050.9317 | 230050.9317 | 13515 | 6059 | 103135.6711
331 |  | 6 | 46.0878 | 6 | Ductile Iron | 2001 | Good | 9125.3886 | 9125.3886 | 13515 | 6343 | 4282.8221
331 |  | 6 | 10.6935 | 6 | Ductile Iron | 2004 | Good | 2117.3079 | 2117.3079 | 13515 | 6538 | 1024.2663
331 |  | 6 | 1211.6202 | 6 | Ductile Iron | 2008 | Good | 239900.7927 | 239900.7927 | 13515 | 8310 | 147508.3675
331 |  | 6 | 232.7745 | 6 | Ductile Iron | 2010 | Good | 46089.3448 | 46089.3448 | 13515 | 8799 | 30006.67
331 | 1 | 6 | 314.8751 | 6 | Cast Iron | 1890 | Poor | 53528.7647 | 53528.7647 | 13515 | 97 | 384.1872
331 |  | 6 | 141.9916 | 6 | Cast Iron | 1920 | Poor | 24138.5644 | 24138.5644 | 13515 | 251 | 448.3004
331 |  | 6 | 63.7475 | 6 | Cast Iron | 1930 | Poor | 10837.0815 | 10837.0815 | 13515 | 203 | 162.7767
331 |  | 6 | 73.0377 | 6 | Cast Iron | 1940 | Poor | 12416.4141 | 12416.4141 | 13515 | 242 | 222.3287
331 |  | 6 | 27.8468 | 6 | Cast Iron | 1950 | Fair | 4733.9623 | 4733.9623 | 13515 | 510 | 178.6401
331 |  | 6 | 89.5089 | 6 | Cast Iron | 1960 | Fair | 15216.5062 | 15216.5062 | 13515 | 824 | 927.7396
331 |  | 6 | 198.8118 | 6 | Cast Iron | 1970 | Fair | 33798.0007 | 33798.0007 | 13515 | 1381 | 3453.573
331 |  | 6 | 96.2615 | 6 | Ductile Iron | 1980 | Good | 19059.7808 | 19059.7808 | 13515 | 3237 | 4565.0396
331 |  | 6 | 39.9956 | 6 | Ductile Iron | 1990 | Good | 7919.1332 | 7919.1332 | 13515 | 4732 | 2772.722
331 |  | 6 | 47.7151 | 6 | Ductile Iron | 1996 | Good | 9447.58 | 9447.58 | 13515 | 5620 | 3928.6274
331 |  | 6 | 169.6778 | 6 | Ductile Iron | 1999 | Good | 33596.214 | 33596.214 | 13515 | 6059 | 15061.7433
331 |  | 6 | 9.9985 | 6 | C900 | 2001 | Good | 1129.8291 | 1129.8291 | 13515 | 6343 | 530.2631
331 |  | 6 | 40.3154 | 6 | C900 | 2003 | Good | 4555.6455 | 4555.6455 | 13515 | 6694 | 2256.4181
331 |  | 6 | 6.7894 | 6 | C900 | 2004 | Good | 767.1995 | 767.1995 | 13515 | 7115 | 403.8938
331 |  | 6 | 20.7112 | 6 | C900 | 2008 | Good | 2340.362 | 2340.362 | 13515 | 8310 | 1439.0239
331 |  | 6 | 14.2259 | 6 | C900 | 2010 | Good | 1607.5211 | 1607.5211 | 13515 | 8799 | 1046.5837
331 |  | 6 | 290.8878 | 6 | C900 | 2013 | Excellent | 32870.326 | 32870.326 | 13515 | 9547 | 23219.608
331 |  | 6 | 19.6232 | 6 | C909 | 2014 | Excellent | 2217.4253 | 2217.4253 | 13515 | 9807 | 1609.0485
331 |  | 6 | 3.3784 | 6 | C909 | 2015 | Excellent | 381.7557 | 381.7557 | 13515 | 10031 | 283.3438
331 |  | 6 | 112.6477 | 6 | C909 | 2018 | Excellent | 12729.1934 | 12729.1934 | 13515 | 11062 | 10418.8189
331 |  | 6 | 43.5453 | 6 | C909 | 2020 | Excellent | 4920.6193 | 4920.6193 | 13515 | 11466 | 4174.6076
331 |  | 6 | 99.095 | 6 | C909 | 2022 | Excellent | 11197.7398 | 11197.7398 | 13515 | 13007 | 10776.8407
331 |  | 6 | 34.7925 | 6 | C909 | 2023 | Excellent | 3931.548 | 3931.548 | 13515 | 13358 | 3885.8763
331 |  | 6 | 9.9999 | 6 | Cast Iron | 1970 | Fair | 1699.9785 | 1699.9785 | 13515 | 1381 | 173.7085
331 |  | 8 | 5394.1519 | 8 | C-900 PVC | 2003 | Good | 636509.9241 | 636509.9241 | 13515 | 6694 | 315264.3309
331 |  | 8 | 9050.1153 | 8 | C-900 PVC | 2013 | Excellent | 1067913.6112 | 1067913.6112 | 13515 | 9547 | 754374.491
331 |  | 8 | 2964.3658 | 8 | C-900 PVC | 2014 | Excellent | 349795.1629 | 349795.1629 | 13515 | 9807 | 253824.7253
331 |  | 8 | 1441.1421 | 8 | C-909 PVC | 2015 | Excellent | 170054.772 | 170054.772 | 13515 | 10031 | 126216.7531
331 |  | 8 | 4834.2501 | 8 | C-909 PVC | 2018 | Excellent | 570441.5169 | 570441.5169 | 13515 | 11062 | 466905.2208
331 |  | 8 | 2739.9186 | 8 | C-909 PVC | 2020 | Excellent | 323310.3999 | 323310.3999 | 13515 | 11466 | 274293.5291
331 |  | 8 | 6633.1483 | 8 | C-909 PVC | 2022 | Excellent | 782711.5008 | 782711.5008 | 13515 | 13007 | 753291.0463
331 |  | 8 | 1864.3094 | 8 | C-909 PVC | 2023 | Excellent | 219988.5131 | 219988.5131 | 13515 | 13358 | 217432.9676
331 |  | 8 | 1315.9365 | 8 | Cast Iron | 1920 | Poor | 232920.7673 | 232920.7673 | 13515 | 251 | 4325.7945
331 |  | 8 | 276.6487 | 8 | Cast Iron | 1930 | Poor | 48966.8171 | 48966.8171 | 13515 | 203 | 735.4986
331 |  | 8 | 1838.0406 | 8 | Cast Iron | 1950 | Fair | 325333.1812 | 325333.1812 | 13515 | 510 | 12276.7238
331 |  | 8 | 1532.7146 | 8 | Cast Iron | 1960 | Fair | 271290.49 | 271290.49 | 13515 | 824 | 16540.3895
331 |  | 8 | 11750.8214 | 8 | Cast Iron | 1970 | Fair | 2079895.3854 | 2079895.3854 | 13515 | 1381 | 212529.4508
331 |  | 8 | 1751.8997 | 8 | Ductile Iron | 1980 | Good | 362643.2424 | 362643.2424 | 13515 | 3237 | 86857.2827
331 |  | 8 | 2862.3224 | 8 | Ductile Iron | 1990 | Good | 592500.7426 | 592500.7426 | 13515 | 4732 | 207451.9803
331 |  | 8 | 60.4848 | 8 | Ductile Iron | 1996 | Good | 12520.3502 | 12520.3502 | 13515 | 5620 | 5206.3906
331 |  | 8 | 2220.8467 | 8 | Ductile Iron | 1999 | Good | 459715.2679 | 459715.2679 | 13515 | 6059 | 206098.025
331 |  | 8 | 1516.0856 | 8 | Ductile Iron | 2001 | Good | 313829.7242 | 313829.7242 | 13515 | 6343 | 147289.8217
331 |  | 8 | 21.601 | 8 | Ductile Iron | 2007 | Good | 4471.4164 | 4471.4164 | 13515 | 7966 | 2635.5385
331 |  | 8 | 79.4992 | 8 | Ductile Iron | 2008 | Good | 16456.3443 | 16456.3443 | 13515 | 8310 | 10118.5513
331 |  | 8 | 21.3065 | 8 | Cast Iron | 1930 | Poor | 3771.2451 | 3771.2451 | 13515 | 203 | 56.6454
331 |  | 8 | 111.8282 | 8 | Cast Iron | 1970 | Fair | 19793.592 | 19793.592 | 13515 | 1381 | 2022.5639
331 |  | 8 | 31.4903 | 8 | Ductile Iron | 1980 | Good | 6518.4939 | 6518.4939 | 13515 | 3237 | 1561.2553
331 |  | 8 | 11.3672 | 8 | Ductile Iron | 1990 | Good | 2353.0088 | 2353.0088 | 13515 | 4732 | 823.8578
331 |  | 8 | 9.9999 | 8 | Ductile Iron | 2003 | Good | 2069.9744 | 2069.9744 | 13515 | 6694 | 1025.2614
331 |  | 8 | 52.1494 | 8 | C-900 PVC | 2010 | Good | 6153.6265 | 6153.6265 | 13515 | 8799 | 4006.3455
331 |  | 8 | 46.2529 | 8 | C-900 PVC | 2013 | Excellent | 5457.8381 | 5457.8381 | 13515 | 9547 | 3855.4185
331 |  | 8 | 10.0001 | 8 | C-909 PVC | 2015 | Excellent | 1180.0085 | 1180.0085 | 13515 | 10031 | 875.8169
331 |  | 8 | 191.1063 | 8 | C-909 PVC | 2018 | Excellent | 22550.5427 | 22550.5427 | 13515 | 11062 | 18457.5733
331 |  | 8 | 27.4901 | 8 | C-909 PVC | 2023 | Excellent | 3243.8259 | 3243.8259 | 13515 | 13358 | 3206.1433
331 | 1 | 8 | 1952.7868 | 8 | Cast Iron | 1890 | Poor | 345643.271 | 345643.271 | 13515 | 97 | 2480.7545
331 |  | 8 | 1766.9339 | 8 | Ductile Iron | 1980 | Good | 365755.3203 | 365755.3203 | 13515 | 3237 | 87602.6616
331 |  | 10 | 60.1351 | 10 | C-900 PVC | 2020 | Excellent | 8358.7732 | 8358.7732 | 13515 | 11466 | 7091.5052
331 |  | 10 | 257.0447 | 10 | C-900 PVC | 2022 | Excellent | 35729.2097 | 35729.2097 | 13515 | 13007 | 34386.2249
331 |  | 10 | 1887.7032 | 10 | C-900 PVC | 2023 | Excellent | 262390.7441 | 262390.7441 | 13515 | 13358 | 259342.6237
331 |  | 10 | 26.5665 | 10 | Cast Iron | 1930 | Poor | 5552.4019 | 5552.4019 | 13515 | 203 | 83.399
331 |  | 10 | 1678.0405 | 10 | Cast Iron | 1970 | Fair | 350710.4614 | 350710.4614 | 13515 | 1381 | 35836.5629
331 |  | 10 | 10 | 10 | Ductile Iron | 1970 | Fair | 22439.955 | 22439.955 | 13515 | 1381 | 2292.9765
331 |  | 10 | 9.9988 | 10 | C-900 PVC | 2004 | Good | 1389.8292 | 1389.8292 | 13515 | 7115 | 731.6785
331 |  | 12 | 1739.8855 | 12 | C-900 PVC | 2003 | Good | 247063.742 | 247063.742 | 13515 | 6694 | 122371.0462
331 |  | 12 | 638.2042 | 12 | C-900 PVC | 2010 | Good | 90624.9909 | 90624.9909 | 13515 | 8799 | 59001.7976
331 |  | 12 | 3465.3913 | 12 | C-900 PVC | 2013 | Excellent | 492085.5604 | 492085.5604 | 13515 | 9547 | 347609.3855
331 |  | 12 | 1963.9538 | 12 | C-900 PVC | 2015 | Excellent | 278881.4416 | 278881.4416 | 13515 | 10031 | 206989.252
331 |  | 12 | 1069.2901 | 12 | C-900 PVC | 2016 | Excellent | 151839.1885 | 151839.1885 | 13515 | 10339 | 116157.2601
331 |  | 12 | 1717.125 | 12 | C-900 PVC | 2018 | Excellent | 243831.7466 | 243831.7466 | 13515 | 11062 | 199575.7884
331 |  | 12 | 1666.2057 | 12 | C-900 PVC | 2020 | Excellent | 236601.2152 | 236601.2152 | 13515 | 11466 | 200730.2652
331 |  | 12 | 2353.7075 | 12 | C-900 PVC | 2022 | Excellent | 334226.4671 | 334226.4671 | 13515 | 13007 | 321663.6077
331 |  | 12 | 5346.6174 | 12 | C-900 PVC | 2023 | Excellent | 759219.6724 | 759219.6724 | 13515 | 13358 | 750400.0284
331 |  | 12 | 1851.3128 | 12 | Cast Iron | 1920 | Poor | 394329.6225 | 394329.6225 | 13515 | 251 | 7323.4728
331 |  | 12 | 119.0224 | 12 | Cast Iron | 1930 | Poor | 25351.7758 | 25351.7758 | 13515 | 203 | 380.7925
331 |  | 12 | 14.2394 | 12 | Cast Iron | 1960 | Fair | 3032.9913 | 3032.9913 | 13515 | 824 | 184.9193
331 |  | 12 | 233.4786 | 12 | Cast Iron | 1970 | Fair | 49730.9442 | 49730.9442 | 13515 | 1381 | 5081.6451
331 |  | 12 | 3096.735 | 12 | Ductile Iron | 1980 | Good | 771087.0132 | 771087.0132 | 13515 | 3237 | 184684.3257
331 |  | 12 | 3057.2714 | 12 | Ductile Iron | 1996 | Good | 761260.5835 | 761260.5835 | 13515 | 5620 | 316558.2301
331 |  | 12 | 6846.2966 | 12 | Ductile Iron | 1999 | Good | 1704727.8582 | 1704727.8582 | 13515 | 6059 | 764257.9425
331 |  | 12 | 2648.2093 | 12 | Ductile Iron | 2001 | Good | 659404.1262 | 659404.1262 | 13515 | 6343 | 309478.385
331 |  | 12 | 8131.3601 | 12 | Ductile Iron | 2004 | Good | 2024708.6746 | 2024708.6746 | 13515 | 7115 | 1065912.1139
331 |  | 12 | 556.9531 | 12 | Ductile Iron | 2007 | Good | 138681.3163 | 138681.3163 | 13515 | 7966 | 81741.4255
331 |  | 12 | 1503.1243 | 12 | Ductile Iron | 2008 | Good | 374277.9578 | 374277.9578 | 13515 | 8310 | 230133.1727
331 |  | 12 | 1596.9683 | 12 | Ductile Iron | 2010 | Good | 397645.1158 | 397645.1158 | 13515 | 8799 | 258888.5959
331 |  | 12 | 9.9998 | 12 | Ductile Iron | 1999 | Good | 2489.9587 | 2489.9587 | 13515 | 6059 | 1116.29
331 |  | 12 | 20 | 12 | Ductile Iron | 2003 | Good | 4980.0011 | 4980.0011 | 13515 | 6694 | 2466.6021
331 |  | 12 | 19.9969 | 12 | Ductile Iron | 2004 | Good | 4979.235 | 4979.235 | 13515 | 7115 | 2621.3287
331 |  | 12 | 144.0211 | 12 | Ductile Iron | 2010 | Good | 35861.2597 | 35861.2597 | 13515 | 8799 | 23347.6303
331 |  | 16 | 12.9305 | 16 | C-900 PVC | 2023 | Excellent | 1836.1281 | 1836.1281 | 13515 | 13358 | 1814.7983
331 |  | 16 | 31.1343 | 16 | Cast Iron | 1950 | Fair | 6631.5983 | 6631.5983 | 13515 | 510 | 250.249
331 |  | 16 | 222.8928 | 16 | Ductile Iron | 2018 | Excellent | 55500.3063 | 55500.3063 | 13515 | 11062 | 45426.8878
TOTAL Account No. 331 Transmission & Distribution Mains | [11 empty] | 14526526.451
Notes:
1. Mains from 1890 use the 1908 ENR number. ENR only extends back to 1908.

## 331-1 - Valves
Greenville Municipal Water Authority, Mercer County, Pennsylvania Original Cost of Water System March 2024 Account No. 331-1 Transmission & Distribution Mains - Valves
Account No. | Notes | ID | Quantity | Year Constructed | Current Evaluation | Current ENR Construction Cost Index | Old ENR Construction Cost Index | Original Cost
331-1 |  | Transmission & Distribution Mains - Valves
331-1 | 1 | 0.75 | 1 | 1940 | 850 | 13515 | 242 | 15.2201
331-1 | 1 | 0.75 | 1 | 1970 | 850 | 13515 | 1381 | 86.8553
331-1 | 1 | 1 | 2 | 1940 | 1700 | 13515 | 242 | 30.4403
331-1 | 1 | 1 | 1 | 1970 | 850 | 13515 | 1381 | 86.8553
331-1 | 1 | 1 | 1 | 2001 | 850 | 13515 | 6343 | 398.9308
331-1 | 1 | 1 | 1 | 2013 | 850 | 13515 | 9547 | 600.4403
331-1 | 1 | 2 | 5 | 1920 | 5600 | 13515 | 251 | 104.003
331-1 | 1 | 2 | 1 | 1930 | 1120 | 13515 | 203 | 16.8228
331-1 | 1 | 2 | 6 | 1940 | 6720 | 13515 | 242 | 120.3285
331-1 | 1 | 2 | 4 | 1960 | 4480 | 13515 | 824 | 273.1424
331-1 | 1 | 2 | 6 | 1970 | 6720 | 13515 | 1381 | 686.6681
331-1 | 1 | 2 | 1 | 1980 | 1120 | 13515 | 3237 | 268.2531
331-1 | 1 | 2 | 3 | 1985 | 3360 | 13515 | 4195 | 1042.9301
331-1 | 1 | 2 | 4 | 1990 | 4480 | 13515 | 4732 | 1568.5801
331-1 | 1 | 2 | 3 | 2000 | 3360 | 13515 | 6221 | 1546.6193
331-1 | 1 | 2 | 3 | 2003 | 3360 | 13515 | 6694 | 1664.2131
331-1 | 1 | 2 | 24 | 2013 | 26880 | 13515 | 9547 | 18988.04
331-1 | 1 | 2 | 11 | 2018 | 12320 | 13515 | 11062 | 10083.8949
331-1 | 1 | 2 | 2 | 2020 | 2240 | 13515 | 11466 | 1900.3951
331-1 | 1 | 2 | 3 | 2022 | 3360 | 13515 | 13007 | 3233.7048
331-1 | 1 | 2 | 2 | 2023 | 2240 | 13515 | 13358 | 2213.9785
331-1 | 1 | 3 | 1 | 1920 | 1400 | 13515 | 251 | 26.0007
331-1 | 1 | 3 | 1 | 2015 | 1400 | 13515 | 10031 | 1039.0973
331-1 | 1,2 | 4 | 8 | 1890 | 15200 | 13515 | 97 | 109.0936
331-1 | 1 | 4 | 14 | 1920 | 26600 | 13515 | 251 | 494.0141
331-1 | 1 | 4 | 11 | 1930 | 20900 | 13515 | 203 | 313.9253
331-1 | 1 | 4 | 13 | 1940 | 24700 | 13515 | 242 | 442.2789
331-1 | 1 | 4 | 1 | 1950 | 1900 | 13515 | 510 | 71.6981
331-1 | 1 | 4 | 10 | 1970 | 19000 | 13515 | 1381 | 1941.4724
331-1 | 1 | 4 | 4 | 1980 | 7600 | 13515 | 3237 | 1820.2886
331-1 | 1 | 4 | 1 | 1996 | 1900 | 13515 | 5620 | 790.0851
331-1 | 1 | 4 | 2 | 2001 | 3800 | 13515 | 6343 | 1783.4554
331-1 | 1 | 4 | 1 | 2007 | 1900 | 13515 | 7966 | 1119.8964
331-1 | 1 | 4 | 4 | 2008 | 7600 | 13515 | 8310 | 4673.03
331-1 | 1 | 4 | 2 | 2013 | 3800 | 13515 | 9547 | 2684.3211
331-1 | 1 | 4 | 1 | 2015 | 1900 | 13515 | 10031 | 1410.2035
331-1 | 1 | 4 | 3 | 2018 | 5700 | 13515 | 11062 | 4665.4384
331-1 | 1 | 4 | 5 | 2020 | 9500 | 13515 | 11466 | 8059.7114
331-1 | 1 | 4 | 8 | 2022 | 15200 | 13515 | 13007 | 14628.6644
331-1 | 1 | 4 | 1 | 2023 | 1900 | 13515 | 13358 | 1877.9282
331-1 | 1,2 | 6 | 1 | 1890 | 2200 | 13515 | 97 | 15.7899
331-1 | 1 | 6 | 18 | 1920 | 39600 | 13515 | 251 | 735.4495
331-1 | 1 | 6 | 8 | 1930 | 17600 | 13515 | 203 | 264.3581
331-1 | 1 | 6 | 18 | 1940 | 39600 | 13515 | 242 | 709.0788
331-1 | 1 | 6 | 6 | 1950 | 13200 | 13515 | 510 | 498.1132
331-1 | 1 | 6 | 15 | 1960 | 33000 | 13515 | 824 | 2011.9867
331-1 | 1 | 6 | 42 | 1970 | 92400 | 13515 | 1381 | 9441.687
331-1 | 1 | 6 | 5 | 1980 | 11000 | 13515 | 3237 | 2634.6282
331-1 | 1 | 6 | 3 | 1996 | 6600 | 13515 | 5620 | 2744.5061
331-1 | 1 | 6 | 6 | 1999 | 13200 | 13515 | 6059 | 5917.7802
331-1 | 1 | 6 | 2 | 2001 | 4400 | 13515 | 6343 | 2065.0536
331-1 | 1 | 6 | 5 | 2008 | 11000 | 13515 | 8310 | 6763.596
331-1 | 1 | 6 | 2 | 2010 | 4400 | 13515 | 8799 | 2864.6393
331-1 | 1 | 6 | 83 | 2013 | 182600 | 13515 | 9547 | 128988.694
331-1 | 1 | 6 | 2 | 2014 | 4400 | 13515 | 9807 | 3192.808
331-1 | 1 | 6 | 1 | 2015 | 2200 | 13515 | 10031 | 1632.8672
331-1 | 1 | 6 | 16 | 2018 | 35200 | 13515 | 11062 | 28811.1284
331-1 | 1 | 6 | 8 | 2020 | 17600 | 13515 | 11466 | 14931.6759
331-1 | 1 | 6 | 21 | 2022 | 46200 | 13515 | 13007 | 44463.4406
331-1 | 1 | 6 | 3 | 2023 | 6600 | 13515 | 13358 | 6523.3296
331-1 | 1 | 8 | 2 | 1890 | 5600 | 13515 | 97 | 40.1924
331-1 | 1 | 8 | 3 | 1920 | 8400 | 13515 | 251 | 156.0044
331-1 | 1 | 8 | 3 | 1930 | 8400 | 13515 | 203 | 126.1709
331-1 | 1 | 8 | 4 | 1950 | 11200 | 13515 | 510 | 422.6415
331-1 | 1 | 8 | 4 | 1960 | 11200 | 13515 | 824 | 682.8561
331-1 | 1 | 8 | 22 | 1970 | 61600 | 13515 | 1381 | 6294.458
331-1 | 1 | 8 | 6 | 1980 | 16800 | 13515 | 3237 | 4023.7958
331-1 | 1 | 8 | 7 | 1990 | 19600 | 13515 | 4732 | 6862.5379
331-1 | 1 | 8 | 2 | 1996 | 5600 | 13515 | 5620 | 2328.6718
331-1 | 1 | 8 | 5 | 1999 | 14000 | 13515 | 6059 | 6276.4336
331-1 | 1 | 8 | 7 | 2001 | 19600 | 13515 | 6343 | 9198.8753
331-1 | 1 | 8 | 10 | 2003 | 28000 | 13515 | 6694 | 13868.4425
331-1 | 1 | 8 | 1 | 2007 | 2800 | 13515 | 7966 | 1650.3737
331-1 | 1 | 8 | 2 | 2008 | 5600 | 13515 | 8310 | 3443.2852
331-1 | 1 | 8 | 39 | 2013 | 109200 | 13515 | 9547 | 77138.9123
331-1 | 1 | 8 | 8 | 2014 | 22400 | 13515 | 9807 | 16254.2952
331-1 | 1 | 8 | 6 | 2015 | 16800 | 13515 | 10031 | 12469.1676
331-1 | 1 | 8 | 26 | 2018 | 72800 | 13515 | 11062 | 59586.6519
331-1 | 1 | 8 | 12 | 2020 | 33600 | 13515 | 11466 | 28505.9267
331-1 | 1 | 8 | 18 | 2022 | 50400 | 13515 | 13007 | 48505.5716
331-1 | 1 | 8 | 6 | 2023 | 16800 | 13515 | 13358 | 16604.8391
331-1 | 1 | 10 | 1 | 1930 | 3300 | 13515 | 203 | 49.5671
331-1 | 1 | 10 | 1 | 1970 | 3300 | 13515 | 1381 | 337.2031
331-1 | 1 | 10 | 1 | 2022 | 3300 | 13515 | 13007 | 3175.96
331-1 | 1 | 10 | 5 | 2023 | 16500 | 13515 | 13358 | 16308.3241
331-1 | 1 | 12 | 9 | 1920 | 41400 | 13515 | 251 | 768.879
331-1 | 1 | 12 | 4 | 1930 | 18400 | 13515 | 203 | 276.3744
331-1 | 1 | 12 | 1 | 1960 | 4600 | 13515 | 824 | 280.4587
331-1 | 1 | 12 | 3 | 1970 | 13800 | 13515 | 1381 | 1410.1221
331-1 | 1 | 12 | 6 | 1980 | 27600 | 13515 | 3237 | 6610.5216
331-1 | 1 | 12 | 3 | 1996 | 13800 | 13515 | 5620 | 5738.5128
331-1 | 1 | 12 | 12 | 1999 | 55200 | 13515 | 6059 | 24747.081
331-1 | 1 | 12 | 3 | 2001 | 13800 | 13515 | 6343 | 6476.7592
331-1 | 1 | 12 | 3 | 2003 | 13800 | 13515 | 6694 | 6835.1609
331-1 | 1 | 12 | 6 | 2004 | 27600 | 13515 | 7115 | 14530.0777
331-1 | 1 | 12 | 4 | 2007 | 18400 | 13515 | 7966 | 10845.3126
331-1 | 1 | 12 | 7 | 2008 | 32200 | 13515 | 8310 | 19798.8901
331-1 | 1 | 12 | 8 | 2010 | 36800 | 13515 | 8799 | 23958.8013
331-1 | 1 | 12 | 4 | 2013 | 18400 | 13515 | 9547 | 12997.7654
331-1 | 1 | 12 | 6 | 2015 | 27600 | 13515 | 10031 | 20485.061
331-1 | 1 | 12 | 4 | 2016 | 18400 | 13515 | 10339 | 14076.034
331-1 | 1 | 12 | 3 | 2018 | 13800 | 13515 | 11062 | 11295.2719
331-1 | 1 | 12 | 9 | 2020 | 41400 | 13515 | 11466 | 35123.374
331-1 | 1 | 12 | 14 | 2022 | 64400 | 13515 | 13007 | 61979.3415
331-1 | 1 | 12 | 11 | 2023 | 50600 | 13515 | 13358 | 50012.1939
331-1 | 1 | 16 | 2 | 2018 | 11000 | 13515 | 11062 | 9003.4776
331-1 | 1 | 16 | 1 | 2023 | 5500 | 13515 | 13358 | 5436.108
TOTAL Account No. 331-1 Transmission & Distribution Mains - Valves | [7 empty] | 1035088.2664
Notes:
1. Install year for valves has been estimated based on the approximate age of the main.
2. Valves from 1890 use the 1908 ENR number. ENR only extends back to 1908.

## 335- Hydrants
Greenville Municipal Water Authroity, Mercer County, Pennsylvania Original Cost of Water System March 2024 Account No. 335 Hydrants
Account No. | Notes | Description | Count | Year Constructed | Hydrant Cost | Current Evaluation | Current ENR Construction Cost Index | Old ENR Construction Cost Index | Original Cost
335 |  | Hydrants
335 | 1,2 | Hydrants | 8 | 1890 | 6400 | 51200 | 13515 | 97 | 367.4732
335 | 1 | Hydrants | 13 | 1920 | 6400 | 83200 | 13515 | 251 | 1545.1868
335 | 1 | Hydrants | 5 | 1930 | 6400 | 32000 | 13515 | 203 | 480.6511
335 | 1 | Hydrants | 8 | 1940 | 6400 | 51200 | 13515 | 242 | 916.7888
335 | 1 | Hydrants | 3 | 1950 | 6400 | 19200 | 13515 | 510 | 724.5283
335 | 1 | Hydrants | 8 | 1960 | 6400 | 51200 | 13515 | 824 | 3121.6278
335 | 1 | Hydrants | 29 | 1970 | 6400 | 185600 | 13515 | 1381 | 18965.1202
335 | 1 | Hydrants | 11 | 1980 | 6400 | 70400 | 13515 | 3237 | 16861.6204
335 | 1 | Hydrants | 5 | 1990 | 6400 | 32000 | 13515 | 4732 | 11204.1435
335 | 1 | Hydrants | 4 | 1996 | 6400 | 25600 | 13515 | 5620 | 10645.357
335 | 1 | Hydrants | 10 | 1999 | 6400 | 64000 | 13515 | 6059 | 28692.2679
335 | 1 | Hydrants | 1 | 2001 | 6400 | 6400 | 13515 | 6343 | 3003.7144
335 | 1 | Hydrants | 9 | 2003 | 6400 | 57600 | 13515 | 6694 | 28529.3674
335 | 1 | Hydrants | 4 | 2004 | 6400 | 25600 | 13515 | 7115 | 13477.1735
335 | 1 | Hydrants | 5 | 2008 | 6400 | 32000 | 13515 | 8310 | 19675.9156
335 | 1 | Hydrants | 5 | 2010 | 6400 | 32000 | 13515 | 8799 | 20833.7403
335 | 1 | Hydrants | 37 | 2013 | 6400 | 236800 | 13515 | 9547 | 167275.5901
335 | 1 | Hydrants | 4 | 2014 | 6400 | 25600 | 13515 | 9807 | 18576.3374
335 | 1 | Hydrants | 4 | 2015 | 6400 | 25600 | 13515 | 10031 | 19000.6363
335 | 1 | Hydrants | 2 | 2016 | 6400 | 12800 | 13515 | 10339 | 9792.0237
335 | 1 | Hydrants | 17 | 2018 | 6400 | 108800 | 13515 | 11062 | 89052.5786
335 | 1 | Hydrants | 4 | 2020 | 6400 | 25600 | 13515 | 11466 | 21718.8013
335 | 1 | Hydrants | 11 | 2022 | 6400 | 70400 | 13515 | 13007 | 67753.8143
335 | 1 | Hydrants | 5 | 2023 | 6400 | 32000 | 13515 | 13358 | 31628.2649
TOTAL Account No. 335 Hydrants | [8 empty] | 603842.7229
Notes:
1. Install year for hydrants has been estimated based on the approximate age of the main.
2. Hydrants from 1890 use the 1908 ENR number. ENR only extends back to 1908.

## 311-Pumping Equipment
Greenville Municipal Water Authority, Mercer County, Pennsylvania Original Cost of Water System March 2024 Account No. 311 Pumping Equipment
Account No. | Notes | Description | Year Constructed | Quantity | Units | Unit Price | Current Evaluation | Current ENR Construction Cost Index | Old ENR Construction Cost Index | Original Cost
311 |  | Pumping Equipment
311 | 1 | Booster Station Relocation | 2024 | 1 | EA | 0 | 0 | --- | --- | 749500
TOTAL Account No. 311 Pumping Equipment | [9 empty] | 749500
Notes:
1. No current value estimated, original purchase price is provided.

## 330- Tanks
Greenville Municipal Water Authority, Mercer County, Pennsylvania Original Cost of Water System March 2024 Account No. 330 Distribution Reservoirs & Standpipes
Account No. | Notes | Description | Year Constructed | Quantity | Units | Unit Price | Current Evaluation | Current ENR Construction Cost Index | Old ENR Construction Cost Index | Original Cost
330 |  | Distribution Reservoirs & Standpipes
330 |  | East Tank #1 (0.250 MG)
| 1 | Constructed | 1977 | 1 | EA | 696383 | 696383 | 13515 | 2576 | 132732.7124
| 1 | Tideflex Mixer | 2014 | 1 | EA |  |  | 13515 | 9807
330 |  | East Tank #2 (1.0 MG)
| 1 | Constructed | 2011 | 1 | EA | 1679288 | 1679288 | 13515 | 9070 | 1126980.552
| 1 | GridBee Mixer | 2018 | 1 | EA |  |  | 13515 | 11062
330 |  | West Tank (0.255 MG)
| 1 | Constructed | 1914 | 1 | EA | 515867 | 515867 | 13515 | 89 | 3397.1264
330 |  | South Tank (0.750 MG)
| 1 | Constructed | 1953 | 1 | EA | 1074744 | 1074744 | 13515 | 600 | 47713.3851
| 1 | GridBee Mixer | 2018 | 1 | EA |  |  | 13515 | 11062
330 |  | North Tank (0.750 MG) |  |  |  |  | 0
| 1 | Constructed | 1953 | 1 | EA | 1074744 | 1074744 | 13515 | 600 | 47713.3851
| 1 | GridBee Mixer | 2018 | 1 | EA |  |  | 13515 | 11062
TOTAL Account No. 330 Distribution Reservoirs & Standpipes | [9 empty] | 1358537.161
Notes:
1. EA - Each

## 333-Service Lines
Greenville Municipal Water Authority, Mercer County, Pennsylvania Original Cost of Water System April 2024 Account No.333 Service Lines - REVISION 1
Account No. | Notes | ID | Length (LF) | Diameter (in) | Pipe Material | Count | Year Constructed | Estimated Installation Cost per Linear Foot | Current Evaluation | Current ENR Construction Cost Index | Old ENR Construction Cost Index | Original Cost
333 |  | Services
333 | 1,2,3 | 0.75 | 1350 | 0.75 | Lead | 90 | 1890 | 0 | 0 | 13515 | 97 | 0
333 | 1,2 | 0.75 | 1650 | 0.75 | Lead | 110 | 1920 | 0 | 0 | 13515 | 251 | 0
333 | 1,2 | 0.75 | 90 | 0.75 | Lead | 6 | 1930 | 0 | 0 | 13515 | 203 | 0
333 | 1,4,6 | 0.75 | 1230 | 0.75 | Copper | 82 | 1930 | 66 | 81180 | 13515 | 203 | 1219.3518
333 | 1,4,6 | 0.75 | 3120 | 0.75 | Copper | 208 | 1940 | 66 | 205920 | 13515 | 242 | 3687.2098
333 | 1,4,6 | 0.75 | 1230 | 0.75 | Copper | 82 | 1950 | 66 | 81180 | 13515 | 510 | 3063.3962
333 | 1,4,6 | 0.75 | 1170 | 0.75 | Copper | 78 | 1960 | 66 | 77220 | 13515 | 824 | 4708.0488
333 | 1,4,6 | 0.75 | 5700 | 0.75 | Copper | 380 | 1970 | 66 | 376200 | 13515 | 1381 | 38441.1543
333 | 1,4,6 | 0.75 | 1995 | 0.75 | Copper | 133 | 1980 | 66 | 131670 | 13515 | 3237 | 31536.4994
333 | 1,4,6 | 0.75 | 45 | 0.75 | Copper | 3 | 1985 | 66 | 2970 | 13515 | 4195 | 921.8757
333 | 1,4,6 | 0.75 | 465 | 0.75 | Copper | 31 | 1990 | 66 | 30690 | 13515 | 4732 | 10745.4739
333 | 1,4,6 | 0.75 | 660 | 0.75 | Copper | 44 | 1996 | 66 | 43560 | 13515 | 5620 | 18113.7403
333 | 1,4,6 | 0.75 | 150 | 0.75 | Copper | 10 | 1999 | 66 | 9900 | 13515 | 6059 | 4438.3352
333 | 1,4,6 | 0.75 | 135 | 0.75 | Copper | 9 | 2000 | 66 | 8910 | 13515 | 6221 | 4101.303
333 | 1,4,6 | 0.75 | 225 | 0.75 | Copper | 15 | 2001 | 66 | 14850 | 13515 | 6343 | 6969.556
333 | 1,4,6 | 0.75 | 630 | 0.75 | Copper | 42 | 2003 | 66 | 41580 | 13515 | 6694 | 20594.6371
333 | 1,4,6 | 0.75 | 360 | 0.75 | Copper | 24 | 2004 | 66 | 23760 | 13515 | 7115 | 12508.5017
333 | 1,4,6 | 0.75 | 1725 | 0.75 | Copper | 115 | 2008 | 66 | 113850 | 13515 | 8310 | 70003.2186
333 | 1,4,6 | 0.75 | 9105 | 0.75 | Copper | 607 | 2013 | 66 | 600930 | 13515 | 9547 | 424497.1299
333 | 1,4,6 | 0.75 | 345 | 0.75 | Copper | 23 | 2015 | 66 | 22770 | 13515 | 10031 | 16900.1754
333 | 1,4,6 | 0.75 | 1275 | 0.75 | Copper | 85 | 2018 | 66 | 84150 | 13515 | 11062 | 68876.6038
333 | 1,4,6 | 0.75 | 1155 | 0.75 | Copper | 77 | 2020 | 66 | 76230 | 13515 | 11466 | 64672.8213
333 | 1,4,6 | 0.75 | 2895 | 0.75 | Copper | 193 | 2022 | 66 | 191070 | 13515 | 13007 | 183888.0866
333 | 1,4,6 | 0.75 | 2010 | 0.75 | Copper | 134 | 2023 | 66 | 132660 | 13515 | 13358 | 131118.9256
333 | 5 | 0.75 | 3 | 0.75 | Poly | 1 | 1999 | 44 | 132 | 13515 | 6059 | 59.1778
334 | 5,6 | 1 | 15 | 1 | Poly | 1 | 2016 | 44 | 660 | 13515 | 10339 | 504.9012
335 | 5 | 1 | 397 | 1 | Poly | 3 | 2020 | 44 | 17468 | 13515 | 11466 | 14819.6883
336 | 5 | 2 | 33.5 | 2 | Poly | 1 | 2018 | 66 | 2211 | 13515 | 11062 | 1809.699
337 | 5 | 2 | 76.5 | 2 | Poly | 2 | 2022 | 66 | 5049 | 13515 | 13007 | 4859.2189
338 | 5 | 2 | 2 | 2 | Poly | 5 | 2023 | 66 | 132 | 13515 | 13358 | 130.4666
333 | 5,6 | 0.75 | 15 | 0.75 | Black Plastic | 1 | 2013 | 44 | 660 | 13515 | 9547 | 466.2242
333 | 5 | 2 | 2 | 2 | Brass | 1 | 1950 | 99 | 198 | 13515 | 510 | 7.4717
333 | 5 | 4 | 4 | 4 | C900 | 2 | 2020 | 108 | 432 | 13515 | 11466 | 366.5048
333 | 5 | 6 | 4 | 6 | C900 | 2 | 2013 | 113 | 452 | 13515 | 9547 | 319.2929
333 | 5,6 | 8 | 15 | 8 | C900 | 1 | 2013 | 139 | 2085 | 13515 | 9547 | 1472.8446
333 | 5,6 | 8 | 15 | 8 | C900 | 1 | 2015 | 139 | 2085 | 13515 | 10031 | 1547.5128
333 | 5,6 | 8 | 15 | 8 | C900 | 1 | 2023 | 139 | 2085 | 13515 | 13358 | 2060.7791
333 | 5,6 | 6 | 15 | 6 | C909 | 1 | 2022 | 113 | 1695 | 13515 | 13007 | 1631.2886
333 | 5 | 2 | 48 | 2 | Cast Iron | 2 | 1920 | 99 | 4752 | 13515 | 251 | 88.2539
333 | 5,6 | 4 | 30 | 4 | Cast Iron | 2 | 2001 | 162 | 4860 | 13515 | 6343 | 2280.9456
333 | 5 | 6 | 19 | 6 | Cast Iron | 2 | 1940 | 170 | 3230 | 13515 | 242 | 57.8365
333 | 5,6 | 6 | 30 | 6 | Cast Iron | 2 | 1970 | 170 | 5100 | 13515 | 1381 | 521.1321
333 | 5,6 | 6 | 30 | 6 | Cast Iron | 2 | 2001 | 170 | 5100 | 13515 | 6343 | 2393.5849
333 | 5,6 | 8 | 15 | 8 | Cast Iron | 1 | 1970 | 177 | 2655 | 13515 | 1381 | 271.2952
333 | 5,6 | 8 | 15 | 8 | Cast Iron | 1 | 2015 | 177 | 2655 | 13515 | 10031 | 1970.5738
333 | 5,6 | 8 | 15 | 8 | Cast Iron | 1 | 2020 | 177 | 2655 | 13515 | 11466 | 2252.4772
333 | 3,5 | 0.75 | 55 | 0.75 | Copper | 2 | 1890 | 66 | 3630 | 13515 | 97 | 26.0533
333 | 5 | 0.75 | 1110 | 0.75 | Copper | 75 | 1920 | 66 | 73260 | 13515 | 251 | 1360.5816
333 | 5 | 0.75 | 12 | 0.75 | Copper | 1 | 1930 | 66 | 792 | 13515 | 203 | 11.8961
333 | 5 | 0.75 | 42 | 0.75 | Copper | 4 | 1940 | 66 | 2772 | 13515 | 242 | 49.6355
333 | 5 | 0.75 | 99 | 0.75 | Copper | 7 | 1950 | 66 | 6534 | 13515 | 510 | 246.566
333 | 5 | 0.75 | 55 | 0.75 | Copper | 1 | 1970 | 66 | 3630 | 13515 | 1381 | 370.9234
333 | 5 | 0.75 | 77 | 0.75 | Copper | 7 | 1980 | 66 | 5082 | 13515 | 3237 | 1217.1982
333 | 5 | 0.75 | 18 | 0.75 | Copper | 3 | 1990 | 66 | 1188 | 13515 | 4732 | 415.9538
333 | 5 | 0.75 | 55 | 0.75 | Copper | 3 | 1996 | 66 | 3630 | 13515 | 5620 | 1509.4784
333 | 5 | 0.75 | 155 | 0.75 | Copper | 7 | 1999 | 66 | 10230 | 13515 | 6059 | 4586.2797
333 | 5 | 0.75 | 32 | 0.75 | Copper | 1 | 2001 | 66 | 2112 | 13515 | 6343 | 991.2257
333 | 5 | 0.75 | 81 | 0.75 | Copper | 10 | 2008 | 66 | 5346 | 13515 | 8310 | 3287.1077
333 | 5 | 0.75 | 215 | 0.75 | Copper | 7 | 2013 | 66 | 14190 | 13515 | 9547 | 10023.8202
333 | 5 | 0.75 | 132 | 0.75 | Copper | 3 | 2015 | 66 | 8712 | 13515 | 10031 | 6466.1541
333 | 5 | 0.75 | 142 | 0.75 | Copper | 2 | 2016 | 66 | 9372 | 13515 | 10339 | 7169.5973
333 | 5 | 0.75 | 4 | 0.75 | Copper | 2 | 2018 | 66 | 264 | 13515 | 11062 | 216.0835
333 | 5 | 0.75 | 194 | 0.75 | Copper | 11 | 2020 | 66 | 12804 | 13515 | 11466 | 10862.7942
333 | 5 | 0.75 | 53 | 0.75 | Copper | 2 | 2022 | 66 | 3498 | 13515 | 13007 | 3366.5176
333 | 5 | 0.75 | 152 | 0.75 | Copper | 8 | 2023 | 66 | 10032 | 13515 | 13358 | 9915.461
333 | 5 | 1 | 298 | 1 | Copper | 22 | 1920 | 80 | 23840 | 13515 | 251 | 442.7555
333 | 5,6 | 1 | 15 | 1 | Copper | 1 | 1930 | 80 | 1200 | 13515 | 203 | 18.0244
333 | 5 | 1 | 49 | 1 | Copper | 3 | 1950 | 80 | 3920 | 13515 | 510 | 147.9245
333 | 5 | 1 | 122 | 1 | Copper | 15 | 1970 | 80 | 9760 | 13515 | 1381 | 997.3037
333 | 5 | 1 | 66 | 1 | Copper | 3 | 1980 | 80 | 5280 | 13515 | 3237 | 1264.6215
333 | 5 | 1 | 77 | 1 | Copper | 4 | 1990 | 80 | 6160 | 13515 | 4732 | 2156.7976
333 | 5 | 1 | 86 | 1 | Copper | 2 | 1996 | 80 | 6880 | 13515 | 5620 | 2860.9397
333 | 5 | 1 | 201 | 1 | Copper | 14 | 1999 | 80 | 16080 | 13515 | 6059 | 7208.9323
333 | 5 | 1 | 22 | 1 | Copper | 7 | 2001 | 80 | 1760 | 13515 | 6343 | 826.0215
333 | 5 | 1 | 194 | 1 | Copper | 7 | 2008 | 80 | 15520 | 13515 | 8310 | 9542.8191
333 | 5,6 | 1 | 30 | 1 | Copper | 2 | 2016 | 80 | 2400 | 13515 | 10339 | 1836.0044
333 | 5 | 1 | 3 | 1 | Copper | 1 | 2018 | 80 | 240 | 13515 | 11062 | 196.4395
333 | 5 | 1 | 433 | 1 | Copper | 23 | 2020 | 80 | 34640 | 13515 | 11466 | 29388.2531
333 | 5 | 1 | 28 | 1 | Copper | 2 | 2023 | 80 | 2240 | 13515 | 13358 | 2213.9785
333 | 5,6 | 1.5 | 15 | 1.5 | Copper | 1 | 2016 | 90 | 1350 | 13515 | 10339 | 1032.7525
334 | 3,5 | 2 | 3 | 2 | Copper | 5 | 1890 | 120 | 360 | 13515 | 97 | 2.5838
333 | 5 | 2 | 24 | 2 | Copper | 2 | 1920 | 120 | 2880 | 13515 | 251 | 53.4872
333 | 5,6 | 2 | 45 | 2 | Copper | 3 | 1970 | 120 | 5400 | 13515 | 1381 | 551.7869
333 | 5,6 | 2 | 60 | 2 | Copper | 4 | 1999 | 120 | 7200 | 13515 | 6059 | 3227.8801
333 | 5,6 | 2 | 15 | 2 | Copper | 1 | 2015 | 120 | 1800 | 13515 | 10031 | 1335.9822
333 | 5 | 2 | 37 | 2 | Copper | 1 | 2020 | 120 | 4440 | 13515 | 11466 | 3766.8546
333 | 5,6 | 6 | 15 | 6 | Ductile Iron | 1 | 1999 | 198 | 2970 | 13515 | 6059 | 1331.5006
333 | 5 | 6 | 6 | 6 | Ductile Iron | 2 | 2020 | 198 | 1188 | 13515 | 11466 | 1007.8881
333 | 3,5,6 | 8 | 15 | 8 | Ductile Iron | 1 | 1890 | 207 | 3105 | 13515 | 97 | 22.2852
333 | 5,6 | 8 | 90 | 8 | Ductile Iron | 6 | 1999 | 207 | 18630 | 13515 | 6059 | 8352.1398
333 | 5,6 | 8 | 15 | 8 | Ductile Iron | 1 | 2001 | 207 | 3105 | 13515 | 6343 | 1457.2708
333 | 5 | 0.75 | 27 | 0.75 | Galvanized | 1 | 1920 | 65 | 1755 | 13515 | 251 | 32.5938
333 | 5,6 | 3 | 105 | 3 | Galvanized | 7 | 1970 | 131 | 13755 | 13515 | 1381 | 1405.5239
333 | 5,6 | 2 | 15 | 2 | HDPE | 1 | 2015 | 66 | 990 | 13515 | 10031 | 734.7902
333 | 5,6 | 2 | 15 | 2 | Iron Pipe | 1 | 2020 | 116 | 1740 | 13515 | 11466 | 1476.1998
333 | 1,2 | 0.625 | 61 | 0.625 | Lead | 5 | 1920 | 0 | 0 | 13515 | 251 | 0
333 | 1,2 | 0.75 | 33 | 0.75 | Lead | 6 | 1920 | 0 | 0 | 13515 | 251 | 0
333 | 1,2 | 1 | 37 | 1 | Lead | 1 | 1920 | 0 | 0 | 13515 | 251 | 0
333 | 1,2 | 2 | 38 | 2 | Lead | 2 | 1920 | 0 | 0 | 13515 | 251 | 0
333 | 5,6 | 2 | 0 | 2 | PVC | 1 | 2016 | 66 | 0 | 13515 | 10339 | 0
333 | 5,6 | 4 | 15 | 4 | PVC | 1 | 2020 | 108 | 1620 | 13515 | 114666 | 13744.6482
TOTAL Account No. 333 Services | [11 empty] | 1321627.5248
Notes:
1. Service line age has been approximated by the age of the main to which the service connects, except where appropriate based upon known material of construction.
2. Lead services have been identified as having no installation cost as their installation is no longer allowed.
3. Services from 1890 use the 1908 ENR number. ENR only extends back to 1908.
4. Where material is unknown, residential services have been assumed to be 3/4" Copper Services.
5. Service line serves an industrial or commercial user.
6. Where total linear footage was unavailable, an average service length of 15' has been assumed.

## 341-Vehicles
Greenville Municipal Water Authority, Mercer County, Pennsylvania Original Cost of Water System March 2024 Account No. 341 Transportation Equipment
Account No. | Notes | Description | VIN | Year Constructed | Quantity | Units | Unit Price | Original Cost
Transportation Equipment
341 | 1 | F-150 Super Cab 4X4 Pickup Truck-68,000 miles | 1FTEX1EM6DFC36383 | 2013 | 1 | EA | 12899 | 30000
341 | 1 | F-150 Super Cab 4X4 Pickup Truck-57,000 miles | 1FTEX1EP6HFB90361 | 2017 | 1 | EA | 19083 | 37080
341 | 1 | F-150 Super Cab 4X4 Pickup Truck-10,800 miles | 1FTEX1EP3MKD59219 | 2021 | 1 | EA | 33066 | 39834
341 | 1,2 | F-550 Dump Truck | 1FDAF56S8XEB25409 | 1999 | 1 | EA |  | 27170
341 | 1,2 | F-550 Dump Truck | 1FDUF5HY0JEC10623 | 2018 | 1 | EA |  | 37550
341 | 1,3 | Parker Trailer | 13ZHS101181001086 | 2007 | 1 | EA |  | 3000
TOTAL Account No. 341 Transportation Equipment | [7 empty] | 174634
Notes:
1. EA -Each
2. No current cost estimated, original MSRP listed
3. Estimated original MSRP based on comparable trailers on the market. Tow behind, single axle, 2,995 GVWR

## 310-Power Generation
Greenville Municipal Water Authority, Mercer County, Pennsylvania Original Cost of Water System March 2024 Account No. 310 Power Generation Equipment
Account No. | Notes | Description | Year Constructed | Quantity | Units | Unit Price | Current Evaluation | Current ENR Construction Cost Index | Old ENR Construction Cost Index | Original Cost
Power Generation Equipment
310 | 1 | John Deere 200 KW Tagalong Diesel Generator | 2020 | 1 | EA | 112739 | 112739 | 13515 | 11466 | 95646.7165
TOTAL Account No. 310 Power Generation Equipment | [9 empty] | 95646.7165
Notes:
1. EA - Each

## ENR Index
ENR'S CONSTRUCTION COST INDEX HISTORY (1990-2024)
Year | January | February | March | April | May | June | July | August | September | October | November | December | Annual Average
1990 | 4680 | 4685 | 4691 | 4693 | 4707 | 4732 | 4734 | 4752 | 4774 | 4771 | 4787 | 4777 | 4732
1991 | 4777 | 4773 | 4772 | 4766 | 4801 | 4818 | 4854 | 4892 | 4891 | 4892 | 4896 | 4889 | 4835
1992 | 4888 | 4884 | 4927 | 4946 | 4965 | 4973 | 4992 | 5032 | 5042 | 5052 | 5058 | 5059 | 4985
1993 | 5071 | 5070 | 5106 | 5167 | 5262 | 5260 | 5252 | 5230 | 5255 | 5264 | 5278 | 5310 | 5210
1994 | 5336 | 5371 | 5381 | 5405 | 5405 | 5408 | 5409 | 5424 | 5437 | 5437 | 5439 | 5439 | 5408
1995 | 5443 | 5444 | 5435 | 5432 | 5433 | 5432 | 5484 | 5506 | 5491 | 5511 | 5519 | 5524 | 5471
1996 | 5523 | 5532 | 5537 | 5550 | 5572 | 5597 | 5617 | 5652 | 5683 | 5719 | 5740 | 5744 | 5620
1997 | 5765 | 5769 | 5759 | 5799 | 5837 | 5860 | 5863 | 5854 | 5851 | 5848 | 5838 | 5858 | 5826
1998 | 5852 | 5874 | 5875 | 5883 | 5881 | 5895 | 5921 | 5929 | 5963 | 5986 | 5995 | 5991 | 5920
1999 | 6000 | 5992 | 5986 | 6008 | 6006 | 6039 | 6076 | 6091 | 6128 | 6134 | 6127 | 6127 | 6059
2000 | 6130 | 6160 | 6202 | 6201 | 6233 | 6238 | 6225 | 6233 | 6224 | 6259 | 6266 | 6283 | 6221
2001 | 6281 | 6272 | 6279 | 6286 | 6288 | 6318 | 6404 | 6389 | 6391 | 6397 | 6410 | 6390 | 6343
2002 | 6462 | 6462 | 6502 | 6480 | 6512 | 6532 | 6605 | 6592 | 6589 | 6579 | 6578 | 6563 | 6538
2003 | 6581 | 6640 | 6627 | 6635 | 6642 | 6694 | 6695 | 6733 | 6741 | 6771 | 6794 | 6782 | 6694
2004 | 6825 | 6862 | 6957 | 7017 | 7065 | 7109 | 7126 | 7188 | 7298 | 7314 | 7312 | 7308 | 7115
2005 | 7297 | 7298 | 7309 | 7355 | 7398 | 7415 | 7422 | 7479 | 7540 | 7563 | 7630 | 7647 | 7446
2006 | 7660 | 7689 | 7692 | 7695 | 7691 | 7700 | 7721 | 7722 | 7763 | 7883 | 7911 | 7888 | 7751
2007 | 7880 | 7880 | 7856 | 7865 | 7942 | 7939 | 7959 | 8007 | 8050 | 8045 | 8092 | 8089 | 7966
2008 | 8090 | 8094 | 8109 | 8112 | 8141 | 8185 | 8293 | 8362 | 8557 | 8623 | 8602 | 8551 | 8310
2009 | 8549 | 8533 | 8534 | 8528 | 8574 | 8578 | 8566 | 8564 | 8586 | 8596 | 8592 | 8641 | 8570
2010 | 8660 | 8672 | 8671 | 8677 | 8761 | 8805 | 8844 | 8837 | 8836 | 8921 | 8951 | 8952 | 8799
2011 | 8938 | 8998 | 9011 | 9027 | 9035 | 9053 | 9080 | 9088 | 9116 | 9147 | 9173 | 9172 | 9070
2012 | 9176 | 9198 | 9268 | 9273 | 9290 | 9291 | 9324 | 9351 | 9341 | 9376 | 9398 | 9412 | 9308
2013 | 9437 | 9453 | 9456 | 9484 | 9516 | 9542 | 9552 | 9545 | 9552 | 9689 | 9666 | 9668 | 9547
2014 | 9664 | 9681 | 9702 | 9750 | 9796 | 9800 | 9835 | 9846 | 9870 | 9886 | 9912 | 9936 | 9807
2015 | 9972 | 9962 | 9972 | 9992 | 9979 | 10039 | 10037 | 10039 | 10065 | 10128 | 10092 | 10092 | 10031
2016 | 10133 | 10182 | 10242 | 10280 | 10315 | 10337 | 10379 | 10385 | 10403 | 10435 | 10442 | 10530 | 10339
2017 | 10542 | 10559 | 10667 | 10678 | 10692 | 10703 | 10789 | 10826 | 10823 | 10817 | 10870 | 10873 | 10737
2018 | 10878 | 10889 | 10959 | 10972 | 11013 | 11069 | 11116 | 11124 | 11170 | 11183 | 11184 | 11186 | 11062
2019 | 11206 | 11213 | 11228 | 11228 | 11230 | 11268 | 11293 | 11311 | 11311 | 11326 | 11381 | 11381 | 11281
2020 | 11392 | 11396 | 11397 | 11412 | 11418 | 11436 | 11439 | 11455 | 11499 | 11539 | 11579 | 11626 | 11466
2021 2022 | 11628 | 11699 | 11750 | 11849 | 11990 | 12112 | 12237 | 12463 | 12464 | 12464 | 12467 | 12481 | 12134
| 12556 | 12684 | 12791 | 12899 | 13004 | 13111 | 13168 | 13171 | 13173 | 13175 | 13175 | 13175 | 13007
2023 | 13175 | 13176 | 13176 | 13230 | 13288 | 13345 | 13425 | 13473 | 13486 | 13498 | 13511 | 13515 | 13358
2024 | January: 13515
ENR ANNUAL AVERAGE (1908-2023)
YEAR | AVG |  | YEAR | AVG |  | YEAR | AVG |  | YEAR | AVG |  | YEAR | AVG
1908 | 97 |  | 1934 | 198 |  | 1960 | 824 |  | 1986 | 4295 |  | 2012 | 9308
1909 | 91 |  | 1935 | 196 |  | 1961 | 847 |  | 1987 | 4406 |  | 2013 | 9547
1910 | 96 |  | 1936 | 206 |  | 1962 | 872 |  | 1988 | 4519 |  | 2014 | 9807
1911 | 93 |  | 1937 | 235 |  | 1963 | 901 |  | 1989 | 4615 |  | 2015 | 10031
1912 | 91 |  | 1938 | 236 |  | 1964 | 936 |  | 1990 | 4732 |  | 2016 | 10339
1913 | 100 |  | 1939 | 236 |  | 1965 | 971 |  | 1991 | 4835 |  | 2017 | 10737
1914 | 89 |  | 1940 | 242 |  | 1966 | 1019 |  | 1992 | 4985 |  | 2018 | 11062
1915 | 93 |  | 1941 | 258 |  | 1967 | 1074 |  | 1993 | 5210 |  | 2019 | 11281
1916 | 130 |  | 1942 | 276 |  | 1968 | 1155 |  | 1994 | 5408 |  | 2020 | 11466
1917 | 181 |  | 1943 | 290 |  | 1969 | 1269 |  | 1995 | 5471 |  | 2021 | 12134
1918 | 189 |  | 1944 | 299 |  | 1970 | 1381 |  | 1996 | 5620 |  | 2022 | 13007
1919 | 198 |  | 1945 | 308 |  | 1971 | 1581 |  | 1997 | 5826 |  | 2023 | 13358
1920 | 251 |  | 1946 | 346 |  | 1972 | 1753 |  | 1998 | 5920 |  | 2024
1921 | 202 |  | 1947 | 413 |  | 1973 | 1895 |  | 1999 | 6059 |  | 2025
1922 | 174 |  | 1948 | 461 |  | 1974 | 2020 |  | 2000 | 6221 |  | 2026
1923 | 214 |  | 1949 | 477 |  | 1975 | 2212 |  | 2001 | 6343 |  | 2027
1924 | 215 |  | 1950 | 510 |  | 1976 | 2401 |  | 2002 | 6538 |  | 2028
1925 | 207 |  | 1951 | 543 |  | 1977 | 2576 |  | 2003 | 6694 |  | 2029
1926 | 208 |  | 1952 | 569 |  | 1978 | 2776 |  | 2004 | 7115 |  | 2030
1927 | 206 |  | 1953 | 600 |  | 1979 | 3003 |  | 2005 | 7446 |  | 2031
1928 | 207 |  | 1954 | 628 |  | 1980 | 3237 |  | 2006 | 7751 |  | 2032
1929 | 207 |  | 1955 | 660 |  | 1981 | 3535 |  | 2007 | 7966 |  | 2033
1930 | 203 |  | 1956 | 692 |  | 1982 | 3825 |  | 2008 | 8310 |  | 2034
1931 | 181 |  | 1957 | 724 |  | 1983 | 4066 |  | 2009 | 8570 |  | 2035
1932 | 157 |  | 1958 | 759 |  | 1984 | 4146 |  | 2010 | 8799 |  | 2036
1933 | 170 |  | 1959 | 797 |  | 1985 | 4195 |  | 2011 | 9070 |  | 2037
HOW ENR BUILDS THE INDEX: 200 hours of common labor at the 20-city average of common labor rates, plus 25 cwt of standard structural steel shapes at the mill price prior
to 1996 and the fabricated 20-city price from 1996, plus 1.128 tons of portland cement at the 20-city price, plus 1,088 board ft of 2 x 4 lumber at the 20-city price.